PS 3.6-2009

Digital Imaging and Communications in Medicine (DICOM)
Part 6: Data Dictionary

Published by
National Electrical Manufacturers Association
1300 N. 17th Street
Rosslyn, Virginia 22209 USA

© Copyright 2009 by the National Electrical Manufacturers Association. All rights including translation into other languages, reserved under the Universal Copyright Convention, the Berne Convention for the Protection of Literacy and Artistic Works, and the International and Pan American Copyright Conventions.
NOTICE AND DISCLAIMER
The information in this publication was considered technically sound by the consensus of persons engaged in the development and approval of the document at the time it was developed. Consensus does not necessarily mean that there is unanimous agreement among every person participating in the development of this document.
NEMA standards and guideline publications, of which the document contained herein is one, are developed through a voluntary consensus standards development process. This process brings together volunteers and/or seeks out the views of persons who have an interest in the topic covered by this publication. While NEMA administers the process and establishes rules to promote fairness in the development of consensus, it does not write the document and it does not independently test, evaluate, or verify the accuracy or completeness of any information or the soundness of any judgments contained in its standards and guideline publications.
NEMA disclaims liability for any personal injury, property, or other damages of any nature whatsoever, whether special, indirect, consequential, or compensatory, directly or indirectly resulting from the publication, use of, application, or reliance on this document. NEMA disclaims and makes no guaranty or warranty, expressed or implied, as to the accuracy or completeness of any information published herein, and disclaims and makes no warranty that the information in this document will fulfill any of your particular purposes or needs. NEMA does not undertake to guarantee the performance of any individual manufacturer or seller’s products or services by virtue of this standard or guide.
In publishing and making this document available, NEMA is not undertaking to render professional or other services for or on behalf of any person or entity, nor is NEMA undertaking to perform any duty owed by any person or entity to someone else. Anyone using this document should rely on his or her own independent judgment or, as appropriate, seek the advice of a competent professional in determining the exercise of reasonable care in any given circumstances. Information and other standards on the topic covered by this publication may be available from other sources, which the user may wish to consult for additional views or information not covered by this publication.
NEMA has no power, nor does it undertake to police or enforce compliance with the contents of this document. NEMA does not certify, test, or inspect products, designs, or installations for safety or health purposes. Any certification or other statement of compliance with any health or safety–related information in this document shall not be attributable to NEMA and is solely the responsibility of the certifier or maker of the statement.
CONTENTS
FOREWORD
The American College of Radiology (ACR) and the National Electrical Manufacturers Association (NEMA) formed a joint committee to develop a standard for Digital Imaging and Communications in Medicine (DICOM). This DICOM Standard was developed according to the NEMA procedures.
This standard is developed in liaison with other standardization organizations including CEN TC251 in Europe and JIRA in Japan, with review also by other organizations including IEEE, HL7 and ANSI in the USA.
The DICOM Standard is structured as a multi-part document using the guidelines established in the following document:
ISO/IEC Directives, 1989 Part 3 : Drafting and Presentation of International Standards.

This document is one part of the DICOM Standard which consists of the following parts:
PS 3.1:	Introduction and Overview
PS 3.2:	Conformance
PS 3.3:	Information Object Definitions
PS 3.4:	Service Class Specifications
PS 3.5:	Data Structures and Encoding
PS 3.6:	Data Dictionary
PS 3.7:	Message Exchange
PS 3.8:	Network Communication Support for Message Exchange
PS 3.9:	Retired
PS 3.10:	Media Storage and File Format for Media Interchange
PS 3.11:	Media Storage Application Profiles
PS 3.12:	Media Formats and Physical Media for Media Interchange
PS 3.13:	Retired
PS 3.14:	Grayscale Standard Display Function
PS 3.15:	Security and System Management Profiles
PS 3.16:	Content Mapping Resource
PS 3.17:	Explanatory Information
PS 3.18:	Web Access to DICOM Persistent Objects (WADO)

These parts are related but independent documents. Their development level and approval status may differ. Additional parts may be added to this multi-part standard. PS 3.1 should be used as the base reference for the current parts of this standard.
1	Scope and field of application
This part of the DICOM Standard is PS 3.6 of a multi-part standard produced to facilitate the interchange of information between digital imaging computer systems in medical environments. This interchange will enhance diagnostic imaging and potentially other clinical applications. The multi-part DICOM Standard covers the protocols and data that shall be supplied to achieve this interchange of information.
This part of the standard contains the registry of all DICOM Data Elements and all DICOM Unique Identifiers that are defined within the DICOM Standard.
2	Normative references
The following standards contain provisions that, through references in this text, constitute provisions of this standard. At the time of publication, the editions indicated were valid. All standards are subject to revision, and parties to agreements based on this standard are encouraged to investigate the possibilities of applying the most recent editions of the standards indicated below.
ACR-NEMA 300-1988 Digital Imaging and Communications

ISO 8649:1988 Information processing systems - Open Systems Interconnection - Service definition for the Association Control Service Element (ACSE).

ISO 8822:1988 Information processing systems - Open Systems Interconnection - Connection oriented presentation service definition.

ISO/IEC Directives, 1989 Part 3 - Drafting and presentation of International Standards.

3	Definitions
For the purposes of this standard, the following definitions apply.
3.1	DICOM Introduction and overview definition
This part of the standard makes use of the following term defined in PS 3.1:
- Attribute

3.2	DICOM Information object definition
This part of the standard makes use of the following term defined in PS 3.3:
- Attribute Tag

3.3	DICOM Data structures and encoding definitions
This part of the standard makes use of the following terms defined in PS 3.5:
a.	Data Element
b.	Data Element Tag
c.	Element Number
d.	Group Number
e.	Repeating Group
f.	Retired Data Element
g.	Standard Data Element
h.	Value Multiplicity (VM)
i.	Value Representation (VR)

3.4	DICOM Data dictionary
The following definition is commonly used in this Standard:
Tag: A unique identifier for an element of information composed of an ordered pair of numbers (a Group Number followed by an Element Number), which is used to identify Attributes and corresponding Data Elements.

4	Symbols and abbreviations
The following symbols and abbreviations are used in this Standard.
ACR	American College of Radiology
DICOM	Digital Imaging and Communications in Medicine
IOD	Information Object Definition
ISO	International Standards Organization
NEMA	National Electrical Manufacturers Association
OSI	Open Systems Interconnection
TCP/IP	Transmission Control Protocol/Internet Protocol
UID	Unique Identifier
VM	Value Multiplicity
VR	Value Representation

5	Conventions
Word(s) are capitalized in this document to help the reader understand that these word(s) have been previously defined in Section 3 and are to be interpreted with that meaning.
A Data Element Tag is represented as (gggg,eeee), where gggg equates to the Group Number and eeee equates to the Element Number within that Group. Data Element Tags are represented in hexadecimal notation as specified for each named Data Element in this Standard.
Where an “x” is shown in a group or element number, it means all values from 0 through F inclusive.
“RET” is used to indicate that the corresponding Data Element, SOP Class, or Transfer Syntax has been retired. Retired items are shown italicized. When the name of a retired Data Element has been reused, the retired element has the qualifier “(Retired)” added, or “(Trial)” in the cases in which the Data Element was used in a Draft For Trial Implementation but not standardized.
Note:	The use of retired items is supported in this version of DICOM. However, new implementations are strongly encouraged to implement alternative Data Elements, SOP Classes or Transfer Syntaxes.

6	Registry of DICOM data elements
Note:	For attributes that were present in ACR-NEMA 1.0 and 2.0 and that have been retired, the specifications of Value Representation and Value Multiplicity provided are recommendations for the purpose of interpreting their values in objects created in accordance with earlier versions of this standard. These recommendations are suggested as most appropriate for a particular attribute; however, there is no guarantee that historical objects will not violate some requirements or specified VR and/or VM.

Tag	Name	Keyword	VR	VM
(0008,0001)	Length to End	LengthToEnd	UL	1	RET
(0008,0005)	Specific Character Set	SpecificCharacterSet	CS	1-n
(0008,0006)	Language Code Sequence	LanguageCodeSequence	SQ	1
(0008,0008)	Image Type	ImageType	CS	2-n
(0008,0010)	Recognition Code	RecognitionCode	CS	1	RET
(0008,0012)	Instance Creation Date	InstanceCreationDate	DA	1
(0008,0013)	Instance Creation Time	InstanceCreationTime	TM	1
(0008,0014)	Instance Creator UID	InstanceCreatorUID	UI	1
(0008,0016)	SOP Class UID	SOPClassUID	UI	1
(0008,0018)	SOP Instance UID	SOPInstanceUID	UI	1
(0008,001A)	Related General SOP Class UID	RelatedGeneralSOPClassUID	UI	1-n
(0008,001B)	Original Specialized SOP Class UID	OriginalSpecializedSOPClassUID	UI	1
(0008,0020)	Study Date	StudyDate	DA	1
(0008,0021)	Series Date	SeriesDate	DA	1
(0008,0022)	Acquisition Date	AcquisitionDate	DA	1
(0008,0023)	Content Date	ContentDate	DA	1
(0008,0024)	Overlay Date	OverlayDate	DA	1	RET
(0008,0025)	Curve Date	CurveDate	DA	1	RET
(0008,002A)	Acquisition DateTime	AcquisitionDateTime	DT	1
(0008,0030)	Study Time	StudyTime	TM	1
(0008,0031)	Series Time	SeriesTime	TM	1
(0008,0032)	Acquisition Time	AcquisitionTime	TM	1
(0008,0033)	Content Time	ContentTime	TM	1
(0008,0034)	Overlay Time	OverlayTime	TM	1	RET
(0008,0035)	Curve Time	CurveTime	TM	1	RET
(0008,0040)	Data Set Type	DataSetType	US	1	RET
(0008,0041)	Data Set Subtype	DataSetSubtype	LO	1	RET
(0008,0042)	Nuclear Medicine Series Type	NuclearMedicineSeriesType	CS	1	RET
(0008,0050)	Accession Number	AccessionNumber	SH	1
(0008,0051)	Issuer of Accession Number Sequence	IssuerOfAccessionNumberSequence	SQ	1
(0008,0052)	Query/Retrieve Level	QueryRetrieveLevel	CS	1
(0008,0054)	Retrieve AE Title	RetrieveAETitle	AE	1-n
(0008,0056)	Instance Availability	InstanceAvailability	CS	1
(0008,0058)	Failed SOP Instance UID List	FailedSOPInstanceUIDList	UI	1-n
(0008,0060)	Modality	Modality	CS	1
(0008,0061)	Modalities in Study	ModalitiesInStudy	CS	1-n
(0008,0062)	SOP Classes in Study	SOPClassesInStudy	UI	1-n
(0008,0064)	Conversion Type	ConversionType	CS	1
(0008,0068)	Presentation Intent Type	PresentationIntentType	CS	1
(0008,0070)	Manufacturer	Manufacturer	LO	1
(0008,0080)	Institution Name	InstitutionName	LO	1
(0008,0081)	Institution Address	InstitutionAddress	ST	1
(0008,0082)	Institution Code Sequence	InstitutionCodeSequence	SQ	1
(0008,0090)	Referring Physician's Name	ReferringPhysicianName	PN	1
(0008,0092)	Referring Physician's Address	ReferringPhysicianAddress	ST	1
(0008,0094)	Referring Physician's Telephone Numbers	ReferringPhysicianTelephoneNumbers	SH	1-n
(0008,0096)	Referring Physician Identification Sequence	ReferringPhysicianIdentificationSequence	SQ	1
(0008,0100)	Code Value	CodeValue	SH	1
(0008,0102)	Coding Scheme Designator	CodingSchemeDesignator	SH	1
(0008,0103)	Coding Scheme Version	CodingSchemeVersion	SH	1
(0008,0104)	Code Meaning	CodeMeaning	LO	1
(0008,0105)	Mapping Resource	MappingResource	CS	1
(0008,0106)	Context Group Version	ContextGroupVersion	DT	1
(0008,0107)	Context Group Local Version	ContextGroupLocalVersion	DT	1
(0008,010B)	Context Group Extension Flag	ContextGroupExtensionFlag	CS	1
(0008,010C)	Coding Scheme UID	CodingSchemeUID	UI	1
(0008,010D)	Context Group Extension Creator UID	ContextGroupExtensionCreatorUID	UI	1
(0008,010F)	Context Identifier	ContextIdentifier	CS	1
(0008,0110)	Coding Scheme Identification Sequence	CodingSchemeIdentificationSequence	SQ	1
(0008,0112)	Coding Scheme Registry	CodingSchemeRegistry	LO	1
(0008,0114)	Coding Scheme External ID	CodingSchemeExternalID	ST	1
(0008,0115)	Coding Scheme Name	CodingSchemeName	ST	1
(0008,0116)	Coding Scheme Responsible Organization	CodingSchemeResponsibleOrganization	ST	1
(0008,0117)	Context UID	ContextUID	UI	1
(0008,0201)	Timezone Offset From UTC	TimezoneOffsetFromUTC	SH	1
(0008,1000)	Network ID	NetworkID	AE	1	RET
(0008,1010)	Station Name	StationName	SH	1
(0008,1030)	Study Description	StudyDescription	LO	1
(0008,1032)	Procedure Code Sequence	ProcedureCodeSequence	SQ	1
(0008,103E)	Series Description	SeriesDescription	LO	1
(0008,103F)	Series Description Code Sequence	SeriesDescriptionCodeSequence	SQ	1
(0008,1040)	Institutional Department Name	InstitutionalDepartmentName	LO	1
(0008,1048)	Physician(s) of Record	PhysiciansOfRecord	PN	1-n
(0008,1049)	Physician(s) of Record Identification Sequence	PhysiciansOfRecordIdentificationSequence	SQ	1
(0008,1050)	Performing Physician's Name	PerformingPhysicianName	PN	1-n
(0008,1052)	Performing Physician Identification Sequence	PerformingPhysicianIdentificationSequence	SQ	1
(0008,1060)	Name of Physician(s) Reading Study	NameOfPhysiciansReadingStudy	PN	1-n
(0008,1062)	Physician(s) Reading Study Identification Sequence	PhysiciansReadingStudyIdentificationSequence	SQ	1
(0008,1070)	Operators' Name	OperatorsName	PN	1-n
(0008,1072)	Operator Identification Sequence	OperatorIdentificationSequence	SQ	1
(0008,1080)	Admitting Diagnoses Description	AdmittingDiagnosesDescription	LO	1-n
(0008,1084)	Admitting Diagnoses Code Sequence	AdmittingDiagnosesCodeSequence	SQ	1
(0008,1090)	Manufacturer's Model Name	ManufacturerModelName	LO	1
(0008,1100)	Referenced Results Sequence	ReferencedResultsSequence	SQ	1	RET
(0008,1110)	Referenced Study Sequence	ReferencedStudySequence	SQ	1
(0008,1111)	Referenced Performed Procedure Step Sequence	ReferencedPerformedProcedureStepSequence	SQ	1
(0008,1115)	Referenced Series Sequence	ReferencedSeriesSequence	SQ	1
(0008,1120)	Referenced Patient Sequence	ReferencedPatientSequence	SQ	1
(0008,1125)	Referenced Visit Sequence	ReferencedVisitSequence	SQ	1
(0008,1130)	Referenced Overlay Sequence	ReferencedOverlaySequence	SQ	1	RET
(0008,1134)	Referenced Stereometric Instance Sequence	ReferencedStereometricInstanceSequence	SQ	1
(0008,113A)	Referenced Waveform Sequence	ReferencedWaveformSequence	SQ	1
(0008,1140)	Referenced Image Sequence	ReferencedImageSequence	SQ	1
(0008,1145)	Referenced Curve Sequence	ReferencedCurveSequence	SQ	1	RET
(0008,114A)	Referenced Instance Sequence	ReferencedInstanceSequence	SQ	1
(0008,114B)	Referenced Real World Value Mapping Instance Sequence	ReferencedRealWorldValueMappingInstanceSequence	SQ	1
(0008,1150)	Referenced SOP Class UID	ReferencedSOPClassUID	UI	1
(0008,1155)	Referenced SOP Instance UID	ReferencedSOPInstanceUID	UI	1
(0008,115A)	SOP Classes Supported	SOPClassesSupported	UI	1-n
(0008,1160)	Referenced Frame Number	ReferencedFrameNumber	IS	1-n
(0008,1161)	Simple Frame List	SimpleFrameList	UL	1-n
(0008,1162)	Calculated Frame List	CalculatedFrameList	UL	3-3n
(0008,1163)	Time Range	TimeRange	FD	2
(0008,1164)	Frame Extraction Sequence	FrameExtractionSequence	SQ	1
(0008,1167)	Multi-Frame Source SOP Instance UID	MultiFrameSourceSOPInstanceUID	UI	1
(0008,1195)	Transaction UID	TransactionUID	UI	1
(0008,1197)	Failure Reason	FailureReason	US	1
(0008,1198)	Failed SOP Sequence	FailedSOPSequence	SQ	1
(0008,1199)	Referenced SOP Sequence	ReferencedSOPSequence	SQ	1
(0008,1200)	Studies Containing Other Referenced Instances Sequence	StudiesContainingOtherReferencedInstancesSequence	SQ	1
(0008,1250)	Related Series Sequence	RelatedSeriesSequence	SQ	1
(0008,2110)	Lossy Image Compression (Retired)	LossyImageCompressionRetired	CS	1	RET
(0008,2111)	Derivation Description	DerivationDescription	ST	1
(0008,2112)	Source Image Sequence	SourceImageSequence	SQ	1
(0008,2120)	Stage Name	StageName	SH	1
(0008,2122)	Stage Number	StageNumber	IS	1
(0008,2124)	Number of Stages	NumberOfStages	IS	1
(0008,2127)	View Name	ViewName	SH	1
(0008,2128)	View Number	ViewNumber	IS	1
(0008,2129)	Number of Event Timers	NumberOfEventTimers	IS	1
(0008,212A)	Number of Views in Stage	NumberOfViewsInStage	IS	1
(0008,2130)	Event Elapsed Time(s)	EventElapsedTimes	DS	1-n
(0008,2132)	Event Timer Name(s)	EventTimerNames	LO	1-n
(0008,2133)	Event Timer Sequence	EventTimerSequence	SQ	1
(0008,2134)	Event Time Offset	EventTimeOffset	FD	1
(0008,2135)	Event Code Sequence	EventCodeSequence	SQ	1
(0008,2142)	Start Trim	StartTrim	IS	1
(0008,2143)	Stop Trim	StopTrim	IS	1
(0008,2144)	Recommended Display Frame Rate	RecommendedDisplayFrameRate	IS	1
(0008,2200)	Transducer Position	TransducerPosition	CS	1	RET
(0008,2204)	Transducer Orientation	TransducerOrientation	CS	1	RET
(0008,2208)	Anatomic Structure	AnatomicStructure	CS	1	RET
(0008,2218)	Anatomic Region Sequence	AnatomicRegionSequence	SQ	1
(0008,2220)	Anatomic Region Modifier Sequence	AnatomicRegionModifierSequence	SQ	1
(0008,2228)	Primary Anatomic Structure Sequence	PrimaryAnatomicStructureSequence	SQ	1
(0008,2229)	Anatomic Structure, Space or Region Sequence	AnatomicStructureSpaceOrRegionSequence	SQ	1
(0008,2230)	Primary Anatomic Structure Modifier Sequence	PrimaryAnatomicStructureModifierSequence	SQ	1
(0008,2240)	Transducer Position Sequence	TransducerPositionSequence	SQ	1	RET
(0008,2242)	Transducer Position Modifier Sequence	TransducerPositionModifierSequence	SQ	1	RET
(0008,2244)	Transducer Orientation Sequence	TransducerOrientationSequence	SQ	1	RET
(0008,2246)	Transducer Orientation Modifier Sequence	TransducerOrientationModifierSequence	SQ	1	RET
(0008,2251)	Anatomic Structure Space Or Region Code Sequence (Trial)	AnatomicStructureSpaceOrRegionCodeSequenceTrial	SQ	1	RET
(0008,2253)	Anatomic Portal Of Entrance Code Sequence (Trial)	AnatomicPortalOfEntranceCodeSequenceTrial	SQ	1	RET
(0008,2255)	Anatomic Approach Direction Code Sequence (Trial)	AnatomicApproachDirectionCodeSequenceTrial	SQ	1	RET
(0008,2256)	Anatomic Perspective Description (Trial)	AnatomicPerspectiveDescriptionTrial	ST	1	RET
(0008,2257)	Anatomic Perspective Code Sequence (Trial)	AnatomicPerspectiveCodeSequenceTrial	SQ	1	RET
(0008,2258)	Anatomic Location Of Examining Instrument Description (Trial)	AnatomicLocationOfExaminingInstrumentDescriptionTrial	ST	1	RET
(0008,2259)	Anatomic Location Of Examining Instrument Code Sequence (Trial)	AnatomicLocationOfExaminingInstrumentCodeSequenceTrial	SQ	1	RET
(0008,225A)	Anatomic Structure Space Or Region Modifier Code Sequence (Trial)	AnatomicStructureSpaceOrRegionModifierCodeSequenceTrial	SQ	1	RET
(0008,225C)	OnAxis Background Anatomic Structure Code Sequence (Trial)	OnAxisBackgroundAnatomicStructureCodeSequenceTrial	SQ	1	RET
(0008,3001)	Alternate Representation Sequence	AlternateRepresentationSequence	SQ	1
(0008,3010)	Irradiation Event UID	IrradiationEventUID	UI	1
(0008,4000)	Identifying Comments	IdentifyingComments	LT	1	RET
(0008,9007)	Frame Type	FrameType	CS	4
(0008,9092)	Referenced Image Evidence Sequence	ReferencedImageEvidenceSequence	SQ	1
(0008,9121)	Referenced Raw Data Sequence	ReferencedRawDataSequence	SQ	1
(0008,9123)	Creator-Version UID	CreatorVersionUID	UI	1
(0008,9124)	Derivation Image Sequence	DerivationImageSequence	SQ	1
(0008,9154)	Source Image Evidence Sequence	SourceImageEvidenceSequence	SQ	1
(0008,9205)	Pixel Presentation	PixelPresentation	CS	1
(0008,9206)	Volumetric Properties	VolumetricProperties	CS	1
(0008,9207)	Volume Based Calculation Technique	VolumeBasedCalculationTechnique	CS	1
(0008,9208)	Complex Image Component	ComplexImageComponent	CS	1
(0008,9209)	Acquisition Contrast	AcquisitionContrast	CS	1
(0008,9215)	Derivation Code Sequence	DerivationCodeSequence	SQ	1
(0008,9237)	Referenced Presentation State Sequence	ReferencedPresentationStateSequence	SQ	1
(0008,9410)	Referenced Other Plane Sequence	ReferencedOtherPlaneSequence	SQ	1
(0008,9458)	Frame Display Sequence	FrameDisplaySequence	SQ	1
(0008,9459)	Recommended Display Frame Rate in Float	RecommendedDisplayFrameRateInFloat	FL	1
(0008,9460)	Skip Frame Range Flag	SkipFrameRangeFlag	CS	1

Tag	Name	Keyword	VR	VM
(0010,0010)	Patient's Name	PatientName	PN	1
(0010,0020)	Patient ID	PatientID	LO	1
(0010,0021)	Issuer of Patient ID	IssuerOfPatientID	LO	1
(0010,0022)	Type of Patient ID	TypeOfPatientID	CS	1
(0010,0024)	Issuer of Patient ID Qualifiers Sequence	IssuerOfPatientIDQualifiersSequence	SQ	1
(0010,0030)	Patient's Birth Date	PatientBirthDate	DA	1
(0010,0032)	Patient's Birth Time	PatientBirthTime	TM	1
(0010,0040)	Patient's Sex	PatientSex	CS	1
(0010,0050)	Patient's Insurance Plan Code Sequence	PatientInsurancePlanCodeSequence	SQ	1
(0010,0101)	Patient's Primary Language Code Sequence	PatientPrimaryLanguageCodeSequence	SQ	1
(0010,0102)	Patient's Primary Language Modifier Code Sequence	PatientPrimaryLanguageModifierCodeSequence	SQ	1
(0010,1000)	Other Patient IDs	OtherPatientIDs	LO	1-n
(0010,1001)	Other Patient Names	OtherPatientNames	PN	1-n
(0010,1002)	Other Patient IDs Sequence	OtherPatientIDsSequence	SQ	1
(0010,1005)	Patient's Birth Name	PatientBirthName	PN	1
(0010,1010)	Patient's Age	PatientAge	AS	1
(0010,1020)	Patient's Size	PatientSize	DS	1
(0010,1030)	Patient's Weight	PatientWeight	DS	1
(0010,1040)	Patient's Address	PatientAddress	LO	1
(0010,1050)	Insurance Plan Identification	InsurancePlanIdentification	LO	1-n	RET
(0010,1060)	Patient's Mother's Birth Name	PatientMotherBirthName	PN	1
(0010,1080)	Military Rank	MilitaryRank	LO	1
(0010,1081)	Branch of Service	BranchOfService	LO	1
(0010,1090)	Medical Record Locator	MedicalRecordLocator	LO	1
(0010,2000)	Medical Alerts	MedicalAlerts	LO	1-n
(0010,2110)	Allergies	Allergies	LO	1-n
(0010,2150)	Country of Residence	CountryOfResidence	LO	1
(0010,2152)	Region of Residence	RegionOfResidence	LO	1
(0010,2154)	Patient's Telephone Numbers	PatientTelephoneNumbers	SH	1-n
(0010,2160)	Ethnic Group	EthnicGroup	SH	1
(0010,2180)	Occupation	Occupation	SH	1
(0010,21A0)	Smoking Status	SmokingStatus	CS	1
(0010,21B0)	Additional Patient History	AdditionalPatientHistory	LT	1
(0010,21C0)	Pregnancy Status	PregnancyStatus	US	1
(0010,21D0)	Last Menstrual Date	LastMenstrualDate	DA	1
(0010,21F0)	Patient's Religious Preference	PatientReligiousPreference	LO	1
(0010,2201)	Patient Species Description	PatientSpeciesDescription	LO	1
(0010,2202)	Patient Species Code Sequence	PatientSpeciesCodeSequence	SQ	1
(0010,2203)	Patient's Sex Neutered	PatientSexNeutered	CS	1
(0010,2210)	Anatomical Orientation Type	AnatomicalOrientationType	CS	1
(0010,2292)	Patient Breed Description	PatientBreedDescription	LO	1
(0010,2293)	Patient Breed Code Sequence	PatientBreedCodeSequence	SQ	1
(0010,2294)	Breed Registration Sequence	BreedRegistrationSequence	SQ	1
(0010,2295)	Breed Registration Number	BreedRegistrationNumber	LO	1
(0010,2296)	Breed Registry Code Sequence	BreedRegistryCodeSequence	SQ	1
(0010,2297)	Responsible Person	ResponsiblePerson	PN	1
(0010,2298)	Responsible Person Role	ResponsiblePersonRole	CS	1
(0010,2299)	Responsible Organization	ResponsibleOrganization	LO	1
(0010,4000)	Patient Comments	PatientComments	LT	1
(0010,9431)	Examined Body Thickness	ExaminedBodyThickness	FL	1

Tag	Name	Keyword	VR	VM
(0012,0010)	Clinical Trial Sponsor Name	ClinicalTrialSponsorName	LO	1
(0012,0020)	Clinical Trial Protocol ID	ClinicalTrialProtocolID	LO	1
(0012,0021)	Clinical Trial Protocol Name	ClinicalTrialProtocolName	LO	1
(0012,0030)	Clinical Trial Site ID	ClinicalTrialSiteID	LO	1
(0012,0031)	Clinical Trial Site Name	ClinicalTrialSiteName	LO	1
(0012,0040)	Clinical Trial Subject ID	ClinicalTrialSubjectID	LO	1
(0012,0042)	Clinical Trial Subject Reading ID	ClinicalTrialSubjectReadingID	LO	1
(0012,0050)	Clinical Trial Time Point ID	ClinicalTrialTimePointID	LO	1
(0012,0051)	Clinical Trial Time Point Description	ClinicalTrialTimePointDescription	ST	1
(0012,0060)	Clinical Trial Coordinating Center Name	ClinicalTrialCoordinatingCenterName	LO	1
(0012,0062)	Patient Identity Removed	PatientIdentityRemoved	CS	1
(0012,0063)	De-identification Method	DeidentificationMethod	LO	1-n
(0012,0064)	De-identification Method Code Sequence	DeidentificationMethodCodeSequence	SQ	1
(0012,0071)	Clinical Trial Series ID	ClinicalTrialSeriesID	LO	1
(0012,0072)	Clinical Trial Series Description	ClinicalTrialSeriesDescription	LO	1
(0012,0081)	Clinical Trial Protocol Ethics Committee Name	ClinicalTrialProtocolEthicsCommitteeName	LO	1
(0012,0082)	Clinical Trial Protocol Ethics Committee Approval Number	ClinicalTrialProtocolEthicsCommitteeApprovalNumber	LO	1
(0012,0083)	Consent for Clinical Trial Use Sequence	ConsentForClinicalTrialUseSequence	SQ	1
(0012,0084)	Distribution Type	DistributionType	CS	1
(0012,0085)	Consent for Distribution Flag	ConsentForDistributionFlag	CS	1

Tag	Name	Keyword	VR	VM
(0018,0010)	Contrast/Bolus Agent	ContrastBolusAgent	LO	1
(0018,0012)	Contrast/Bolus Agent Sequence	ContrastBolusAgentSequence	SQ	1
(0018,0014)	Contrast/Bolus Administration Route Sequence	ContrastBolusAdministrationRouteSequence	SQ	1
(0018,0015)	Body Part Examined	BodyPartExamined	CS	1
(0018,0020)	Scanning Sequence	ScanningSequence	CS	1-n
(0018,0021)	Sequence Variant	SequenceVariant	CS	1-n
(0018,0022)	Scan Options	ScanOptions	CS	1-n
(0018,0023)	MR Acquisition Type	MRAcquisitionType	CS	1
(0018,0024)	Sequence Name	SequenceName	SH	1
(0018,0025)	Angio Flag	AngioFlag	CS	1
(0018,0026)	Intervention Drug Information Sequence	InterventionDrugInformationSequence	SQ	1
(0018,0027)	Intervention Drug Stop Time	InterventionDrugStopTime	TM	1
(0018,0028)	Intervention Drug Dose	InterventionDrugDose	DS	1
(0018,0029)	Intervention Drug Code Sequence	InterventionDrugCodeSequence	SQ	1
(0018,002A)	Additional Drug Sequence	AdditionalDrugSequence	SQ	1
(0018,0030)	Radionuclide	Radionuclide	LO	1-n	RET
(0018,0031)	Radiopharmaceutical	Radiopharmaceutical	LO	1
(0018,0032)	Energy Window Centerline	EnergyWindowCenterline	DS	1	RET
(0018,0033)	Energy Window Total Width	EnergyWindowTotalWidth	DS	1-n	RET
(0018,0034)	Intervention Drug Name	InterventionDrugName	LO	1
(0018,0035)	Intervention Drug Start Time	InterventionDrugStartTime	TM	1
(0018,0036)	Intervention Sequence	InterventionSequence	SQ	1
(0018,0037)	Therapy Type	TherapyType	CS	1	RET
(0018,0038)	Intervention Status	InterventionStatus	CS	1
(0018,0039)	Therapy Description	TherapyDescription	CS	1	RET
(0018,003A)	Intervention Description	InterventionDescription	ST	1
(0018,0040)	Cine Rate	CineRate	IS	1
(0018,0042)	Initial Cine Run State	InitialCineRunState	CS	1
(0018,0050)	Slice Thickness	SliceThickness	DS	1
(0018,0060)	KVP	KVP	DS	1
(0018,0070)	Counts Accumulated	CountsAccumulated	IS	1
(0018,0071)	Acquisition Termination Condition	AcquisitionTerminationCondition	CS	1
(0018,0072)	Effective Duration	EffectiveDuration	DS	1
(0018,0073)	Acquisition Start Condition	AcquisitionStartCondition	CS	1
(0018,0074)	Acquisition Start Condition Data	AcquisitionStartConditionData	IS	1
(0018,0075)	Acquisition Termination Condition Data	AcquisitionTerminationConditionData	IS	1
(0018,0080)	Repetition Time	RepetitionTime	DS	1
(0018,0081)	Echo Time	EchoTime	DS	1
(0018,0082)	Inversion Time	InversionTime	DS	1
(0018,0083)	Number of Averages	NumberOfAverages	DS	1
(0018,0084)	Imaging Frequency	ImagingFrequency	DS	1
(0018,0085)	Imaged Nucleus	ImagedNucleus	SH	1
(0018,0086)	Echo Number(s)	EchoNumbers	IS	1-n
(0018,0087)	Magnetic Field Strength	MagneticFieldStrength	DS	1
(0018,0088)	Spacing Between Slices	SpacingBetweenSlices	DS	1
(0018,0089)	Number of Phase Encoding Steps	NumberOfPhaseEncodingSteps	IS	1
(0018,0090)	Data Collection Diameter	DataCollectionDiameter	DS	1
(0018,0091)	Echo Train Length	EchoTrainLength	IS	1
(0018,0093)	Percent Sampling	PercentSampling	DS	1
(0018,0094)	Percent Phase Field of View	PercentPhaseFieldOfView	DS	1
(0018,0095)	Pixel Bandwidth	PixelBandwidth	DS	1
(0018,1000)	Device Serial Number	DeviceSerialNumber	LO	1
(0018,1002)	Device UID	DeviceUID	UI	1
(0018,1003)	Device ID	DeviceID	LO	1
(0018,1004)	Plate ID	PlateID	LO	1
(0018,1005)	Generator ID	GeneratorID	LO	1
(0018,1006)	Grid ID	GridID	LO	1
(0018,1007)	Cassette ID	CassetteID	LO	1
(0018,1008)	Gantry ID	GantryID	LO	1
(0018,1010)	Secondary Capture Device ID	SecondaryCaptureDeviceID	LO	1
(0018,1011)	Hardcopy Creation Device ID	HardcopyCreationDeviceID	LO	1	RET
(0018,1012)	Date of Secondary Capture	DateOfSecondaryCapture	DA	1
(0018,1014)	Time of Secondary Capture	TimeOfSecondaryCapture	TM	1
(0018,1016)	Secondary Capture Device Manufacturer	SecondaryCaptureDeviceManufacturer	LO	1
(0018,1017)	Hardcopy Device Manufacturer	HardcopyDeviceManufacturer	LO	1	RET
(0018,1018)	Secondary Capture Device Manufacturer's Model Name	SecondaryCaptureDeviceManufacturerModelName	LO	1
(0018,1019)	Secondary Capture Device Software Versions	SecondaryCaptureDeviceSoftwareVersions	LO	1-n
(0018,101A)	Hardcopy Device Software Version	HardcopyDeviceSoftwareVersion	LO	1-n	RET
(0018,101B)	Hardcopy Device Manufacturer's Model Name	HardcopyDeviceManufacturerModelName	LO	1	RET
(0018,1020)	Software Version(s)	SoftwareVersions	LO	1-n
(0018,1022)	Video Image Format Acquired	VideoImageFormatAcquired	SH	1
(0018,1023)	Digital Image Format Acquired	DigitalImageFormatAcquired	LO	1
(0018,1030)	Protocol Name	ProtocolName	LO	1
(0018,1040)	Contrast/Bolus Route	ContrastBolusRoute	LO	1
(0018,1041)	Contrast/Bolus Volume	ContrastBolusVolume	DS	1
(0018,1042)	Contrast/Bolus Start Time	ContrastBolusStartTime	TM	1
(0018,1043)	Contrast/Bolus Stop Time	ContrastBolusStopTime	TM	1
(0018,1044)	Contrast/Bolus Total Dose	ContrastBolusTotalDose	DS	1
(0018,1045)	Syringe Counts	SyringeCounts	IS	1
(0018,1046)	Contrast Flow Rate	ContrastFlowRate	DS	1-n
(0018,1047)	Contrast Flow Duration	ContrastFlowDuration	DS	1-n
(0018,1048)	Contrast/Bolus Ingredient	ContrastBolusIngredient	CS	1
(0018,1049)	Contrast/Bolus Ingredient Concentration	ContrastBolusIngredientConcentration	DS	1
(0018,1050)	Spatial Resolution	SpatialResolution	DS	1
(0018,1060)	Trigger Time	TriggerTime	DS	1
(0018,1061)	Trigger Source or Type	TriggerSourceOrType	LO	1
(0018,1062)	Nominal Interval	NominalInterval	IS	1
(0018,1063)	Frame Time	FrameTime	DS	1
(0018,1064)	Cardiac Framing Type	CardiacFramingType	LO	1
(0018,1065)	Frame Time Vector	FrameTimeVector	DS	1-n
(0018,1066)	Frame Delay	FrameDelay	DS	1
(0018,1067)	Image Trigger Delay	ImageTriggerDelay	DS	1
(0018,1068)	Multiplex Group Time Offset	MultiplexGroupTimeOffset	DS	1
(0018,1069)	Trigger Time Offset	TriggerTimeOffset	DS	1
(0018,106A)	Synchronization Trigger	SynchronizationTrigger	CS	1
(0018,106C)	Synchronization Channel	SynchronizationChannel	US	2
(0018,106E)	Trigger Sample Position	TriggerSamplePosition	UL	1
(0018,1070)	Radiopharmaceutical Route	RadiopharmaceuticalRoute	LO	1
(0018,1071)	Radiopharmaceutical Volume	RadiopharmaceuticalVolume	DS	1
(0018,1072)	Radiopharmaceutical Start Time	RadiopharmaceuticalStartTime	TM	1
(0018,1073)	Radiopharmaceutical Stop Time	RadiopharmaceuticalStopTime	TM	1
(0018,1074)	Radionuclide Total Dose	RadionuclideTotalDose	DS	1
(0018,1075)	Radionuclide Half Life	RadionuclideHalfLife	DS	1
(0018,1076)	Radionuclide Positron Fraction	RadionuclidePositronFraction	DS	1
(0018,1077)	Radiopharmaceutical Specific Activity	RadiopharmaceuticalSpecificActivity	DS	1
(0018,1078)	Radiopharmaceutical Start DateTime	RadiopharmaceuticalStartDateTime	DT	1
(0018,1079)	Radiopharmaceutical Stop DateTime	RadiopharmaceuticalStopDateTime	DT	1
(0018,1080)	Beat Rejection Flag	BeatRejectionFlag	CS	1
(0018,1081)	Low R-R Value	LowRRValue	IS	1
(0018,1082)	High R-R Value	HighRRValue	IS	1
(0018,1083)	Intervals Acquired	IntervalsAcquired	IS	1
(0018,1084)	Intervals Rejected	IntervalsRejected	IS	1
(0018,1085)	PVC Rejection	PVCRejection	LO	1
(0018,1086)	Skip Beats	SkipBeats	IS	1
(0018,1088)	Heart Rate	HeartRate	IS	1
(0018,1090)	Cardiac Number of Images	CardiacNumberOfImages	IS	1
(0018,1094)	Trigger Window	TriggerWindow	IS	1
(0018,1100)	Reconstruction Diameter	ReconstructionDiameter	DS	1
(0018,1110)	Distance Source to Detector	DistanceSourceToDetector	DS	1
(0018,1111)	Distance Source to Patient	DistanceSourceToPatient	DS	1
(0018,1114)	Estimated Radiographic Magnification Factor	EstimatedRadiographicMagnificationFactor	DS	1
(0018,1120)	Gantry/Detector Tilt	GantryDetectorTilt	DS	1
(0018,1121)	Gantry/Detector Slew	GantryDetectorSlew	DS	1
(0018,1130)	Table Height	TableHeight	DS	1
(0018,1131)	Table Traverse	TableTraverse	DS	1
(0018,1134)	Table Motion	TableMotion	CS	1
(0018,1135)	Table Vertical Increment	TableVerticalIncrement	DS	1-n
(0018,1136)	Table Lateral Increment	TableLateralIncrement	DS	1-n
(0018,1137)	Table Longitudinal Increment	TableLongitudinalIncrement	DS	1-n
(0018,1138)	Table Angle	TableAngle	DS	1
(0018,113A)	Table Type	TableType	CS	1
(0018,1140)	Rotation Direction	RotationDirection	CS	1
(0018,1141)	Angular Position	AngularPosition	DS	1	RET
(0018,1142)	Radial Position	RadialPosition	DS	1-n
(0018,1143)	Scan Arc	ScanArc	DS	1
(0018,1144)	Angular Step	AngularStep	DS	1
(0018,1145)	Center of Rotation Offset	CenterOfRotationOffset	DS	1
(0018,1146)	Rotation Offset	RotationOffset	DS	1-n	RET
(0018,1147)	Field of View Shape	FieldOfViewShape	CS	1
(0018,1149)	Field of View Dimension(s)	FieldOfViewDimensions	IS	1-2
(0018,1150)	Exposure Time	ExposureTime	IS	1
(0018,1151)	X-Ray Tube Current	XRayTubeCurrent	IS	1
(0018,1152)	Exposure	Exposure	IS	1
(0018,1153)	Exposure in µAs	ExposureInuAs	IS	1
(0018,1154)	Average Pulse Width	AveragePulseWidth	DS	1
(0018,1155)	Radiation Setting	RadiationSetting	CS	1
(0018,1156)	Rectification Type	RectificationType	CS	1
(0018,115A)	Radiation Mode	RadiationMode	CS	1
(0018,115E)	Image and Fluoroscopy Area Dose Product	ImageAndFluoroscopyAreaDoseProduct	DS	1
(0018,1160)	Filter Type	FilterType	SH	1
(0018,1161)	Type of Filters	TypeOfFilters	LO	1-n
(0018,1162)	Intensifier Size	IntensifierSize	DS	1
(0018,1164)	Imager Pixel Spacing	ImagerPixelSpacing	DS	2
(0018,1166)	Grid	Grid	CS	1-n
(0018,1170)	Generator Power	GeneratorPower	IS	1
(0018,1180)	Collimator/grid Name	CollimatorGridName	SH	1
(0018,1181)	Collimator Type	CollimatorType	CS	1
(0018,1182)	Focal Distance	FocalDistance	IS	1-2
(0018,1183)	X Focus Center	XFocusCenter	DS	1-2
(0018,1184)	Y Focus Center	YFocusCenter	DS	1-2
(0018,1190)	Focal Spot(s)	FocalSpots	DS	1-n
(0018,1191)	Anode Target Material	AnodeTargetMaterial	CS	1
(0018,11A0)	Body Part Thickness	BodyPartThickness	DS	1
(0018,11A2)	Compression Force	CompressionForce	DS	1
(0018,1200)	Date of Last Calibration	DateOfLastCalibration	DA	1-n
(0018,1201)	Time of Last Calibration	TimeOfLastCalibration	TM	1-n
(0018,1210)	Convolution Kernel	ConvolutionKernel	SH	1-n
(0018,1240)	Upper/Lower Pixel Values	UpperLowerPixelValues	IS	1-n	RET
(0018,1242)	Actual Frame Duration	ActualFrameDuration	IS	1
(0018,1243)	Count Rate	CountRate	IS	1
(0018,1244)	Preferred Playback Sequencing	PreferredPlaybackSequencing	US	1
(0018,1250)	Receive Coil Name	ReceiveCoilName	SH	1
(0018,1251)	Transmit Coil Name	TransmitCoilName	SH	1
(0018,1260)	Plate Type	PlateType	SH	1
(0018,1261)	Phosphor Type	PhosphorType	LO	1
(0018,1300)	Scan Velocity	ScanVelocity	DS	1
(0018,1301)	Whole Body Technique	WholeBodyTechnique	CS	1-n
(0018,1302)	Scan Length	ScanLength	IS	1
(0018,1310)	Acquisition Matrix	AcquisitionMatrix	US	4
(0018,1312)	In-plane Phase Encoding Direction	InPlanePhaseEncodingDirection	CS	1
(0018,1314)	Flip Angle	FlipAngle	DS	1
(0018,1315)	Variable Flip Angle Flag	VariableFlipAngleFlag	CS	1
(0018,1316)	SAR	SAR	DS	1
(0018,1318)	dB/dt	dBdt	DS	1
(0018,1400)	Acquisition Device Processing Description	AcquisitionDeviceProcessingDescription	LO	1
(0018,1401)	Acquisition Device Processing Code	AcquisitionDeviceProcessingCode	LO	1
(0018,1402)	Cassette Orientation	CassetteOrientation	CS	1
(0018,1403)	Cassette Size	CassetteSize	CS	1
(0018,1404)	Exposures on Plate	ExposuresOnPlate	US	1
(0018,1405)	Relative X-Ray Exposure	RelativeXRayExposure	IS	1
(0018,1450)	Column Angulation	ColumnAngulation	DS	1
(0018,1460)	Tomo Layer Height	TomoLayerHeight	DS	1
(0018,1470)	Tomo Angle	TomoAngle	DS	1
(0018,1480)	Tomo Time	TomoTime	DS	1
(0018,1490)	Tomo Type	TomoType	CS	1
(0018,1491)	Tomo Class	TomoClass	CS	1
(0018,1495)	Number of Tomosynthesis Source Images	NumberOfTomosynthesisSourceImages	IS	1
(0018,1500)	Positioner Motion	PositionerMotion	CS	1
(0018,1508)	Positioner Type	PositionerType	CS	1
(0018,1510)	Positioner Primary Angle	PositionerPrimaryAngle	DS	1
(0018,1511)	Positioner Secondary Angle	PositionerSecondaryAngle	DS	1
(0018,1520)	Positioner Primary Angle Increment	PositionerPrimaryAngleIncrement	DS	1-n
(0018,1521)	Positioner Secondary Angle Increment	PositionerSecondaryAngleIncrement	DS	1-n
(0018,1530)	Detector Primary Angle	DetectorPrimaryAngle	DS	1
(0018,1531)	Detector Secondary Angle	DetectorSecondaryAngle	DS	1
(0018,1600)	Shutter Shape	ShutterShape	CS	1-3
(0018,1602)	Shutter Left Vertical Edge	ShutterLeftVerticalEdge	IS	1
(0018,1604)	Shutter Right Vertical Edge	ShutterRightVerticalEdge	IS	1
(0018,1606)	Shutter Upper Horizontal Edge	ShutterUpperHorizontalEdge	IS	1
(0018,1608)	Shutter Lower Horizontal Edge	ShutterLowerHorizontalEdge	IS	1
(0018,1610)	Center of Circular Shutter	CenterOfCircularShutter	IS	2
(0018,1612)	Radius of Circular Shutter	RadiusOfCircularShutter	IS	1
(0018,1620)	Vertices of the Polygonal Shutter	VerticesOfThePolygonalShutter	IS	2-2n
(0018,1622)	Shutter Presentation Value	ShutterPresentationValue	US	1
(0018,1623)	Shutter Overlay Group	ShutterOverlayGroup	US	1
(0018,1624)	Shutter Presentation Color CIELab Value	ShutterPresentationColorCIELabValue	US	3
(0018,1700)	Collimator Shape	CollimatorShape	CS	1-3
(0018,1702)	Collimator Left Vertical Edge	CollimatorLeftVerticalEdge	IS	1
(0018,1704)	Collimator Right Vertical Edge	CollimatorRightVerticalEdge	IS	1
(0018,1706)	Collimator Upper Horizontal Edge	CollimatorUpperHorizontalEdge	IS	1
(0018,1708)	Collimator Lower Horizontal Edge	CollimatorLowerHorizontalEdge	IS	1
(0018,1710)	Center of Circular Collimator	CenterOfCircularCollimator	IS	2
(0018,1712)	Radius of Circular Collimator	RadiusOfCircularCollimator	IS	1
(0018,1720)	Vertices of the Polygonal Collimator	VerticesOfThePolygonalCollimator	IS	2-2n
(0018,1800)	Acquisition Time Synchronized	AcquisitionTimeSynchronized	CS	1
(0018,1801)	Time Source	TimeSource	SH	1
(0018,1802)	Time Distribution Protocol	TimeDistributionProtocol	CS	1
(0018,1803)	NTP Source Address	NTPSourceAddress	LO	1
(0018,2001)	Page Number Vector	PageNumberVector	IS	1-n
(0018,2002)	Frame Label Vector	FrameLabelVector	SH	1-n
(0018,2003)	Frame Primary Angle Vector	FramePrimaryAngleVector	DS	1-n
(0018,2004)	Frame Secondary Angle Vector	FrameSecondaryAngleVector	DS	1-n
(0018,2005)	Slice Location Vector	SliceLocationVector	DS	1-n
(0018,2006)	Display Window Label Vector	DisplayWindowLabelVector	SH	1-n
(0018,2010)	Nominal Scanned Pixel Spacing	NominalScannedPixelSpacing	DS	2
(0018,2020)	Digitizing Device Transport Direction	DigitizingDeviceTransportDirection	CS	1
(0018,2030)	Rotation of Scanned Film	RotationOfScannedFilm	DS	1
(0018,3100)	IVUS Acquisition	IVUSAcquisition	CS	1
(0018,3101)	IVUS Pullback Rate	IVUSPullbackRate	DS	1
(0018,3102)	IVUS Gated Rate	IVUSGatedRate	DS	1
(0018,3103)	IVUS Pullback Start Frame Number	IVUSPullbackStartFrameNumber	IS	1
(0018,3104)	IVUS Pullback Stop Frame Number	IVUSPullbackStopFrameNumber	IS	1
(0018,3105)	Lesion Number	LesionNumber	IS	1-n
(0018,4000)	Acquisition Comments	AcquisitionComments	LT	1	RET
(0018,5000)	Output Power	OutputPower	SH	1-n
(0018,5010)	Transducer Data	TransducerData	LO	1-n
(0018,5012)	Focus Depth	FocusDepth	DS	1
(0018,5020)	Processing Function	ProcessingFunction	LO	1
(0018,5021)	Postprocessing Function	PostprocessingFunction	LO	1	RET
(0018,5022)	Mechanical Index	MechanicalIndex	DS	1
(0018,5024)	Bone Thermal Index	BoneThermalIndex	DS	1
(0018,5026)	Cranial Thermal Index	CranialThermalIndex	DS	1
(0018,5027)	Soft Tissue Thermal Index	SoftTissueThermalIndex	DS	1
(0018,5028)	Soft Tissue-focus Thermal Index	SoftTissueFocusThermalIndex	DS	1
(0018,5029)	Soft Tissue-surface Thermal Index	SoftTissueSurfaceThermalIndex	DS	1
(0018,5030)	Dynamic Range	DynamicRange	DS	1	RET
(0018,5040)	Total Gain	TotalGain	DS	1	RET
(0018,5050)	Depth of Scan Field	DepthOfScanField	IS	1
(0018,5100)	Patient Position	PatientPosition	CS	1
(0018,5101)	View Position	ViewPosition	CS	1
(0018,5104)	Projection Eponymous Name Code Sequence	ProjectionEponymousNameCodeSequence	SQ	1
(0018,5210)	Image Transformation Matrix	ImageTransformationMatrix	DS	6	RET
(0018,5212)	Image Translation Vector	ImageTranslationVector	DS	3	RET
(0018,6000)	Sensitivity	Sensitivity	DS	1
(0018,6011)	Sequence of Ultrasound Regions	SequenceOfUltrasoundRegions	SQ	1
(0018,6012)	Region Spatial Format	RegionSpatialFormat	US	1
(0018,6014)	Region Data Type	RegionDataType	US	1
(0018,6016)	Region Flags	RegionFlags	UL	1
(0018,6018)	Region Location Min X0	RegionLocationMinX0	UL	1
(0018,601A)	Region Location Min Y0	RegionLocationMinY0	UL	1
(0018,601C)	Region Location Max X1	RegionLocationMaxX1	UL	1
(0018,601E)	Region Location Max Y1	RegionLocationMaxY1	UL	1
(0018,6020)	Reference Pixel X0	ReferencePixelX0	SL	1
(0018,6022)	Reference Pixel Y0	ReferencePixelY0	SL	1
(0018,6024)	Physical Units X Direction	PhysicalUnitsXDirection	US	1
(0018,6026)	Physical Units Y Direction	PhysicalUnitsYDirection	US	1
(0018,6028)	Reference Pixel Physical Value X	ReferencePixelPhysicalValueX	FD	1
(0018,602A)	Reference Pixel Physical Value Y	ReferencePixelPhysicalValueY	FD	1
(0018,602C)	Physical Delta X	PhysicalDeltaX	FD	1
(0018,602E)	Physical Delta Y	PhysicalDeltaY	FD	1
(0018,6030)	Transducer Frequency	TransducerFrequency	UL	1
(0018,6031)	Transducer Type	TransducerType	CS	1
(0018,6032)	Pulse Repetition Frequency	PulseRepetitionFrequency	UL	1
(0018,6034)	Doppler Correction Angle	DopplerCorrectionAngle	FD	1
(0018,6036)	Steering Angle	SteeringAngle	FD	1
(0018,6038)	Doppler Sample Volume X Position (Retired)	DopplerSampleVolumeXPositionRetired	UL	1	RET
(0018,6039)	Doppler Sample Volume X Position	DopplerSampleVolumeXPosition	SL	1
(0018,603A)	Doppler Sample Volume Y Position (Retired)	DopplerSampleVolumeYPositionRetired	UL	1	RET
(0018,603B)	Doppler Sample Volume Y Position	DopplerSampleVolumeYPosition	SL	1
(0018,603C)	TMLine Position X0 (Retired)	TMLinePositionX0Retired	UL	1	RET
(0018,603D)	TM-Line Position X0	TMLinePositionX0	SL	1
(0018,603E)	TM-Line Position Y0 (Retired)	TMLinePositionY0Retired	UL	1	RET
(0018,603F)	TM-Line Position Y0	TMLinePositionY0	SL	1
(0018,6040)	TM-Line Position X1 (Retired)	TMLinePositionX1Retired	UL	1	RET
(0018,6041)	TM-Line Position X1	TMLinePositionX1	SL	1
(0018,6042)	TM-Line Position Y1 (Retired)	TMLinePositionY1Retired	UL	1	RET
(0018,6043)	TM-Line Position Y1	TMLinePositionY1	SL	1
(0018,6044)	Pixel Component Organization	PixelComponentOrganization	US	1
(0018,6046)	Pixel Component Mask	PixelComponentMask	UL	1
(0018,6048)	Pixel Component Range Start	PixelComponentRangeStart	UL	1
(0018,604A)	Pixel Component Range Stop	PixelComponentRangeStop	UL	1
(0018,604C)	Pixel Component Physical Units	PixelComponentPhysicalUnits	US	1
(0018,604E)	Pixel Component Data Type	PixelComponentDataType	US	1
(0018,6050)	Number of Table Break Points	NumberOfTableBreakPoints	UL	1
(0018,6052)	Table of X Break Points	TableOfXBreakPoints	UL	1-n
(0018,6054)	Table of Y Break Points	TableOfYBreakPoints	FD	1-n
(0018,6056)	Number of Table Entries	NumberOfTableEntries	UL	1
(0018,6058)	Table of Pixel Values	TableOfPixelValues	UL	1-n
(0018,605A)	Table of Parameter Values	TableOfParameterValues	FL	1-n
(0018,6060)	R Wave Time Vector	RWaveTimeVector	FL	1-n
(0018,7000)	Detector Conditions Nominal Flag	DetectorConditionsNominalFlag	CS	1
(0018,7001)	Detector Temperature	DetectorTemperature	DS	1
(0018,7004)	Detector Type	DetectorType	CS	1
(0018,7005)	Detector Configuration	DetectorConfiguration	CS	1
(0018,7006)	Detector Description	DetectorDescription	LT	1
(0018,7008)	Detector Mode	DetectorMode	LT	1
(0018,700A)	Detector ID	DetectorID	SH	1
(0018,700C)	Date of Last Detector Calibration	DateOfLastDetectorCalibration	DA	1
(0018,700E)	Time of Last Detector Calibration	TimeOfLastDetectorCalibration	TM	1
(0018,7010)	Exposures on Detector Since Last Calibration	ExposuresOnDetectorSinceLastCalibration	IS	1
(0018,7011)	Exposures on Detector Since Manufactured	ExposuresOnDetectorSinceManufactured	IS	1
(0018,7012)	Detector Time Since Last Exposure	DetectorTimeSinceLastExposure	DS	1
(0018,7014)	Detector Active Time	DetectorActiveTime	DS	1
(0018,7016)	Detector Activation Offset From Exposure	DetectorActivationOffsetFromExposure	DS	1
(0018,701A)	Detector Binning	DetectorBinning	DS	2
(0018,7020)	Detector Element Physical Size	DetectorElementPhysicalSize	DS	2
(0018,7022)	Detector Element Spacing	DetectorElementSpacing	DS	2
(0018,7024)	Detector Active Shape	DetectorActiveShape	CS	1
(0018,7026)	Detector Active Dimension(s)	DetectorActiveDimensions	DS	1-2
(0018,7028)	Detector Active Origin	DetectorActiveOrigin	DS	2
(0018,702A)	Detector Manufacturer Name	DetectorManufacturerName	LO	1
(0018,702B)	Detector Manufacturer's Model Name	DetectorManufacturerModelName	LO	1
(0018,7030)	Field of View Origin	FieldOfViewOrigin	DS	2
(0018,7032)	Field of View Rotation	FieldOfViewRotation	DS	1
(0018,7034)	Field of View Horizontal Flip	FieldOfViewHorizontalFlip	CS	1
(0018,7040)	Grid Absorbing Material	GridAbsorbingMaterial	LT	1
(0018,7041)	Grid Spacing Material	GridSpacingMaterial	LT	1
(0018,7042)	Grid Thickness	GridThickness	DS	1
(0018,7044)	Grid Pitch	GridPitch	DS	1
(0018,7046)	Grid Aspect Ratio	GridAspectRatio	IS	2
(0018,7048)	Grid Period	GridPeriod	DS	1
(0018,704C)	Grid Focal Distance	GridFocalDistance	DS	1
(0018,7050)	Filter Material	FilterMaterial	CS	1-n
(0018,7052)	Filter Thickness Minimum	FilterThicknessMinimum	DS	1-n
(0018,7054)	Filter Thickness Maximum	FilterThicknessMaximum	DS	1-n
(0018,7056)	Filter Beam Path Length Minimum	FilterBeamPathLengthMinimum	FL	1-n
(0018,7058)	Filter Beam Path Length Maximum	FilterBeamPathLengthMaximum	FL	1-n
(0018,7060)	Exposure Control Mode	ExposureControlMode	CS	1
(0018,7062)	Exposure Control Mode Description	ExposureControlModeDescription	LT	1
(0018,7064)	Exposure Status	ExposureStatus	CS	1
(0018,7065)	Phototimer Setting	PhototimerSetting	DS	1
(0018,8150)	Exposure Time in µS	ExposureTimeInuS	DS	1
(0018,8151)	X-Ray Tube Current in µA	XRayTubeCurrentInuA	DS	1
(0018,9004)	Content Qualification	ContentQualification	CS	1
(0018,9005)	Pulse Sequence Name	PulseSequenceName	SH	1
(0018,9006)	MR Imaging Modifier Sequence	MRImagingModifierSequence	SQ	1
(0018,9008)	Echo Pulse Sequence	EchoPulseSequence	CS	1
(0018,9009)	Inversion Recovery	InversionRecovery	CS	1
(0018,9010)	Flow Compensation	FlowCompensation	CS	1
(0018,9011)	Multiple Spin Echo	MultipleSpinEcho	CS	1
(0018,9012)	Multi-planar Excitation	MultiPlanarExcitation	CS	1
(0018,9014)	Phase Contrast	PhaseContrast	CS	1
(0018,9015)	Time of Flight Contrast	TimeOfFlightContrast	CS	1
(0018,9016)	Spoiling	Spoiling	CS	1
(0018,9017)	Steady State Pulse Sequence	SteadyStatePulseSequence	CS	1
(0018,9018)	Echo Planar Pulse Sequence	EchoPlanarPulseSequence	CS	1
(0018,9019)	Tag Angle First Axis	TagAngleFirstAxis	FD	1
(0018,9020)	Magnetization Transfer	MagnetizationTransfer	CS	1
(0018,9021)	T2 Preparation	T2Preparation	CS	1
(0018,9022)	Blood Signal Nulling	BloodSignalNulling	CS	1
(0018,9024)	Saturation Recovery	SaturationRecovery	CS	1
(0018,9025)	Spectrally Selected Suppression	SpectrallySelectedSuppression	CS	1
(0018,9026)	Spectrally Selected Excitation	SpectrallySelectedExcitation	CS	1
(0018,9027)	Spatial Pre-saturation	SpatialPresaturation	CS	1
(0018,9028)	Tagging	Tagging	CS	1
(0018,9029)	Oversampling Phase	OversamplingPhase	CS	1
(0018,9030)	Tag Spacing First Dimension	TagSpacingFirstDimension	FD	1
(0018,9032)	Geometry of k-Space Traversal	GeometryOfKSpaceTraversal	CS	1
(0018,9033)	Segmented k-Space Traversal	SegmentedKSpaceTraversal	CS	1
(0018,9034)	Rectilinear Phase Encode Reordering	RectilinearPhaseEncodeReordering	CS	1
(0018,9035)	Tag Thickness	TagThickness	FD	1
(0018,9036)	Partial Fourier Direction	PartialFourierDirection	CS	1
(0018,9037)	Cardiac Synchronization Technique	CardiacSynchronizationTechnique	CS	1
(0018,9041)	Receive Coil Manufacturer Name	ReceiveCoilManufacturerName	LO	1
(0018,9042)	MR Receive Coil Sequence	MRReceiveCoilSequence	SQ	1
(0018,9043)	Receive Coil Type	ReceiveCoilType	CS	1
(0018,9044)	Quadrature Receive Coil	QuadratureReceiveCoil	CS	1
(0018,9045)	Multi-Coil Definition Sequence	MultiCoilDefinitionSequence	SQ	1
(0018,9046)	Multi-Coil Configuration	MultiCoilConfiguration	LO	1
(0018,9047)	Multi-Coil Element Name	MultiCoilElementName	SH	1
(0018,9048)	Multi-Coil Element Used	MultiCoilElementUsed	CS	1
(0018,9049)	MR Transmit Coil Sequence	MRTransmitCoilSequence	SQ	1
(0018,9050)	Transmit Coil Manufacturer Name	TransmitCoilManufacturerName	LO	1
(0018,9051)	Transmit Coil Type	TransmitCoilType	CS	1
(0018,9052)	Spectral Width	SpectralWidth	FD	1-2
(0018,9053)	Chemical Shift Reference	ChemicalShiftReference	FD	1-2
(0018,9054)	Volume Localization Technique	VolumeLocalizationTechnique	CS	1
(0018,9058)	MR Acquisition Frequency Encoding Steps	MRAcquisitionFrequencyEncodingSteps	US	1
(0018,9059)	De-coupling	Decoupling	CS	1
(0018,9060)	De-coupled Nucleus	DecoupledNucleus	CS	1-2
(0018,9061)	De-coupling Frequency	DecouplingFrequency	FD	1-2
(0018,9062)	De-coupling Method	DecouplingMethod	CS	1
(0018,9063)	De-coupling Chemical Shift Reference	DecouplingChemicalShiftReference	FD	1-2
(0018,9064)	k-space Filtering	KSpaceFiltering	CS	1
(0018,9065)	Time Domain Filtering	TimeDomainFiltering	CS	1-2
(0018,9066)	Number of Zero fills	NumberOfZeroFills	US	1-2
(0018,9067)	Baseline Correction	BaselineCorrection	CS	1
(0018,9069)	Parallel Reduction Factor In-plane	ParallelReductionFactorInPlane	FD	1
(0018,9070)	Cardiac R-R Interval Specified	CardiacRRIntervalSpecified	FD	1
(0018,9073)	Acquisition Duration	AcquisitionDuration	FD	1
(0018,9074)	Frame Acquisition DateTime	FrameAcquisitionDateTime	DT	1
(0018,9075)	Diffusion Directionality	DiffusionDirectionality	CS	1
(0018,9076)	Diffusion Gradient Direction Sequence	DiffusionGradientDirectionSequence	SQ	1
(0018,9077)	Parallel Acquisition	ParallelAcquisition	CS	1
(0018,9078)	Parallel Acquisition Technique	ParallelAcquisitionTechnique	CS	1
(0018,9079)	Inversion Times	InversionTimes	FD	1-n
(0018,9080)	Metabolite Map Description	MetaboliteMapDescription	ST	1
(0018,9081)	Partial Fourier	PartialFourier	CS	1
(0018,9082)	Effective Echo Time	EffectiveEchoTime	FD	1
(0018,9083)	Metabolite Map Code Sequence	MetaboliteMapCodeSequence	SQ	1
(0018,9084)	Chemical Shift Sequence	ChemicalShiftSequence	SQ	1
(0018,9085)	Cardiac Signal Source	CardiacSignalSource	CS	1
(0018,9087)	Diffusion b-value	DiffusionBValue	FD	1
(0018,9089)	Diffusion Gradient Orientation	DiffusionGradientOrientation	FD	3
(0018,9090)	Velocity Encoding Direction	VelocityEncodingDirection	FD	3
(0018,9091)	Velocity Encoding Minimum Value	VelocityEncodingMinimumValue	FD	1
(0018,9093)	Number of k-Space Trajectories	NumberOfKSpaceTrajectories	US	1
(0018,9094)	Coverage of k-Space	CoverageOfKSpace	CS	1
(0018,9095)	Spectroscopy Acquisition Phase Rows	SpectroscopyAcquisitionPhaseRows	UL	1
(0018,9096)	Parallel Reduction Factor In-plane (Retired)	ParallelReductionFactorInPlaneRetired	FD	1	RET
(0018,9098)	Transmitter Frequency	TransmitterFrequency	FD	1-2
(0018,9100)	Resonant Nucleus	ResonantNucleus	CS	1-2
(0018,9101)	Frequency Correction	FrequencyCorrection	CS	1
(0018,9103)	MR Spectroscopy FOV/Geometry Sequence	MRSpectroscopyFOVGeometrySequence	SQ	1
(0018,9104)	Slab Thickness	SlabThickness	FD	1
(0018,9105)	Slab Orientation	SlabOrientation	FD	3
(0018,9106)	Mid Slab Position	MidSlabPosition	FD	3
(0018,9107)	MR Spatial Saturation Sequence	MRSpatialSaturationSequence	SQ	1
(0018,9112)	MR Timing and Related Parameters Sequence	MRTimingAndRelatedParametersSequence	SQ	1
(0018,9114)	MR Echo Sequence	MREchoSequence	SQ	1
(0018,9115)	MR Modifier Sequence	MRModifierSequence	SQ	1
(0018,9117)	MR Diffusion Sequence	MRDiffusionSequence	SQ	1
(0018,9118)	Cardiac Synchronization Sequence	CardiacSynchronizationSequence	SQ	1
(0018,9119)	MR Averages Sequence	MRAveragesSequence	SQ	1
(0018,9125)	MR FOV/Geometry Sequence	MRFOVGeometrySequence	SQ	1
(0018,9126)	Volume Localization Sequence	VolumeLocalizationSequence	SQ	1
(0018,9127)	Spectroscopy Acquisition Data Columns	SpectroscopyAcquisitionDataColumns	UL	1
(0018,9147)	Diffusion Anisotropy Type	DiffusionAnisotropyType	CS	1
(0018,9151)	Frame Reference DateTime	FrameReferenceDateTime	DT	1
(0018,9152)	MR Metabolite Map Sequence	MRMetaboliteMapSequence	SQ	1
(0018,9155)	Parallel Reduction Factor out-of-plane	ParallelReductionFactorOutOfPlane	FD	1
(0018,9159)	Spectroscopy Acquisition Out-of-plane Phase Steps	SpectroscopyAcquisitionOutOfPlanePhaseSteps	UL	1
(0018,9166)	Bulk Motion Status	BulkMotionStatus	CS	1	RET
(0018,9168)	Parallel Reduction Factor Second In-plane	ParallelReductionFactorSecondInPlane	FD	1
(0018,9169)	Cardiac Beat Rejection Technique	CardiacBeatRejectionTechnique	CS	1
(0018,9170)	Respiratory Motion Compensation Technique	RespiratoryMotionCompensationTechnique	CS	1
(0018,9171)	Respiratory Signal Source	RespiratorySignalSource	CS	1
(0018,9172)	Bulk Motion Compensation Technique	BulkMotionCompensationTechnique	CS	1
(0018,9173)	Bulk Motion Signal Source	BulkMotionSignalSource	CS	1
(0018,9174)	Applicable Safety Standard Agency	ApplicableSafetyStandardAgency	CS	1
(0018,9175)	Applicable Safety Standard Description	ApplicableSafetyStandardDescription	LO	1
(0018,9176)	Operating Mode Sequence	OperatingModeSequence	SQ	1
(0018,9177)	Operating Mode Type	OperatingModeType	CS	1
(0018,9178)	Operating Mode	OperatingMode	CS	1
(0018,9179)	Specific Absorption Rate Definition	SpecificAbsorptionRateDefinition	CS	1
(0018,9180)	Gradient Output Type	GradientOutputType	CS	1
(0018,9181)	Specific Absorption Rate Value	SpecificAbsorptionRateValue	FD	1
(0018,9182)	Gradient Output	GradientOutput	FD	1
(0018,9183)	Flow Compensation Direction	FlowCompensationDirection	CS	1
(0018,9184)	Tagging Delay	TaggingDelay	FD	1
(0018,9185)	Respiratory Motion Compensation Technique Description	RespiratoryMotionCompensationTechniqueDescription	ST	1
(0018,9186)	Respiratory Signal Source ID	RespiratorySignalSourceID	SH	1
(0018,9195)	Chemical Shift Minimum Integration Limit in Hz	ChemicalShiftMinimumIntegrationLimitInHz	FD	1	RET
(0018,9196)	Chemical Shift Maximum Integration Limit in Hz	ChemicalShiftMaximumIntegrationLimitInHz	FD	1	RET
(0018,9197)	MR Velocity Encoding Sequence	MRVelocityEncodingSequence	SQ	1
(0018,9198)	First Order Phase Correction	FirstOrderPhaseCorrection	CS	1
(0018,9199)	Water Referenced Phase Correction	WaterReferencedPhaseCorrection	CS	1
(0018,9200)	MR Spectroscopy Acquisition Type	MRSpectroscopyAcquisitionType	CS	1
(0018,9214)	Respiratory Cycle Position	RespiratoryCyclePosition	CS	1
(0018,9217)	Velocity Encoding Maximum Value	VelocityEncodingMaximumValue	FD	1
(0018,9218)	Tag Spacing Second Dimension	TagSpacingSecondDimension	FD	1
(0018,9219)	Tag Angle Second Axis	TagAngleSecondAxis	SS	1
(0018,9220)	Frame Acquisition Duration	FrameAcquisitionDuration	FD	1
(0018,9226)	MR Image Frame Type Sequence	MRImageFrameTypeSequence	SQ	1
(0018,9227)	MR Spectroscopy Frame Type Sequence	MRSpectroscopyFrameTypeSequence	SQ	1
(0018,9231)	MR Acquisition Phase Encoding Steps in-plane	MRAcquisitionPhaseEncodingStepsInPlane	US	1
(0018,9232)	MR Acquisition Phase Encoding Steps out-of-plane	MRAcquisitionPhaseEncodingStepsOutOfPlane	US	1
(0018,9234)	Spectroscopy Acquisition Phase Columns	SpectroscopyAcquisitionPhaseColumns	UL	1
(0018,9236)	Cardiac Cycle Position	CardiacCyclePosition	CS	1
(0018,9239)	Specific Absorption Rate Sequence	SpecificAbsorptionRateSequence	SQ	1
(0018,9240)	RF Echo Train Length	RFEchoTrainLength	US	1
(0018,9241)	Gradient Echo Train Length	GradientEchoTrainLength	US	1
(0018,9295)	Chemical Shift Minimum Integration Limit in ppm	ChemicalShiftMinimumIntegrationLimitInppm	FD	1
(0018,9296)	Chemical Shift Maximum Integration Limit in ppm	ChemicalShiftMaximumIntegrationLimitInppm	FD	1
(0018,9301)	CT Acquisition Type Sequence	CTAcquisitionTypeSequence	SQ	1
(0018,9302)	Acquisition Type	AcquisitionType	CS	1
(0018,9303)	Tube Angle	TubeAngle	FD	1
(0018,9304)	CT Acquisition Details Sequence	CTAcquisitionDetailsSequence	SQ	1
(0018,9305)	Revolution Time	RevolutionTime	FD	1
(0018,9306)	Single Collimation Width	SingleCollimationWidth	FD	1
(0018,9307)	Total Collimation Width	TotalCollimationWidth	FD	1
(0018,9308)	CT Table Dynamics Sequence	CTTableDynamicsSequence	SQ	1
(0018,9309)	Table Speed	TableSpeed	FD	1
(0018,9310)	Table Feed per Rotation	TableFeedPerRotation	FD	1
(0018,9311)	Spiral Pitch Factor	SpiralPitchFactor	FD	1
(0018,9312)	CT Geometry Sequence	CTGeometrySequence	SQ	1
(0018,9313)	Data Collection Center (Patient)	DataCollectionCenterPatient	FD	3
(0018,9314)	CT Reconstruction Sequence	CTReconstructionSequence	SQ	1
(0018,9315)	Reconstruction Algorithm	ReconstructionAlgorithm	CS	1
(0018,9316)	Convolution Kernel Group	ConvolutionKernelGroup	CS	1
(0018,9317)	Reconstruction Field of View	ReconstructionFieldOfView	FD	2
(0018,9318)	Reconstruction Target Center (Patient)	ReconstructionTargetCenterPatient	FD	3
(0018,9319)	Reconstruction Angle	ReconstructionAngle	FD	1
(0018,9320)	Image Filter	ImageFilter	SH	1
(0018,9321)	CT Exposure Sequence	CTExposureSequence	SQ	1
(0018,9322)	Reconstruction Pixel Spacing	ReconstructionPixelSpacing	FD	2
(0018,9323)	Exposure Modulation Type	ExposureModulationType	CS	1
(0018,9324)	Estimated Dose Saving	EstimatedDoseSaving	FD	1
(0018,9325)	CT X-Ray Details Sequence	CTXRayDetailsSequence	SQ	1
(0018,9326)	CT Position Sequence	CTPositionSequence	SQ	1
(0018,9327)	Table Position	TablePosition	FD	1
(0018,9328)	Exposure Time in ms	ExposureTimeInms	FD	1
(0018,9329)	CT Image Frame Type Sequence	CTImageFrameTypeSequence	SQ	1
(0018,9330)	X-Ray Tube Current in mA	XRayTubeCurrentInmA	FD	1
(0018,9332)	Exposure in mAs	ExposureInmAs	FD	1
(0018,9333)	Constant Volume Flag	ConstantVolumeFlag	CS	1
(0018,9334)	Fluoroscopy Flag	FluoroscopyFlag	CS	1
(0018,9335)	Distance Source to Data Collection Center	DistanceSourceToDataCollectionCenter	FD	1
(0018,9337)	Contrast/Bolus Agent Number	ContrastBolusAgentNumber	US	1
(0018,9338)	Contrast/Bolus Ingredient Code Sequence	ContrastBolusIngredientCodeSequence	SQ	1
(0018,9340)	Contrast Administration Profile Sequence	ContrastAdministrationProfileSequence	SQ	1
(0018,9341)	Contrast/Bolus Usage Sequence	ContrastBolusUsageSequence	SQ	1
(0018,9342)	Contrast/Bolus Agent Administered	ContrastBolusAgentAdministered	CS	1
(0018,9343)	Contrast/Bolus Agent Detected	ContrastBolusAgentDetected	CS	1
(0018,9344)	Contrast/Bolus Agent Phase	ContrastBolusAgentPhase	CS	1
(0018,9345)	CTDIvol	CTDIvol	FD	1
(0018,9346)	CTDI Phantom Type Code Sequence	CTDIPhantomTypeCodeSequence	SQ	1
(0018,9351)	Calcium Scoring Mass Factor Patient	CalciumScoringMassFactorPatient	FL	1
(0018,9352)	Calcium Scoring Mass Factor Device	CalciumScoringMassFactorDevice	FL	3
(0018,9353)	Energy Weighting Factor	EnergyWeightingFactor	FL	1
(0018,9360)	CT Additional X-Ray Source Sequence	CTAdditionalXRaySourceSequence	SQ	1
(0018,9401)	Projection Pixel Calibration Sequence	ProjectionPixelCalibrationSequence	SQ	1
(0018,9402)	Distance Source to Isocenter	DistanceSourceToIsocenter	FL	1
(0018,9403)	Distance Object to Table Top	DistanceObjectToTableTop	FL	1
(0018,9404)	Object Pixel Spacing in Center of Beam	ObjectPixelSpacingInCenterOfBeam	FL	2
(0018,9405)	Positioner Position Sequence	PositionerPositionSequence	SQ	1
(0018,9406)	Table Position Sequence	TablePositionSequence	SQ	1
(0018,9407)	Collimator Shape Sequence	CollimatorShapeSequence	SQ	1
(0018,9412)	XA/XRF Frame Characteristics Sequence	XAXRFFrameCharacteristicsSequence	SQ	1
(0018,9417)	Frame Acquisition Sequence	FrameAcquisitionSequence	SQ	1
(0018,9420)	X-Ray Receptor Type	XRayReceptorType	CS	1
(0018,9423)	Acquisition Protocol Name	AcquisitionProtocolName	LO	1
(0018,9424)	Acquisition Protocol Description	AcquisitionProtocolDescription	LT	1
(0018,9425)	Contrast/Bolus Ingredient Opaque	ContrastBolusIngredientOpaque	CS	1
(0018,9426)	Distance Receptor Plane to Detector Housing	DistanceReceptorPlaneToDetectorHousing	FL	1
(0018,9427)	Intensifier Active Shape	IntensifierActiveShape	CS	1
(0018,9428)	Intensifier Active Dimension(s)	IntensifierActiveDimensions	FL	1-2
(0018,9429)	Physical Detector Size	PhysicalDetectorSize	FL	2
(0018,9430)	Position of Isocenter Projection	PositionOfIsocenterProjection	US	2
(0018,9432)	Field of View Sequence	FieldOfViewSequence	SQ	1
(0018,9433)	Field of View Description	FieldOfViewDescription	LO	1
(0018,9434)	Exposure Control Sensing Regions Sequence	ExposureControlSensingRegionsSequence	SQ	1
(0018,9435)	Exposure Control Sensing Region Shape	ExposureControlSensingRegionShape	CS	1
(0018,9436)	Exposure Control Sensing Region Left Vertical Edge	ExposureControlSensingRegionLeftVerticalEdge	SS	1
(0018,9437)	Exposure Control Sensing Region Right Vertical Edge	ExposureControlSensingRegionRightVerticalEdge	SS	1
(0018,9438)	Exposure Control Sensing Region Upper Horizontal Edge	ExposureControlSensingRegionUpperHorizontalEdge	SS	1
(0018,9439)	Exposure Control Sensing Region Lower Horizontal Edge	ExposureControlSensingRegionLowerHorizontalEdge	SS	1
(0018,9440)	Center of Circular Exposure Control Sensing Region	CenterOfCircularExposureControlSensingRegion	SS	2
(0018,9441)	Radius of Circular Exposure Control Sensing Region	RadiusOfCircularExposureControlSensingRegion	US	1
(0018,9442)	Vertices of the Polygonal Exposure Control Sensing Region	VerticesOfThePolygonalExposureControlSensingRegion	SS	2-n
(0018,9445)					RET
(0018,9447)	Column Angulation (Patient)	ColumnAngulationPatient	FL	1
(0018,9449)	Beam Angle	BeamAngle	FL	1
(0018,9451)	Frame Detector Parameters Sequence	FrameDetectorParametersSequence	SQ	1
(0018,9452)	Calculated Anatomy Thickness	CalculatedAnatomyThickness	FL	1
(0018,9455)	Calibration Sequence	CalibrationSequence	SQ	1
(0018,9456)	Object Thickness Sequence	ObjectThicknessSequence	SQ	1
(0018,9457)	Plane Identification	PlaneIdentification	CS	1
(0018,9461)	Field of View Dimension(s) in Float	FieldOfViewDimensionsInFloat	FL	1-2
(0018,9462)	Isocenter Reference System Sequence	IsocenterReferenceSystemSequence	SQ	1
(0018,9463)	Positioner Isocenter Primary Angle	PositionerIsocenterPrimaryAngle	FL	1
(0018,9464)	Positioner Isocenter Secondary Angle	PositionerIsocenterSecondaryAngle	FL	1
(0018,9465)	Positioner Isocenter Detector Rotation Angle	PositionerIsocenterDetectorRotationAngle	FL	1
(0018,9466)	Table X Position to Isocenter	TableXPositionToIsocenter	FL	1
(0018,9467)	Table Y Position to Isocenter	TableYPositionToIsocenter	FL	1
(0018,9468)	Table Z Position to Isocenter	TableZPositionToIsocenter	FL	1
(0018,9469)	Table Horizontal Rotation Angle	TableHorizontalRotationAngle	FL	1
(0018,9470)	Table Head Tilt Angle	TableHeadTiltAngle	FL	1
(0018,9471)	Table Cradle Tilt Angle	TableCradleTiltAngle	FL	1
(0018,9472)	Frame Display Shutter Sequence	FrameDisplayShutterSequence	SQ	1
(0018,9473)	Acquired Image Area Dose Product	AcquiredImageAreaDoseProduct	FL	1
(0018,9474)	C-arm Positioner Tabletop Relationship	CArmPositionerTabletopRelationship	CS	1
(0018,9476)	X-Ray Geometry Sequence	XRayGeometrySequence	SQ	1
(0018,9477)	Irradiation Event Identification Sequence	IrradiationEventIdentificationSequence	SQ	1
(0018,9504)	X-Ray 3D Frame Type Sequence	XRay3DFrameTypeSequence	SQ	1
(0018,9506)	Contributing Sources Sequence	ContributingSourcesSequence	SQ	1
(0018,9507)	X-Ray 3D Acquisition Sequence	XRay3DAcquisitionSequence	SQ	1
(0018,9508)	Primary Positioner Scan Arc	PrimaryPositionerScanArc	FL	1
(0018,9509)	Secondary Positioner Scan Arc	SecondaryPositionerScanArc	FL	1
(0018,9510)	Primary Positioner Scan Start Angle	PrimaryPositionerScanStartAngle	FL	1
(0018,9511)	Secondary Positioner Scan Start Angle	SecondaryPositionerScanStartAngle	FL	1
(0018,9514)	Primary Positioner Increment	PrimaryPositionerIncrement	FL	1
(0018,9515)	Secondary Positioner Increment	SecondaryPositionerIncrement	FL	1
(0018,9516)	Start Acquisition DateTime	StartAcquisitionDateTime	DT	1
(0018,9517)	End Acquisition DateTime	EndAcquisitionDateTime	DT	1
(0018,9524)	Application Name	ApplicationName	LO	1
(0018,9525)	Application Version	ApplicationVersion	LO	1
(0018,9526)	Application Manufacturer	ApplicationManufacturer	LO	1
(0018,9527)	Algorithm Type	AlgorithmType	CS	1
(0018,9528)	Algorithm Description	AlgorithmDescription	LO	1
(0018,9530)	X-Ray 3D Reconstruction Sequence	XRay3DReconstructionSequence	SQ	1
(0018,9531)	Reconstruction Description	ReconstructionDescription	LO	1
(0018,9538)	Per Projection Acquisition Sequence	PerProjectionAcquisitionSequence	SQ	1
(0018,9601)	Diffusion b-matrix Sequence	DiffusionBMatrixSequence	SQ	1
(0018,9602)	Diffusion b-value XX	DiffusionBValueXX	FD	1
(0018,9603)	Diffusion b-value XY	DiffusionBValueXY	FD	1
(0018,9604)	Diffusion b-value XZ	DiffusionBValueXZ	FD	1
(0018,9605)	Diffusion b-value YY	DiffusionBValueYY	FD	1
(0018,9606)	Diffusion b-value YZ	DiffusionBValueYZ	FD	1
(0018,9607)	Diffusion b-value ZZ	DiffusionBValueZZ	FD	1
(0018,9701)	Decay Correction DateTime	DecayCorrectionDateTime	DT	1
(0018,9715)	Start Density Threshold	StartDensityThreshold	FD	1
(0018,9716)	Start Relative Density Difference Threshold	StartRelativeDensityDifferenceThreshold	FD	1
(0018,9717)	Start Cardiac Trigger Count Threshold	StartCardiacTriggerCountThreshold	FD	1
(0018,9718)	Start Respiratory Trigger Count Threshold	StartRespiratoryTriggerCountThreshold	FD	1
(0018,9719)	Termination Counts Threshold	TerminationCountsThreshold	FD	1
(0018,9720)	Termination Density Threshold	TerminationDensityThreshold	FD	1
(0018,9721)	Termination Relative Density Threshold	TerminationRelativeDensityThreshold	FD	1
(0018,9722)	Termination Time Threshold	TerminationTimeThreshold	FD	1
(0018,9723)	Termination Cardiac Trigger Count Threshold	TerminationCardiacTriggerCountThreshold	FD	1
(0018,9724)	Termination Respiratory Trigger Count Threshold	TerminationRespiratoryTriggerCountThreshold	FD	1
(0018,9725)	Detector Geometry	DetectorGeometry	CS	1
(0018,9726)	Transverse Detector Separation	TransverseDetectorSeparation	FD	1
(0018,9727)	Axial Detector Dimension	AxialDetectorDimension	FD	1
(0018,9729)	Radiopharmaceutical Agent Number	RadiopharmaceuticalAgentNumber	US	1
(0018,9732)	PET Frame Acquisition Sequence	PETFrameAcquisitionSequence	SQ	1
(0018,9733)	PET Detector Motion Details Sequence	PETDetectorMotionDetailsSequence	SQ	1
(0018,9734)	PET Table Dynamics Sequence	PETTableDynamicsSequence	SQ	1
(0018,9735)	PET Position Sequence	PETPositionSequence	SQ	1
(0018,9736)	PET Frame Correction Factors Sequence	PETFrameCorrectionFactorsSequence	SQ	1
(0018,9737)	Radiopharmaceutical Usage Sequence	RadiopharmaceuticalUsageSequence	SQ	1
(0018,9738)	Attenuation Correction Source	AttenuationCorrectionSource	CS	1
(0018,9739)	Number of Iterations	NumberOfIterations	US	1
(0018,9740)	Number of Subsets	NumberOfSubsets	US	1
(0018,9749)	PET Reconstruction Sequence	PETReconstructionSequence	SQ	1
(0018,9751)	PET Frame Type Sequence	PETFrameTypeSequence	SQ	1
(0018,9755)	Time of Flight Information Used	TimeOfFlightInformationUsed	CS	1
(0018,9756)	Reconstruction Type	ReconstructionType	CS	1
(0018,9758)	Decay Corrected	DecayCorrected	CS	1
(0018,9759)	Attenuation Corrected	AttenuationCorrected	CS	1
(0018,9760)	Scatter Corrected	ScatterCorrected	CS	1
(0018,9761)	Dead Time Corrected	DeadTimeCorrected	CS	1
(0018,9762)	Gantry Motion Corrected	GantryMotionCorrected	CS	1
(0018,9763)	Patient Motion Corrected	PatientMotionCorrected	CS	1
(0018,9764)	Count Loss Normalization Corrected	CountLossNormalizationCorrected	CS	1
(0018,9765)	Randoms Corrected	RandomsCorrected	CS	1
(0018,9766)	Non-uniform Radial Sampling Corrected	NonUniformRadialSamplingCorrected	CS	1
(0018,9767)	Sensitivity Calibrated	SensitivityCalibrated	CS	1
(0018,9768)	Detector Normalization Correction	DetectorNormalizationCorrection	CS	1
(0018,9769)	Iterative Reconstruction Method	IterativeReconstructionMethod	CS	1
(0018,9770)	Attenuation Correction Temporal Relationship	AttenuationCorrectionTemporalRelationship	CS	1
(0018,9771)	Patient Physiological State Sequence	PatientPhysiologicalStateSequence	SQ	1
(0018,9772)	Patient Physiological State Code Sequence	PatientPhysiologicalStateCodeSequence	SQ	1
(0018,9801)	Depth(s) of Focus	DepthsOfFocus	FD	1-n
(0018,9803)	Excluded Intervals Sequence	ExcludedIntervalsSequence	SQ	1
(0018,9804)	Exclusion Start Datetime	ExclusionStartDatetime	DT	1
(0018,9805)	Exclusion Duration	ExclusionDuration	FD	1
(0018,9806)	US Image Description Sequence	USImageDescriptionSequence	SQ	1
(0018,9807)	Image Data Type Sequence	ImageDataTypeSequence	SQ	1
(0018,9808)	Data Type	DataType	CS	1
(0018,9809)	Transducer Scan Pattern Code Sequence	TransducerScanPatternCodeSequence	SQ	1
(0018,980B)	Aliased Data Type	AliasedDataType	CS	1
(0018,980C)	Position Measuring Device Used	PositionMeasuringDeviceUsed	CS	1
(0018,980D)	Transducer Geometry Code Sequence	TransducerGeometryCodeSequence	SQ	1
(0018,980E)	Transducer Beam Steering Code Sequence	TransducerBeamSteeringCodeSequence	SQ	1
(0018,980F)	Transducer Application Code Sequence	TransducerApplicationCodeSequence	SQ	1
(0018,A001)	Contributing Equipment Sequence	ContributingEquipmentSequence	SQ	1
(0018,A002)	Contribution Date Time	ContributionDateTime	DT	1
(0018,A003)	Contribution Description	ContributionDescription	ST	1
Tag	Name	Keyword	VR	VM
(0020,000D)	Study Instance UID	StudyInstanceUID	UI	1
(0020,000E)	Series Instance UID	SeriesInstanceUID	UI	1
(0020,0010)	Study ID	StudyID	SH	1
(0020,0011)	Series Number	SeriesNumber	IS	1
(0020,0012)	Acquisition Number	AcquisitionNumber	IS	1
(0020,0013)	Instance Number	InstanceNumber	IS	1
(0020,0014)	Isotope Number	IsotopeNumber	IS	1	RET
(0020,0015)	Phase Number	PhaseNumber	IS	1	RET
(0020,0016)	Interval Number	IntervalNumber	IS	1	RET
(0020,0017)	Time Slot Number	TimeSlotNumber	IS	1	RET
(0020,0018)	Angle Number	AngleNumber	IS	1	RET
(0020,0019)	Item Number	ItemNumber	IS	1
(0020,0020)	Patient Orientation	PatientOrientation	CS	2
(0020,0022)	Overlay Number	OverlayNumber	IS	1	RET
(0020,0024)	Curve Number	CurveNumber	IS	1	RET
(0020,0026)	LUT Number	LUTNumber	IS	1	RET
(0020,0030)	Image Position	ImagePosition	DS	3	RET
(0020,0032)	Image Position (Patient)	ImagePositionPatient	DS	3
(0020,0035)	Image Orientation	ImageOrientation	DS	6	RET
(0020,0037)	Image Orientation (Patient)	ImageOrientationPatient	DS	6
(0020,0050)	Location	Location	DS	1	RET
(0020,0052)	Frame of Reference UID	FrameOfReferenceUID	UI	1
(0020,0060)	Laterality	Laterality	CS	1
(0020,0062)	Image Laterality	ImageLaterality	CS	1
(0020,0070)	Image Geometry Type	ImageGeometryType	LO	1	RET
(0020,0080)	Masking Image	MaskingImage	CS	1-n	RET
(0020,0100)	Temporal Position Identifier	TemporalPositionIdentifier	IS	1
(0020,0105)	Number of Temporal Positions	NumberOfTemporalPositions	IS	1
(0020,0110)	Temporal Resolution	TemporalResolution	DS	1
(0020,0200)	Synchronization Frame of Reference UID	SynchronizationFrameOfReferenceUID	UI	1
(0020,0242)	SOP Instance UID of Concatenation Source	SOPInstanceUIDOfConcatenationSource	UI	1
(0020,1000)	Series in Study	SeriesInStudy	IS	1	RET
(0020,1001)	Acquisitions in Series	AcquisitionsInSeries	IS	1	RET
(0020,1002)	Images in Acquisition	ImagesInAcquisition	IS	1
(0020,1003)	Images in Series	ImagesInSeries	IS	1	RET
(0020,1004)	Acquisitions in Study	AcquisitionsInStudy	IS	1	RET
(0020,1005)	Images in Study	ImagesInStudy	IS	1	RET
(0020,1020)	Reference	Reference	CS	1-n	RET
(0020,1040)	Position Reference Indicator	PositionReferenceIndicator	LO	1
(0020,1041)	Slice Location	SliceLocation	DS	1
(0020,1070)	Other Study Numbers	OtherStudyNumbers	IS	1-n	RET
(0020,1200)	Number of Patient Related Studies	NumberOfPatientRelatedStudies	IS	1
(0020,1202)	Number of Patient Related Series	NumberOfPatientRelatedSeries	IS	1
(0020,1204)	Number of Patient Related Instances	NumberOfPatientRelatedInstances	IS	1
(0020,1206)	Number of Study Related Series	NumberOfStudyRelatedSeries	IS	1
(0020,1208)	Number of Study Related Instances	NumberOfStudyRelatedInstances	IS	1
(0020,1209)	Number of Series Related Instances	NumberOfSeriesRelatedInstances	IS	1
(0020,3100 to 31FF)	Source Image IDs	SourceImageIDs	CS	1-n	RET
(0020,3401)	Modifying Device ID	ModifyingDeviceID	CS	1	RET
(0020,3402)	Modified Image ID	ModifiedImageID	CS	1	RET
(0020,3403)	Modified Image Date	ModifiedImageDate	DA	1	RET
(0020,3404)	Modifying Device Manufacturer	ModifyingDeviceManufacturer	LO	1	RET
(0020,3405)	Modified Image Time	ModifiedImageTime	TM	1	RET
(0020,3406)	Modified Image Description	ModifiedImageDescription	LO	1	RET
(0020,4000)	Image Comments	ImageComments	LT	1
(0020,5000)	Original Image Identification	OriginalImageIdentification	AT	1-n	RET
(0020,5002)	Original Image Identification Nomenclature	OriginalImageIdentificationNomenclature	CS	1-n	RET
(0020,9056)	Stack ID	StackID	SH	1
(0020,9057)	In-Stack Position Number	InStackPositionNumber	UL	1
(0020,9071)	Frame Anatomy Sequence	FrameAnatomySequence	SQ	1
(0020,9072)	Frame Laterality	FrameLaterality	CS	1
(0020,9111)	Frame Content Sequence	FrameContentSequence	SQ	1
(0020,9113)	Plane Position Sequence	PlanePositionSequence	SQ	1
(0020,9116)	Plane Orientation Sequence	PlaneOrientationSequence	SQ	1
(0020,9128)	Temporal Position Index	TemporalPositionIndex	UL	1
(0020,9153)	Nominal Cardiac Trigger Delay Time	NominalCardiacTriggerDelayTime	FD	1
(0020,9156)	Frame Acquisition Number	FrameAcquisitionNumber	US	1
(0020,9157)	Dimension Index Values	DimensionIndexValues	UL	1-n
(0020,9158)	Frame Comments	FrameComments	LT	1
(0020,9161)	Concatenation UID	ConcatenationUID	UI	1
(0020,9162)	In-concatenation Number	InConcatenationNumber	US	1
(0020,9163)	In-concatenation Total Number	InConcatenationTotalNumber	US	1
(0020,9164)	Dimension Organization UID	DimensionOrganizationUID	UI	1
(0020,9165)	Dimension Index Pointer	DimensionIndexPointer	AT	1
(0020,9167)	Functional Group Pointer	FunctionalGroupPointer	AT	1
(0020,9213)	Dimension Index Private Creator	DimensionIndexPrivateCreator	LO	1
(0020,9221)	Dimension Organization Sequence	DimensionOrganizationSequence	SQ	1
(0020,9222)	Dimension Index Sequence	DimensionIndexSequence	SQ	1
(0020,9228)	Concatenation Frame Offset Number	ConcatenationFrameOffsetNumber	UL	1
(0020,9238)	Functional Group Private Creator	FunctionalGroupPrivateCreator	LO	1
(0020,9241)	Nominal Percentage of Cardiac Phase	NominalPercentageOfCardiacPhase	FL	1
(0020,9245)	Nominal Percentage of Respiratory Phase	NominalPercentageOfRespiratoryPhase	FL	1
(0020,9246)	Starting Respiratory Amplitude	StartingRespiratoryAmplitude	FL	1
(0020,9247)	Starting Respiratory Phase	StartingRespiratoryPhase	CS	1
(0020,9248)	Ending Respiratory Amplitude	EndingRespiratoryAmplitude	FL	1
(0020,9249)	Ending Respiratory Phase	EndingRespiratoryPhase	CS	1
(0020,9250)	Respiratory Trigger Type	RespiratoryTriggerType	CS	1
(0020,9251)	R - R Interval Time Nominal	RRIntervalTimeNominal	FD	1
(0020,9252)	Actual Cardiac Trigger Delay Time	ActualCardiacTriggerDelayTime	FD	1
(0020,9253)	Respiratory Synchronization Sequence	RespiratorySynchronizationSequence	SQ	1
(0020,9254)	Respiratory Interval Time	RespiratoryIntervalTime	FD	1
(0020,9255)	Nominal Respiratory Trigger Delay Time	NominalRespiratoryTriggerDelayTime	FD	1
(0020,9256)	Respiratory Trigger Delay Threshold	RespiratoryTriggerDelayThreshold	FD	1
(0020,9257)	Actual Respiratory Trigger Delay Time	ActualRespiratoryTriggerDelayTime	FD	1
(0020,9301)	Image Position (Volume)	ImagePositionVolume	FD	3
(0020,9302)	Image Orientation (Volume)	ImageOrientationVolume	FD	6
(0020,9307)	Ultrasound Acquisition Geometry	UltrasoundAcquisitionGeometry	CS	1
(0020,9308)	Apex Position	ApexPosition	FD	3
(0020,9309)	Volume to Transducer Mapping Matrix	VolumeToTransducerMappingMatrix	FD	16
(0020,930A)	Volume to Table Mapping Matrix	VolumeToTableMappingMatrix	FD	16
(0020,930C)	Patient Frame of Reference Source	PatientFrameOfReferenceSource	CS	1
(0020,930D)	Temporal Position Time Offset	TemporalPositionTimeOffset	FD	1
(0020,930E)	Plane Position (Volume) Sequence	PlanePositionVolumeSequence	SQ	1
(0020,930F)	Plane Orientation (Volume) Sequence	PlaneOrientationVolumeSequence	SQ	1
(0020,9310)	Temporal Position Sequence	TemporalPositionSequence	SQ	1
(0020,9311)	Dimension Organization Type	DimensionOrganizationType	CS	1
(0020,9312)	Volume Frame of Reference UID	VolumeFrameOfReferenceUID	UI	1
(0020,9313)	Table Frame of Reference UID	TableFrameOfReferenceUID	UI	1
(0020,9421)	Dimension Description Label	DimensionDescriptionLabel	LO	1
(0020,9450)	Patient Orientation in Frame Sequence	PatientOrientationInFrameSequence	SQ	1
(0020,9453)	Frame Label	FrameLabel	LO	1
(0020,9518)	Acquisition Index	AcquisitionIndex	US	1-n
(0020,9529)	Contributing SOP Instances Reference Sequence	ContributingSOPInstancesReferenceSequence	SQ	1
(0020,9536)	Reconstruction Index	ReconstructionIndex	US	1
Tag	Name	Keyword	VR	VM
(0022,0001)	Light Path Filter Pass-Through Wavelength	LightPathFilterPassThroughWavelength	US	1
(0022,0002)	Light Path Filter Pass Band	LightPathFilterPassBand	US	2
(0022,0003)	Image Path Filter Pass-Through Wavelength	ImagePathFilterPassThroughWavelength	US	1
(0022,0004)	Image Path Filter Pass Band	ImagePathFilterPassBand	US	2
(0022,0005)	Patient Eye Movement Commanded	PatientEyeMovementCommanded	CS	1
(0022,0006)	Patient Eye Movement Command Code Sequence	PatientEyeMovementCommandCodeSequence	SQ	1
(0022,0007)	Spherical Lens Power	SphericalLensPower	FL	1
(0022,0008)	Cylinder Lens Power	CylinderLensPower	FL	1
(0022,0009)	Cylinder Axis	CylinderAxis	FL	1
(0022,000A)	Emmetropic Magnification	EmmetropicMagnification	FL	1
(0022,000B)	Intra Ocular Pressure	IntraOcularPressure	FL	1
(0022,000C)	Horizontal Field of View	HorizontalFieldOfView	FL	1
(0022,000D)	Pupil Dilated	PupilDilated	CS	1
(0022,000E)	Degree of Dilation	DegreeOfDilation	FL	1
(0022,0010)	Stereo Baseline Angle	StereoBaselineAngle	FL	1
(0022,0011)	Stereo Baseline Displacement	StereoBaselineDisplacement	FL	1
(0022,0012)	Stereo Horizontal Pixel Offset	StereoHorizontalPixelOffset	FL	1
(0022,0013)	Stereo Vertical Pixel Offset	StereoVerticalPixelOffset	FL	1
(0022,0014)	Stereo Rotation	StereoRotation	FL	1
(0022,0015)	Acquisition Device Type Code Sequence	AcquisitionDeviceTypeCodeSequence	SQ	1
(0022,0016)	Illumination Type Code Sequence	IlluminationTypeCodeSequence	SQ	1
(0022,0017)	Light Path Filter Type Stack Code Sequence	LightPathFilterTypeStackCodeSequence	SQ	1
(0022,0018)	Image Path Filter Type Stack Code Sequence	ImagePathFilterTypeStackCodeSequence	SQ	1
(0022,0019)	Lenses Code Sequence	LensesCodeSequence	SQ	1
(0022,001A)	Channel Description Code Sequence	ChannelDescriptionCodeSequence	SQ	1
(0022,001B)	Refractive State Sequence	RefractiveStateSequence	SQ	1
(0022,001C)	Mydriatic Agent Code Sequence	MydriaticAgentCodeSequence	SQ	1
(0022,001D)	Relative Image Position Code Sequence	RelativeImagePositionCodeSequence	SQ	1
(0022,0020)	Stereo Pairs Sequence	StereoPairsSequence	SQ	1
(0022,0021)	Left Image Sequence	LeftImageSequence	SQ	1
(0022,0022)	Right Image Sequence	RightImageSequence	SQ	1
(0022,0030)	Axial Length of the Eye	AxialLengthOfTheEye	FL	1
(0022,0031)	Ophthalmic Frame Location Sequence	OphthalmicFrameLocationSequence	SQ	1
(0022,0032)	Reference Coordinates	ReferenceCoordinates	FL	2-2n
(0022,0035)	Depth Spatial Resolution	DepthSpatialResolution	FL	1
(0022,0036)	Maximum Depth Distortion	MaximumDepthDistortion	FL	1
(0022,0037)	Along-scan Spatial Resolution	AlongScanSpatialResolution	FL	1
(0022,0038)	Maximum Along-scan Distortion	MaximumAlongScanDistortion	FL	1
(0022,0039)	Ophthalmic Image Orientation	OphthalmicImageOrientation	CS	1
(0022,0041)	Depth of Transverse Image	DepthOfTransverseImage	FL	1
(0022,0042)	Mydriatic Agent Concentration Units Sequence	MydriaticAgentConcentrationUnitsSequence	SQ	1
(0022,0048)	Across-scan Spatial Resolution	AcrossScanSpatialResolution	FL	1
(0022,0049)	Maximum Across-scan Distortion	MaximumAcrossScanDistortion	FL	1
(0022,004E)	Mydriatic Agent Concentration	MydriaticAgentConcentration	DS	1
(0022,0055)	Illumination Wave Length	IlluminationWaveLength	FL	1
(0022,0056)	Illumination Power	IlluminationPower	FL	1
(0022,0057)	Illumination Bandwidth	IlluminationBandwidth	FL	1
(0022,0058)	Mydriatic Agent Sequence	MydriaticAgentSequence	SQ	1

Tag	Name	Keyword	VR	VM
(0028,0002)	Samples per Pixel	SamplesPerPixel	US	1
(0028,0003)	Samples per Pixel Used	SamplesPerPixelUsed	US	1
(0028,0004)	Photometric Interpretation	PhotometricInterpretation	CS	1
(0028,0005)	Image Dimensions	ImageDimensions	US	1	RET
(0028,0006)	Planar Configuration	PlanarConfiguration	US	1
(0028,0008)	Number of Frames	NumberOfFrames	IS	1
(0028,0009)	Frame Increment Pointer	FrameIncrementPointer	AT	1-n
(0028,000A)	Frame Dimension Pointer	FrameDimensionPointer	AT	1-n
(0028,0010)	Rows	Rows	US	1
(0028,0011)	Columns	Columns	US	1
(0028,0012)	Planes	Planes	US	1	RET
(0028,0014)	Ultrasound Color Data Present	UltrasoundColorDataPresent	US	1
(0028,0020)					RET
(0028,0030)	Pixel Spacing	PixelSpacing	DS	2
(0028,0031)	Zoom Factor	ZoomFactor	DS	2
(0028,0032)	Zoom Center	ZoomCenter	DS	2
(0028,0034)	Pixel Aspect Ratio	PixelAspectRatio	IS	2
(0028,0040)	Image Format	ImageFormat	CS	1	RET
(0028,0050)	Manipulated Image	ManipulatedImage	LO	1-n	RET
(0028,0051)	Corrected Image	CorrectedImage	CS	1-n
(0028,005F)	Compression Recognition Code	CompressionRecognitionCode	LO	1	RET
(0028,0060)	Compression Code	CompressionCode	CS	1	RET
(0028,0061)	Compression Originator	CompressionOriginator	SH	1	RET
(0028,0062)	Compression Label	CompressionLabel	LO	1	RET
(0028,0063)	Compression Description	CompressionDescription	SH	1	RET
(0028,0065)	Compression Sequence	CompressionSequence	CS	1-n	RET
(0028,0066)	Compression Step Pointers	CompressionStepPointers	AT	1-n	RET
(0028,0068)	Repeat Interval	RepeatInterval	US	1	RET
(0028,0069)	Bits Grouped	BitsGrouped	US	1	RET
(0028,0070)	Perimeter Table	PerimeterTable	US	1-n	RET
(0028,0071)	Perimeter Value	PerimeterValue	US or SS	1	RET
(0028,0080)	Predictor Rows	PredictorRows	US	1	RET
(0028,0081)	Predictor Columns	PredictorColumns	US	1	RET
(0028,0082)	Predictor Constants	PredictorConstants	US	1-n	RET
(0028,0090)	Blocked Pixels	BlockedPixels	CS	1	RET
(0028,0091)	Block Rows	BlockRows	US	1	RET
(0028,0092)	Block Columns	BlockColumns	US	1	RET
(0028,0093)	Row Overlap	RowOverlap	US	1	RET
(0028,0094)	Column Overlap	ColumnOverlap	US	1	RET
(0028,0100)	Bits Allocated	BitsAllocated	US	1
(0028,0101)	Bits Stored	BitsStored	US	1
(0028,0102)	High Bit	HighBit	US	1
(0028,0103)	Pixel Representation	PixelRepresentation	US	1
(0028,0104)	Smallest Valid Pixel Value	SmallestValidPixelValue	US or SS	1	RET
(0028,0105)	Largest Valid Pixel Value	LargestValidPixelValue	US or SS	1	RET
(0028,0106)	Smallest Image Pixel Value	SmallestImagePixelValue	US or SS	1
(0028,0107)	Largest Image Pixel Value	LargestImagePixelValue	US or SS	1
(0028,0108)	Smallest Pixel Value in Series	SmallestPixelValueInSeries	US or SS	1
(0028,0109)	Largest Pixel Value in Series	LargestPixelValueInSeries	US or SS	1
(0028,0110)	Smallest Image Pixel Value in Plane	SmallestImagePixelValueInPlane	US or SS	1	RET
(0028,0111)	Largest Image Pixel Value in Plane	LargestImagePixelValueInPlane	US or SS	1	RET
(0028,0120)	Pixel Padding Value	PixelPaddingValue	US or SS	1
(0028,0121)	Pixel Padding Range Limit	PixelPaddingRangeLimit	US or SS	1
(0028,0200)	Image Location	ImageLocation	US	1	RET
(0028,0300)	Quality Control Image	QualityControlImage	CS	1
(0028,0301)	Burned In Annotation	BurnedInAnnotation	CS	1

(0028,0400)	Transform Label	TransformLabel	LO	1	RET
(0028,0401)	Transform Version Number	TransformVersionNumber	LO	1	RET
(0028,0402)	Number of Transform Steps	NumberOfTransformSteps	US	1	RET
(0028,0403)	Sequence of Compressed Data	SequenceOfCompressedData	LO	1-n	RET
(0028,0404)	Details of Coefficients	DetailsOfCoefficients	AT	1-n	RET
(0028,04x0)	Rows For Nth Order Coefficients	RowsForNthOrderCoefficients	US	1	RET
(0028,04x1)	Columns For Nth Order Coefficients	ColumnsForNthOrderCoefficients	US	1	RET
(0028,04x2)	Coefficient Coding	CoefficientCoding	LO	1-n	RET
(0028,04x3)	Coefficient Coding Pointers	CoefficientCodingPointers	AT	1-n	RET
(0028,0700)	DCT Label	DCTLabel	LO	1	RET
(0028,0701)	Data Block Description	DataBlockDescription	CS	1-n	RET
(0028,0702)	Data Block	DataBlock	AT	1-n	RET
(0028,0710)	Normalization Factor Format	NormalizationFactorFormat	US	1	RET
(0028,0720)	Zonal Map Number Format	ZonalMapNumberFormat	US	1	RET
(0028,0721)	Zonal Map Location	ZonalMapLocation	AT	1-n	RET
(0028,0722)	Zonal Map Format	ZonalMapFormat	US	1	RET
(0028,0730)	Adaptive Map Format	AdaptiveMapFormat	US	1	RET
(0028,0740)	Code Number Format	CodeNumberFormat	US	1	RET
(0028,08x0)	Code Label	CodeLabel	CS	1-n	RET
(0028,08x2)	Number of Tables	NumberOfTables	US	1	RET
(0028,08x3)	Code Table Location	CodeTableLocation	AT	1-n	RET
(0028,08x4)	Bits For Code Word	BitsForCodeWord	US	1	RET
(0028,08x8)	Image Data Location	ImageDataLocation	AT	1-n	RET
(0028,0A02)	Pixel Spacing Calibration Type	PixelSpacingCalibrationType	CS	1
(0028,0A04)	Pixel Spacing Calibration Description	PixelSpacingCalibrationDescription	LO	1
(0028,1040)	Pixel Intensity Relationship	PixelIntensityRelationship	CS	1
(0028,1041)	Pixel Intensity Relationship Sign	PixelIntensityRelationshipSign	SS	1
(0028,1050)	Window Center	WindowCenter	DS	1-n
(0028,1051)	Window Width	WindowWidth	DS	1-n
(0028,1052)	Rescale Intercept	RescaleIntercept	DS	1
(0028,1053)	Rescale Slope	RescaleSlope	DS	1
(0028,1054)	Rescale Type	RescaleType	LO	1
(0028,1055)	Window Center & Width Explanation	WindowCenterWidthExplanation	LO	1-n
(0028,1056)	VOI LUT Function	VOILUTFunction	CS	1
(0028,1080)	Gray Scale	GrayScale	CS	1	RET
(0028,1090)	Recommended Viewing Mode	RecommendedViewingMode	CS	1
(0028,1100)	Gray Lookup Table Descriptor	GrayLookupTableDescriptor	US or SS	3	RET
(0028,1101)	Red Palette Color Lookup Table Descriptor	RedPaletteColorLookupTableDescriptor	US or SS	3
(0028,1102)	Green Palette Color Lookup Table Descriptor	GreenPaletteColorLookupTableDescriptor	US or SS	3
(0028,1103)	Blue Palette Color Lookup Table Descriptor	BluePaletteColorLookupTableDescriptor	US or SS	3
(0028,1104)	Alpha Palette Color Lookup Table Descriptor	AlphaPaletteColorLookupTableDescriptor	US	3
(0028,1111)	Large Red Palette Color Lookup Table Descriptor	LargeRedPaletteColorLookupTableDescriptor	US or SS	4	RET
(0028,1112)	Large Green Palette Color Lookup Table Descriptor	LargeGreenPaletteColorLookupTableDescriptor	US or SS	4	RET
(0028,1113)	Large Blue Palette Color Lookup Table Descriptor	LargeBluePaletteColorLookupTableDescriptor	US or SS	4	RET
(0028,1199)	Palette Color Lookup Table UID	PaletteColorLookupTableUID	UI	1
(0028,1200)	Gray Lookup Table Data	GrayLookupTableData	US or SS or OW	1-n 1	RET
(0028,1201)	Red Palette Color Lookup Table Data	RedPaletteColorLookupTableData	OW	1
(0028,1202)	Green Palette Color Lookup Table Data	GreenPaletteColorLookupTableData	OW	1
(0028,1203)	Blue Palette Color Lookup Table Data	BluePaletteColorLookupTableData	OW	1
(0028,1204)	Alpha Palette Color Lookup Table Data	AlphaPaletteColorLookupTableData	OW	1
(0028,1211)	Large Red Palette Color Lookup Table Data	LargeRedPaletteColorLookupTableData	OW	1	RET
(0028,1212)	Large Green Palette Color Lookup Table Data	LargeGreenPaletteColorLookupTableData	OW	1	RET
(0028,1213)	Large Blue Palette Color Lookup Table Data	LargeBluePaletteColorLookupTableData	OW	1	RET
(0028,1214)	Large Palette Color Lookup Table UID	LargePaletteColorLookupTableUID	UI	1	RET
(0028,1221)	Segmented Red Palette Color Lookup Table Data	SegmentedRedPaletteColorLookupTableData	OW	1
(0028,1222)	Segmented Green Palette Color Lookup Table Data	SegmentedGreenPaletteColorLookupTableData	OW	1
(0028,1223)	Segmented Blue Palette Color Lookup Table Data	SegmentedBluePaletteColorLookupTableData	OW	1
(0028,1300)	Breast Implant Present	BreastImplantPresent	CS	1
(0028,1350)	Partial View	PartialView	CS	1
(0028,1351)	Partial View Description	PartialViewDescription	ST	1
(0028,1352)	Partial View Code Sequence	PartialViewCodeSequence	SQ	1
(0028,135A)	Spatial Locations Preserved	SpatialLocationsPreserved	CS	1
(0028,1401)	Data Frame Assignment Sequence	DataFrameAssignmentSequence	SQ	1
(0028,1402)	Data Path Assignment	DataPathAssignment	CS	1
(0028,1403)	Bits Mapped to Color Lookup Table	BitsMappedToColorLookupTable	US	1
(0028,1404)	Blending LUT 1 Sequence	BlendingLUT1Sequence	SQ	1
(0028,1405)	Blending LUT 1 Transfer Function	BlendingLUT1TransferFunction	CS	1
(0028,1406)	Blending Weight Constant	BlendingWeightConstant	FD	1
(0028,1407)	Blending Lookup Table Descriptor	BlendingLookupTableDescriptor	US	3
(0028,1408)	Blending Lookup Table Data	BlendingLookupTableData	OW	1
(0028,140B)	Enhanced Palette Color Lookup Table Sequence	EnhancedPaletteColorLookupTableSequence	SQ	1
(0028,140C)	Blending LUT 2 Sequence	BlendingLUT2Sequence	SQ	1
(0028,140D)	Blending LUT 2 Transfer Function	BlendingLUT2TransferFunction	CS	1
(0028,140E)	Data Path ID	DataPathID	CS	1
(0028,140F)	RGB LUT Transfer Function	RGBLUTTransferFunction	CS	1
(0028,1410)	Alpha LUT Transfer Function	AlphaLUTTransferFunction	CS	1
(0028,2000)	ICC Profile	ICCProfile	OB	1
(0028,2110)	Lossy Image Compression	LossyImageCompression	CS	1
(0028,2112)	Lossy Image Compression Ratio	LossyImageCompressionRatio	DS	1-n
(0028,2114)	Lossy Image Compression Method	LossyImageCompressionMethod	CS	1-n
(0028,3000)	Modality LUT Sequence	ModalityLUTSequence	SQ	1
(0028,3002)	LUT Descriptor	LUTDescriptor	US or SS	3
(0028,3003)	LUT Explanation	LUTExplanation	LO	1
(0028,3004)	Modality LUT Type	ModalityLUTType	LO	1
(0028,3006)	LUT Data	LUTData	US or SS or OW	1-n 1
(0028,3010)	VOI LUT Sequence	VOILUTSequence	SQ	1
(0028,3110)	Softcopy VOI LUT Sequence	SoftcopyVOILUTSequence	SQ	1
(0028,4000)	Image Presentation Comments	ImagePresentationComments	LT	1	RET
(0028,5000)	Bi-Plane Acquisition Sequence	BiPlaneAcquisitionSequence	SQ	1	RET
(0028,6010)	Representative Frame Number	RepresentativeFrameNumber	US	1
(0028,6020)	Frame Numbers of Interest (FOI)	FrameNumbersOfInterest	US	1-n
(0028,6022)	Frame of Interest Description	FrameOfInterestDescription	LO	1-n
(0028,6023)	Frame of Interest Type	FrameOfInterestType	CS	1-n
(0028,6030)	Mask Pointer(s)	MaskPointers	US	1-n	RET
(0028,6040)	R Wave Pointer	RWavePointer	US	1-n
(0028,6100)	Mask Subtraction Sequence	MaskSubtractionSequence	SQ	1
(0028,6101)	Mask Operation	MaskOperation	CS	1
(0028,6102)	Applicable Frame Range	ApplicableFrameRange	US	2-2n
(0028,6110)	Mask Frame Numbers	MaskFrameNumbers	US	1-n
(0028,6112)	Contrast Frame Averaging	ContrastFrameAveraging	US	1
(0028,6114)	Mask Sub-pixel Shift	MaskSubPixelShift	FL	2
(0028,6120)	TID Offset	TIDOffset	SS	1
(0028,6190)	Mask Operation Explanation	MaskOperationExplanation	ST	1
(0028,7FE0)	Pixel Data Provider URL	PixelDataProviderURL	UT	1
(0028,9001)	Data Point Rows	DataPointRows	UL	1
(0028,9002)	Data Point Columns	DataPointColumns	UL	1
(0028,9003)	Signal Domain Columns	SignalDomainColumns	CS	1
(0028,9099)	Largest Monochrome Pixel Value	LargestMonochromePixelValue	US	1	RET
(0028,9108)	Data Representation	DataRepresentation	CS	1
(0028,9110)	Pixel Measures Sequence	PixelMeasuresSequence	SQ	1
(0028,9132)	Frame VOI LUT Sequence	FrameVOILUTSequence	SQ	1
(0028,9145)	Pixel Value Transformation Sequence	PixelValueTransformationSequence	SQ	1
(0028,9235)	Signal Domain Rows	SignalDomainRows	CS	1
(0028,9411)	Display Filter Percentage	DisplayFilterPercentage	FL	1
(0028,9415)	Frame Pixel Shift Sequence	FramePixelShiftSequence	SQ	1
(0028,9416)	Subtraction Item ID	SubtractionItemID	US	1
(0028,9422)	Pixel Intensity Relationship LUT Sequence	PixelIntensityRelationshipLUTSequence	SQ	1
(0028,9443)	Frame Pixel Data Properties Sequence	FramePixelDataPropertiesSequence	SQ	1
(0028,9444)	Geometrical Properties	GeometricalProperties	CS	1
(0028,9445)	Geometric Maximum Distortion	GeometricMaximumDistortion	FL	1
(0028,9446)	Image Processing Applied	ImageProcessingApplied	CS	1-n
(0028,9454)	Mask Selection Mode	MaskSelectionMode	CS	1
(0028,9474)	LUT Function	LUTFunction	CS	1
(0028,9478)	Mask Visibility Percentage	MaskVisibilityPercentage	FL	1
(0028,9501)	Pixel Shift Sequence	PixelShiftSequence	SQ	1
(0028,9502)	Region Pixel Shift Sequence	RegionPixelShiftSequence	SQ	1
(0028,9503)	Vertices of the Region	VerticesOfTheRegion	SS	2-2n
(0028,9505)	Multi-frame Presentation Sequence	MultiFramePresentationSequence	SQ	1
(0028,9506)	Pixel Shift Frame Range	PixelShiftFrameRange	US	2-2n
(0028,9507)	LUT Frame Range	LUTFrameRange	US	2-2n
(0028,9520)	Image to Equipment Mapping Matrix	ImageToEquipmentMappingMatrix	DS	16
(0028,9537)	Equipment Coordinate System Identification	EquipmentCoordinateSystemIdentification	CS	1
Tag	Name	Keyword	VR	VM
(0032,000A)	Study Status ID	StudyStatusID	CS	1	RET
(0032,000C)	Study Priority ID	StudyPriorityID	CS	1	RET
(0032,0012)	Study ID Issuer	StudyIDIssuer	LO	1	RET
(0032,0032)	Study Verified Date	StudyVerifiedDate	DA	1	RET
(0032,0033)	Study Verified Time	StudyVerifiedTime	TM	1	RET
(0032,0034)	Study Read Date	StudyReadDate	DA	1	RET
(0032,0035)	Study Read Time	StudyReadTime	TM	1	RET
(0032,1000)	Scheduled Study Start Date	ScheduledStudyStartDate	DA	1	RET
(0032,1001)	Scheduled Study Start Time	ScheduledStudyStartTime	TM	1	RET
(0032,1010)	Scheduled Study Stop Date	ScheduledStudyStopDate	DA	1	RET
(0032,1011)	Scheduled Study Stop Time	ScheduledStudyStopTime	TM	1	RET
(0032,1020)	Scheduled Study Location	ScheduledStudyLocation	LO	1	RET
(0032,1021)	Scheduled Study Location AE Title	ScheduledStudyLocationAETitle	AE	1-n	RET
(0032,1030)	Reason for Study	ReasonForStudy	LO	1	RET
(0032,1031)	Requesting Physician Identification Sequence	RequestingPhysicianIdentificationSequence	SQ	1
(0032,1032)	Requesting Physician	RequestingPhysician	PN	1
(0032,1033)	Requesting Service	RequestingService	LO	1
(0032,1034)	Requesting Service Code Sequence	RequestingServiceCodeSequence	SQ	1
(0032,1040)	Study Arrival Date	StudyArrivalDate	DA	1	RET
(0032,1041)	Study Arrival Time	StudyArrivalTime	TM	1	RET
(0032,1050)	Study Completion Date	StudyCompletionDate	DA	1	RET
(0032,1051)	Study Completion Time	StudyCompletionTime	TM	1	RET
(0032,1055)	Study Component Status ID	StudyComponentStatusID	CS	1	RET
(0032,1060)	Requested Procedure Description	RequestedProcedureDescription	LO	1
(0032,1064)	Requested Procedure Code Sequence	RequestedProcedureCodeSequence	SQ	1
(0032,1070)	Requested Contrast Agent	RequestedContrastAgent	LO	1
(0032,4000)	Study Comments	StudyComments	LT	1	RET

Tag	Name	Keyword	VR	VM
(0038,0004)	Referenced Patient Alias Sequence	ReferencedPatientAliasSequence	SQ	1
(0038,0008)	Visit Status ID	VisitStatusID	CS	1
(0038,0010)	Admission ID	AdmissionID	LO	1
(0038,0011)	Issuer of Admission ID	IssuerOfAdmissionID	LO	1	RET
(0038,0014)	Issuer of Admission ID Sequence	IssuerOfAdmissionIDSequence	SQ	1
(0038,0016)	Route of Admissions	RouteOfAdmissions	LO	1
(0038,001A)	Scheduled Admission Date	ScheduledAdmissionDate	DA	1	RET
(0038,001B)	Scheduled Admission Time	ScheduledAdmissionTime	TM	1	RET
(0038,001C)	Scheduled Discharge Date	ScheduledDischargeDate	DA	1	RET
(0038,001D)	Scheduled Discharge Time	ScheduledDischargeTime	TM	1	RET
(0038,001E)	Scheduled Patient Institution Residence	ScheduledPatientInstitutionResidence	LO	1	RET
(0038,0020)	Admitting Date	AdmittingDate	DA	1
(0038,0021)	Admitting Time	AdmittingTime	TM	1
(0038,0030)	Discharge Date	DischargeDate	DA	1	RET
(0038,0032)	Discharge Time	DischargeTime	TM	1	RET
(0038,0040)	Discharge Diagnosis Description	DischargeDiagnosisDescription	LO	1	RET
(0038,0044)	Discharge Diagnosis Code Sequence	DischargeDiagnosisCodeSequence	SQ	1	RET
(0038,0050)	Special Needs	SpecialNeeds	LO	1
(0038,0060)	Service Episode ID	ServiceEpisodeID	LO	1
(0038,0061)	Issuer of Service Episode ID	IssuerOfServiceEpisodeID	LO	1	RET
(0038,0062)	Service Episode Description	ServiceEpisodeDescription	LO	1
(0038,0064)	Issuer of Service Episode ID Sequence	IssuerOfServiceEpisodeIDSequence	SQ	1
(0038,0100)	Pertinent Documents Sequence	PertinentDocumentsSequence	SQ	1
(0038,0300)	Current Patient Location	CurrentPatientLocation	LO	1
(0038,0400)	Patient's Institution Residence	PatientInstitutionResidence	LO	1
(0038,0500)	Patient State	PatientState	LO	1
(0038,0502)	Patient Clinical Trial Participation Sequence	PatientClinicalTrialParticipationSequence	SQ	1
(0038,4000)	Visit Comments	VisitComments	LT	1

Tag	Name	Keyword	VR	VM
(003A,0004)	Waveform Originality	WaveformOriginality	CS	1
(003A,0005)	Number of Waveform Channels	NumberOfWaveformChannels	US	1
(003A,0010)	Number of Waveform Samples	NumberOfWaveformSamples	UL	1
(003A,001A)	Sampling Frequency	SamplingFrequency	DS	1
(003A,0020)	Multiplex Group Label	MultiplexGroupLabel	SH	1
(003A,0200)	Channel Definition Sequence	ChannelDefinitionSequence	SQ	1
(003A,0202)	Waveform Channel Number	WaveformChannelNumber	IS	1
(003A,0203)	Channel Label	ChannelLabel	SH	1
(003A,0205)	Channel Status	ChannelStatus	CS	1-n
(003A,0208)	Channel Source Sequence	ChannelSourceSequence	SQ	1
(003A,0209)	Channel Source Modifiers Sequence	ChannelSourceModifiersSequence	SQ	1
(003A,020A)	Source Waveform Sequence	SourceWaveformSequence	SQ	1
(003A,020C)	Channel Derivation Description	ChannelDerivationDescription	LO	1
(003A,0210)	Channel Sensitivity	ChannelSensitivity	DS	1
(003A,0211)	Channel Sensitivity Units Sequence	ChannelSensitivityUnitsSequence	SQ	1
(003A,0212)	Channel Sensitivity Correction Factor	ChannelSensitivityCorrectionFactor	DS	1
(003A,0213)	Channel Baseline	ChannelBaseline	DS	1
(003A,0214)	Channel Time Skew	ChannelTimeSkew	DS	1
(003A,0215)	Channel Sample Skew	ChannelSampleSkew	DS	1
(003A,0218)	Channel Offset	ChannelOffset	DS	1
(003A,021A)	Waveform Bits Stored	WaveformBitsStored	US	1
(003A,0220)	Filter Low Frequency	FilterLowFrequency	DS	1
(003A,0221)	Filter High Frequency	FilterHighFrequency	DS	1
(003A,0222)	Notch Filter Frequency	NotchFilterFrequency	DS	1
(003A,0223)	Notch Filter Bandwidth	NotchFilterBandwidth	DS	1
(003A,0230)	Waveform Data Display Scale	WaveformDataDisplayScale	FL	1
(003A,0231)	Waveform Display Background CIELab Value	WaveformDisplayBackgroundCIELabValue	US	3
(003A,0240)	Waveform Presentation Group Sequence	WaveformPresentationGroupSequence	SQ	1
(003A,0241)	Presentation Group Number	PresentationGroupNumber	US	1
(003A,0242)	Channel Display Sequence	ChannelDisplaySequence	SQ	1
(003A,0244)	Channel Recommended Display CIELab Value	ChannelRecommendedDisplayCIELabValue	US	3
(003A,0245)	Channel Position	ChannelPosition	FL	1
(003A,0246)	Display Shading Flag	DisplayShadingFlag	CS	1
(003A,0247)	Fractional Channel Display Scale	FractionalChannelDisplayScale	FL	1
(003A,0248)	Absolute Channel Display Scale	AbsoluteChannelDisplayScale	FL	1
(003A,0300)	Multiplexed Audio Channels Description Code Sequence	MultiplexedAudioChannelsDescriptionCodeSequence	SQ	1
(003A,0301)	Channel Identification Code	ChannelIdentificationCode	IS	1
(003A,0302)	Channel Mode	ChannelMode	CS	1

Tag	Name	Keyword	VR	VM
(0040,0001)	Scheduled Station AE Title	ScheduledStationAETitle	AE	1-n
(0040,0002)	Scheduled Procedure Step Start Date	ScheduledProcedureStepStartDate	DA	1
(0040,0003)	Scheduled Procedure Step Start Time	ScheduledProcedureStepStartTime	TM	1
(0040,0004)	Scheduled Procedure Step End Date	ScheduledProcedureStepEndDate	DA	1
(0040,0005)	Scheduled Procedure Step End Time	ScheduledProcedureStepEndTime	TM	1
(0040,0006)	Scheduled Performing Physician's Name	ScheduledPerformingPhysicianName	PN	1
(0040,0007)	Scheduled Procedure Step Description	ScheduledProcedureStepDescription	LO	1
(0040,0008)	Scheduled Protocol Code Sequence	ScheduledProtocolCodeSequence	SQ	1
(0040,0009)	Scheduled Procedure Step ID	ScheduledProcedureStepID	SH	1
(0040,000A)	Stage Code Sequence	StageCodeSequence	SQ	1
(0040,000B)	Scheduled Performing Physician Identification Sequence	ScheduledPerformingPhysicianIdentificationSequence	SQ	1
(0040,0010)	Scheduled Station Name	ScheduledStationName	SH	1-n
(0040,0011)	Scheduled Procedure Step Location	ScheduledProcedureStepLocation	SH	1
(0040,0012)	Pre-Medication	PreMedication	LO	1
(0040,0020)	Scheduled Procedure Step Status	ScheduledProcedureStepStatus	CS	1
(0040,0026)	Order Placer Identifier Sequence	OrderPlacerIdentifierSequence	SQ	1
(0040,0027)	Order Filler Identifier Sequence	OrderFillerIdentifierSequence	SQ	1
(0040,0031)	Local Namespace Entity ID	LocalNamespaceEntityID	UT	1
(0040,0032)	Universal Entity ID	UniversalEntityID	UT	1
(0040,0033)	Universal Entity ID Type	UniversalEntityIDType	CS	1
(0040,0035)	Identifier Type Code	IdentifierTypeCode	CS	1
(0040,0036)	Assigning Facility Sequence	AssigningFacilitySequence	SQ	1
(0040,0039)	Assigning Jurisdiction Code Sequence	AssigningJurisdictionCodeSequence	SQ	1
(0040,003A)	Assigning Agency or Department Code Sequence	AssigningAgencyOrDepartmentCodeSequence	SQ	1
(0040,0100)	Scheduled Procedure Step Sequence	ScheduledProcedureStepSequence	SQ	1
(0040,0220)	Referenced Non-Image Composite SOP Instance Sequence	ReferencedNonImageCompositeSOPInstanceSequence	SQ	1
(0040,0241)	Performed Station AE Title	PerformedStationAETitle	AE	1
(0040,0242)	Performed Station Name	PerformedStationName	SH	1
(0040,0243)	Performed Location	PerformedLocation	SH	1
(0040,0244)	Performed Procedure Step Start Date	PerformedProcedureStepStartDate	DA	1
(0040,0245)	Performed Procedure Step Start Time	PerformedProcedureStepStartTime	TM	1
(0040,0250)	Performed Procedure Step End Date	PerformedProcedureStepEndDate	DA	1
(0040,0251)	Performed Procedure Step End Time	PerformedProcedureStepEndTime	TM	1
(0040,0252)	Performed Procedure Step Status	PerformedProcedureStepStatus	CS	1
(0040,0253)	Performed Procedure Step ID	PerformedProcedureStepID	SH	1
(0040,0254)	Performed Procedure Step Description	PerformedProcedureStepDescription	LO	1
(0040,0255)	Performed Procedure Type Description	PerformedProcedureTypeDescription	LO	1
(0040,0260)	Performed Protocol Code Sequence	PerformedProtocolCodeSequence	SQ	1
(0040,0261)	Performed Protocol Type	PerformedProtocolType	CS	1
(0040,0270)	Scheduled Step Attributes Sequence	ScheduledStepAttributesSequence	SQ	1
(0040,0275)	Request Attributes Sequence	RequestAttributesSequence	SQ	1
(0040,0280)	Comments on the Performed Procedure Step	CommentsOnThePerformedProcedureStep	ST	1
(0040,0281)	Performed Procedure Step Discontinuation Reason Code Sequence	PerformedProcedureStepDiscontinuationReasonCodeSequence	SQ	1
(0040,0293)	Quantity Sequence	QuantitySequence	SQ	1
(0040,0294)	Quantity	Quantity	DS	1
(0040,0295)	Measuring Units Sequence	MeasuringUnitsSequence	SQ	1
(0040,0296)	Billing Item Sequence	BillingItemSequence	SQ	1
(0040,0300)	Total Time of Fluoroscopy	TotalTimeOfFluoroscopy	US	1
(0040,0301)	Total Number of Exposures	TotalNumberOfExposures	US	1
(0040,0302)	Entrance Dose	EntranceDose	US	1
(0040,0303)	Exposed Area	ExposedArea	US	1-2
(0040,0306)	Distance Source to Entrance	DistanceSourceToEntrance	DS	1
(0040,0307)	Distance Source to Support	DistanceSourceToSupport	DS	1	RET
(0040,030E)	Exposure Dose Sequence	ExposureDoseSequence	SQ	1
(0040,0310)	Comments on Radiation Dose	CommentsOnRadiationDose	ST	1
(0040,0312)	X-Ray Output	XRayOutput	DS	1
(0040,0314)	Half Value Layer	HalfValueLayer	DS	1
(0040,0316)	Organ Dose	OrganDose	DS	1
(0040,0318)	Organ Exposed	OrganExposed	CS	1
(0040,0320)	Billing Procedure Step Sequence	BillingProcedureStepSequence	SQ	1
(0040,0321)	Film Consumption Sequence	FilmConsumptionSequence	SQ	1
(0040,0324)	Billing Supplies and Devices Sequence	BillingSuppliesAndDevicesSequence	SQ	1
(0040,0330)	Referenced Procedure Step Sequence	ReferencedProcedureStepSequence	SQ	1	RET
(0040,0340)	Performed Series Sequence	PerformedSeriesSequence	SQ	1
(0040,0400)	Comments on the Scheduled Procedure Step	CommentsOnTheScheduledProcedureStep	LT	1
(0040,0440)	Protocol Context Sequence	ProtocolContextSequence	SQ	1
(0040,0441)	Content Item Modifier Sequence	ContentItemModifierSequence	SQ	1
(0040,0500)	Scheduled Specimen Sequence	ScheduledSpecimenSequence	SQ	1
(0040,050A)	Specimen Accession Number	SpecimenAccessionNumber	LO	1	RET
(0040,0512)	Container Identifier	ContainerIdentifier	LO	1
(0040,0513)	Issuer of the Container Identifier Sequence	IssuerOfTheContainerIdentifierSequence	SQ	1
(0040,0515)	Alternate Container Identifier Sequence	AlternateContainerIdentifierSequence	SQ	1
(0040,0518)	Container Type Code Sequence	ContainerTypeCodeSequence	SQ	1
(0040,051A)	Container Description	ContainerDescription	LO	1
(0040,0520)	Container Component Sequence	ContainerComponentSequence	SQ	1
(0040,0550)	Specimen Sequence	SpecimenSequence	SQ	1	RET
(0040,0551)	Specimen Identifier	SpecimenIdentifier	LO	1
(0040,0552)	Specimen Description Sequence - Trial	SpecimenDescriptionSequenceTrial	SQ	1	RET
(0040,0553)	Specimen Description - Trial	SpecimenDescriptionTrial	ST	1	RET
(0040,0554)	Specimen UID	SpecimenUID	UI	1
(0040,0555)	Acquisition Context Sequence	AcquisitionContextSequence	SQ	1
(0040,0556)	Acquisition Context Description	AcquisitionContextDescription	ST	1
(0040,059A)	Specimen Type Code Sequence	SpecimenTypeCodeSequence	SQ	1
(0040,0560)	Specimen Description Sequence	SpecimenDescriptionSequence	SQ	1
(0040,0562)	Issuer of the Specimen Identifier Sequence	IssuerOfTheSpecimenIdentifierSequence	SQ	1
(0040,0600)	Specimen Short Description	SpecimenShortDescription	LO	1
(0040,0602)	Specimen Detailed Description	SpecimenDetailedDescription	UT	1
(0040,0610)	Specimen Preparation Sequence	SpecimenPreparationSequence	SQ	1
(0040,0612)	Specimen Preparation Step Content Item Sequence	SpecimenPreparationStepContentItemSequence	SQ	1
(0040,0620)	Specimen Localization Content Item Sequence	SpecimenLocalizationContentItemSequence	SQ	1
(0040,06FA)	Slide Identifier	SlideIdentifier	LO	1	RET
(0040,071A)	Image Center Point Coordinates Sequence	ImageCenterPointCoordinatesSequence	SQ	1
(0040,072A)	X offset in Slide Coordinate System	XOffsetInSlideCoordinateSystem	DS	1
(0040,073A)	Y offset in Slide Coordinate System	YOffsetInSlideCoordinateSystem	DS	1
(0040,074A)	Z offset in Slide Coordinate System	ZOffsetInSlideCoordinateSystem	DS	1
(0040,08D8)	Pixel Spacing Sequence	PixelSpacingSequence	SQ	1
(0040,08DA)	Coordinate System Axis Code Sequence	CoordinateSystemAxisCodeSequence	SQ	1
(0040,08EA)	Measurement Units Code Sequence	MeasurementUnitsCodeSequence	SQ	1
(0040,09F8)	Vital Stain Code Sequence - Trial	VitalStainCodeSequenceTrial	SQ	1	RET
(0040,1001)	Requested Procedure ID	RequestedProcedureID	SH	1
(0040,1002)	Reason for the Requested Procedure	ReasonForTheRequestedProcedure	LO	1
(0040,1003)	Requested Procedure Priority	RequestedProcedurePriority	SH	1
(0040,1004)	Patient Transport Arrangements	PatientTransportArrangements	LO	1
(0040,1005)	Requested Procedure Location	RequestedProcedureLocation	LO	1
(0040,1006)	Placer Order Number / Procedure	PlacerOrderNumberProcedure	SH	1	RET
(0040,1007)	Filler Order Number / Procedure	FillerOrderNumberProcedure	SH	1	RET
(0040,1008)	Confidentiality Code	ConfidentialityCode	LO	1
(0040,1009)	Reporting Priority	ReportingPriority	SH	1
(0040,100A)	Reason for Requested Procedure Code Sequence	ReasonForRequestedProcedureCodeSequence	SQ	1
(0040,1010)	Names of Intended Recipients of Results	NamesOfIntendedRecipientsOfResults	PN	1-n
(0040,1011)	Intended Recipients of Results Identification Sequence	IntendedRecipientsOfResultsIdentificationSequence	SQ	1
(0040,1012)	Reason For Performed Procedure Code Sequence	ReasonForPerformedProcedureCodeSequence	SQ	1
(0040,1101)	Person Identification Code Sequence	PersonIdentificationCodeSequence	SQ	1
(0040,1102)	Person's Address	PersonAddress	ST	1
(0040,1103)	Person's Telephone Numbers	PersonTelephoneNumbers	LO	1-n
(0040,1400)	Requested Procedure Comments	RequestedProcedureComments	LT	1
(0040,2001)	Reason for the Imaging Service Request	ReasonForTheImagingServiceRequest	LO	1	RET
(0040,2004)	Issue Date of Imaging Service Request	IssueDateOfImagingServiceRequest	DA	1
(0040,2005)	Issue Time of Imaging Service Request	IssueTimeOfImagingServiceRequest	TM	1
(0040,2006)	Placer Order Number / Imaging Service Request (Retired)	PlacerOrderNumberImagingServiceRequestRetired	SH	1	RET
(0040,2007)	Filler Order Number / Imaging Service Request (Retired)	FillerOrderNumberImagingServiceRequestRetired	SH	1	RET
(0040,2008)	Order Entered By	OrderEnteredBy	PN	1
(0040,2009)	Order Enterer's Location	OrderEntererLocation	SH	1
(0040,2010)	Order Callback Phone Number	OrderCallbackPhoneNumber	SH	1
(0040,2016)	Placer Order Number / Imaging Service Request	PlacerOrderNumberImagingServiceRequest	LO	1
(0040,2017)	Filler Order Number / Imaging Service Request	FillerOrderNumberImagingServiceRequest	LO	1
(0040,2400)	Imaging Service Request Comments	ImagingServiceRequestComments	LT	1
(0040,3001)	Confidentiality Constraint on Patient Data Description	ConfidentialityConstraintOnPatientDataDescription	LO	1
(0040,4001)	General Purpose Scheduled Procedure Step Status	GeneralPurposeScheduledProcedureStepStatus	CS	1
(0040,4002)	General Purpose Performed Procedure Step Status	GeneralPurposePerformedProcedureStepStatus	CS	1
(0040,4003)	General Purpose Scheduled Procedure Step Priority	GeneralPurposeScheduledProcedureStepPriority	CS	1
(0040,4004)	Scheduled Processing Applications Code Sequence	ScheduledProcessingApplicationsCodeSequence	SQ	1
(0040,4005)	Scheduled Procedure Step Start DateTime	ScheduledProcedureStepStartDateTime	DT	1
(0040,4006)	Multiple Copies Flag	MultipleCopiesFlag	CS	1
(0040,4007)	Performed Processing Applications Code Sequence	PerformedProcessingApplicationsCodeSequence	SQ	1
(0040,4009)	Human Performer Code Sequence	HumanPerformerCodeSequence	SQ	1
(0040,4010)	Scheduled Procedure Step Modification Date Time	ScheduledProcedureStepModificationDateTime	DT	1
(0040,4011)	Expected Completion Date Time	ExpectedCompletionDateTime	DT	1
(0040,4015)	Resulting General Purpose Performed Procedure Steps Sequence	ResultingGeneralPurposePerformedProcedureStepsSequence	SQ	1
(0040,4016)	Referenced General Purpose Scheduled Procedure Step Sequence	ReferencedGeneralPurposeScheduledProcedureStepSequence	SQ	1
(0040,4018)	Scheduled Workitem Code Sequence	ScheduledWorkitemCodeSequence	SQ	1
(0040,4019)	Performed Workitem Code Sequence	PerformedWorkitemCodeSequence	SQ	1
(0040,4020)	Input Availability Flag	InputAvailabilityFlag	CS	1
(0040,4021)	Input Information Sequence	InputInformationSequence	SQ	1
(0040,4022)	Relevant Information Sequence	RelevantInformationSequence	SQ	1
(0040,4023)	Referenced General Purpose Scheduled Procedure Step Transaction UID	ReferencedGeneralPurposeScheduledProcedureStepTransactionUID	UI	1
(0040,4025)	Scheduled Station Name Code Sequence	ScheduledStationNameCodeSequence	SQ	1
(0040,4026)	Scheduled Station Class Code Sequence	ScheduledStationClassCodeSequence	SQ	1
(0040,4027)	Scheduled Station Geographic Location Code Sequence	ScheduledStationGeographicLocationCodeSequence	SQ	1
(0040,4028)	Performed Station Name Code Sequence	PerformedStationNameCodeSequence	SQ	1
(0040,4029)	Performed Station Class Code Sequence	PerformedStationClassCodeSequence	SQ	1
(0040,4030)	Performed Station Geographic Location Code Sequence	PerformedStationGeographicLocationCodeSequence	SQ	1
(0040,4031)	Requested Subsequent Workitem Code Sequence	RequestedSubsequentWorkitemCodeSequence	SQ	1
(0040,4032)	Non-DICOM Output Code Sequence	NonDICOMOutputCodeSequence	SQ	1
(0040,4033)	Output Information Sequence	OutputInformationSequence	SQ	1
(0040,4034)	Scheduled Human Performers Sequence	ScheduledHumanPerformersSequence	SQ	1
(0040,4035)	Actual Human Performers Sequence	ActualHumanPerformersSequence	SQ	1
(0040,4036)	Human Performer's Organization	HumanPerformerOrganization	LO	1
(0040,4037)	Human Performer's Name	HumanPerformerName	PN	1
(0040,4040)	Raw Data Handling	RawDataHandling	CS	1
(0040,8302)	Entrance Dose in mGy	EntranceDoseInmGy	DS	1
(0040,9094)	Referenced Image Real World Value Mapping Sequence	ReferencedImageRealWorldValueMappingSequence	SQ	1
(0040,9096)	Real World Value Mapping Sequence	RealWorldValueMappingSequence	SQ	1
(0040,9098)	Pixel Value Mapping Code Sequence	PixelValueMappingCodeSequence	SQ	1
(0040,9210)	LUT Label	LUTLabel	SH	1
(0040,9211)	Real World Value Last Value Mapped	RealWorldValueLastValueMapped	US or SS	1
(0040,9212)	Real World Value LUT Data	RealWorldValueLUTData	FD	1-n
(0040,9216)	Real World Value First Value Mapped	RealWorldValueFirstValueMapped	US or SS	1
(0040,9224)	Real World Value Intercept	RealWorldValueIntercept	FD	1
(0040,9225)	Real World Value Slope	RealWorldValueSlope	FD	1
(0040,A010)	Relationship Type	RelationshipType	CS	1
(0040,A027)	Verifying Organization	VerifyingOrganization	LO	1
(0040,A030)	Verification Date Time	VerificationDateTime	DT	1
(0040,A032)	Observation Date Time	ObservationDateTime	DT	1
(0040,A040)	Value Type	ValueType	CS	1
(0040,A043)	Concept Name Code Sequence	ConceptNameCodeSequence	SQ	1
(0040,A050)	Continuity Of Content	ContinuityOfContent	CS	1
(0040,A073)	Verifying Observer Sequence	VerifyingObserverSequence	SQ	1
(0040,A075)	Verifying Observer Name	VerifyingObserverName	PN	1
(0040,A078)	Author Observer Sequence	AuthorObserverSequence	SQ	1
(0040,A07A)	Participant Sequence	ParticipantSequence	SQ	1
(0040,A07C)	Custodial Organization Sequence	CustodialOrganizationSequence	SQ	1
(0040,A080)	Participation Type	ParticipationType	CS	1
(0040,A082)	Participation DateTime	ParticipationDateTime	DT	1
(0040,A084)	Observer Type	ObserverType	CS	1
(0040,A088)	Verifying Observer Identification Code Sequence	VerifyingObserverIdentificationCodeSequence	SQ	1
(0040,A090)	Equivalent CDA Document Sequence	EquivalentCDADocumentSequence	SQ	1	RET
(0040,A0B0)	Referenced Waveform Channels	ReferencedWaveformChannels	US	2-2n
(0040,A120)	DateTime	DateTime	DT	1
(0040,A121)	Date	Date	DA	1
(0040,A122)	Time	Time	TM	1
(0040,A123)	Person Name	PersonName	PN	1
(0040,A124)	UID	UID	UI	1
(0040,A130)	Temporal Range Type	TemporalRangeType	CS	1
(0040,A132)	Referenced Sample Positions	ReferencedSamplePositions	UL	1-n
(0040,A136)	Referenced Frame Numbers	ReferencedFrameNumbers	US	1-n
(0040,A138)	Referenced Time Offsets	ReferencedTimeOffsets	DS	1-n
(0040,A13A)	Referenced DateTime	ReferencedDateTime	DT	1-n
(0040,A160)	Text Value	TextValue	UT	1
(0040,A168)	Concept Code Sequence	ConceptCodeSequence	SQ	1
(0040,A170)	Purpose of Reference Code Sequence	PurposeOfReferenceCodeSequence	SQ	1
(0040,A180)	Annotation Group Number	AnnotationGroupNumber	US	1
(0040,A195)	Modifier Code Sequence	ModifierCodeSequence	SQ	1
(0040,A300)	Measured Value Sequence	MeasuredValueSequence	SQ	1
(0040,A301)	Numeric Value Qualifier Code Sequence	NumericValueQualifierCodeSequence	SQ	1
(0040,A30A)	Numeric Value	NumericValue	DS	1-n
(0040,A353)	Address - Trial	AddressTrial	ST	1	RET
(0040,A354)	Telephone Number - Trial	TelephoneNumberTrial	LO	1	RET
(0040,A360)	Predecessor Documents Sequence	PredecessorDocumentsSequence	SQ	1
(0040,A370)	Referenced Request Sequence	ReferencedRequestSequence	SQ	1
(0040,A372)	Performed Procedure Code Sequence	PerformedProcedureCodeSequence	SQ	1
(0040,A375)	Current Requested Procedure Evidence Sequence	CurrentRequestedProcedureEvidenceSequence	SQ	1
(0040,A385)	Pertinent Other Evidence Sequence	PertinentOtherEvidenceSequence	SQ	1
(0040,A390)	HL7 Structured Document Reference Sequence	HL7StructuredDocumentReferenceSequence	SQ	1
(0040,A491)	Completion Flag	CompletionFlag	CS	1
(0040,A492)	Completion Flag Description	CompletionFlagDescription	LO	1
(0040,A493)	Verification Flag	VerificationFlag	CS	1
(0040,A494)	Archive Requested	ArchiveRequested	CS	1
(0040,A496)	Preliminary Flag	PreliminaryFlag	CS	1
(0040,A504)	Content Template Sequence	ContentTemplateSequence	SQ	1
(0040,A525)	Identical Documents Sequence	IdenticalDocumentsSequence	SQ	1
(0040,A730)	Content Sequence	ContentSequence	SQ	1
(0040,B020)	Waveform Annotation Sequence	WaveformAnnotationSequence	SQ	1
(0040,DB00)	Template Identifier	TemplateIdentifier	CS	1
(0040,DB06)	Template Version	TemplateVersion	DT	1	RET
(0040,DB07)	Template Local Version	TemplateLocalVersion	DT	1	RET
(0040,DB0B)	Template Extension Flag	TemplateExtensionFlag	CS	1	RET
(0040,DB0C)	Template Extension Organization UID	TemplateExtensionOrganizationUID	UI	1	RET
(0040,DB0D)	Template Extension Creator UID	TemplateExtensionCreatorUID	UI	1	RET
(0040,DB73)	Referenced Content Item Identifier	ReferencedContentItemIdentifier	UL	1-n
(0040,E001)	HL7 Instance Identifier	HL7InstanceIdentifier	ST	1
(0040,E004)	HL7 Document Effective Time	HL7DocumentEffectiveTime	DT	1
(0040,E006)	HL7 Document Type Code Sequence	HL7DocumentTypeCodeSequence	SQ	1
(0040,E010)	Retrieve URI	RetrieveURI	UT	1
(0040,E011)	Retrieve Location UID	RetrieveLocationUID	UI	1

Tag	Name	Keyword	VR	VM
(0042,0010)	Document Title	DocumentTitle	ST	1
(0042,0011)	Encapsulated Document	EncapsulatedDocument	OB	1
(0042,0012)	MIME Type of Encapsulated Document	MIMETypeOfEncapsulatedDocument	LO	1
(0042,0013)	Source Instance Sequence	SourceInstanceSequence	SQ	1
(0042,0014)	List of MIME Types	ListOfMIMETypes	LO	1-n

Tag	Name	Keyword	VR	VM
(0044,0001)	Product Package Identifier	ProductPackageIdentifier	ST	1
(0044,0002)	Substance Administration Approval	SubstanceAdministrationApproval	CS	1
(0044,0003)	Approval Status Further Description	ApprovalStatusFurtherDescription	LT	1
(0044,0004)	Approval Status DateTime	ApprovalStatusDateTime	DT	1
(0044,0007)	Product Type Code Sequence	ProductTypeCodeSequence	SQ	1
(0044,0008)	Product Name	ProductName	LO	1-n
(0044,0009)	Product Description	ProductDescription	LT	1
(0044,000A)	Product Lot Identifier	ProductLotIdentifier	LO	1
(0044,000B)	Product Expiration DateTime	ProductExpirationDateTime	DT	1
(0044,0010)	Substance Administration DateTime	SubstanceAdministrationDateTime	DT	1
(0044,0011)	Substance Administration Notes	SubstanceAdministrationNotes	LO	1
(0044,0012)	Substance Administration Device ID	SubstanceAdministrationDeviceID	LO	1
(0044,0013)	Product Parameter Sequence	ProductParameterSequence	SQ	1
(0044,0019)	Substance Administration Parameter Sequence	SubstanceAdministrationParameterSequence	SQ	1

Tag	Name	Keyword	VR	VM
(0046,0012)	Lens Description	LensDescription	LO	1
(0046,0014)	Right Lens Sequence	RightLensSequence	SQ	1
(0046,0015)	Left Lens Sequence	LeftLensSequence	SQ	1
(0046,0016)	Unspecified Laterality Lens Sequence	UnspecifiedLateralityLensSequence	SQ	1
(0046,0018)	Cylinder Sequence	CylinderSequence	SQ	1
(0046,0028)	Prism Sequence	PrismSequence	SQ	1
(0046,0030)	Horizontal Prism Power	HorizontalPrismPower	FD	1
(0046,0032)	Horizontal Prism Base	HorizontalPrismBase	CS	1
(0046,0034)	Vertical Prism Power	VerticalPrismPower	FD	1
(0046,0036)	Vertical Prism Base	VerticalPrismBase	CS	1
(0046,0038)	Lens Segment Type	LensSegmentType	CS	1
(0046,0040)	Optical Transmittance	OpticalTransmittance	FD	1
(0046,0042)	Channel Width	ChannelWidth	FD	1
(0046,0044)	Pupil Size	PupilSize	FD	1
(0046,0046)	Corneal Size	CornealSize	FD	1
(0046,0050)	Autorefraction Right Eye Sequence	AutorefractionRightEyeSequence	SQ	1
(0046,0052)	Autorefraction Left Eye Sequence	AutorefractionLeftEyeSequence	SQ	1
(0046,0060)	Distance Pupillary Distance	DistancePupillaryDistance	FD	1
(0046,0062)	Near Pupillary Distance	NearPupillaryDistance	FD	1
(0046,0063)	Intermediate Pupillary Distance	IntermediatePupillaryDistance	FD	1
(0046,0064)	Other Pupillary Distance	OtherPupillaryDistance	FD	1
(0046,0070)	Keratometry Right Eye Sequence	KeratometryRightEyeSequence	SQ	1
(0046,0071)	Keratometry Left Eye Sequence	KeratometryLeftEyeSequence	SQ	1
(0046,0074)	Steep Keratometric Axis Sequence	SteepKeratometricAxisSequence	SQ	1
(0046,0075)	Radius of Curvature	RadiusOfCurvature	FD	1
(0046,0076)	Keratometric Power	KeratometricPower	FD	1
(0046,0077)	Keratometric Axis	KeratometricAxis	FD	1
(0046,0080)	Flat Keratometric Axis Sequence	FlatKeratometricAxisSequence	SQ	1
(0046,0092)	Background Color	BackgroundColor	CS	1
(0046,0094)	Optotype	Optotype	CS	1
(0046,0095)	Optotype Presentation	OptotypePresentation	CS	1
(0046,0097)	Subjective Refraction Right Eye Sequence	SubjectiveRefractionRightEyeSequence	SQ	1
(0046,0098)	Subjective Refraction Left Eye Sequence	SubjectiveRefractionLeftEyeSequence	SQ	1
(0046,0100)	Add Near Sequence	AddNearSequence	SQ	1
(0046,0101)	Add Intermediate Sequence	AddIntermediateSequence	SQ	1
(0046,0102)	Add Other Sequence	AddOtherSequence	SQ	1
(0046,0104)	Add Power	AddPower	FD	1
(0046,0106)	Viewing Distance	ViewingDistance	FD	1
(0046,0121)	Visual Acuity Type Code Sequence	VisualAcuityTypeCodeSequence	SQ	1
(0046,0122)	Visual Acuity Right Eye Sequence	VisualAcuityRightEyeSequence	SQ	1
(0046,0123)	Visual Acuity Left Eye Sequence	VisualAcuityLeftEyeSequence	SQ	1
(0046,0124)	Visual Acuity Both Eyes Open Sequence	VisualAcuityBothEyesOpenSequence	SQ	1
(0046,0125)	Viewing Distance Type	ViewingDistanceType	CS	1
(0046,0135)	Visual Acuity Modifiers	VisualAcuityModifiers	SS	2
(0046,0137)	Decimal Visual Acuity	DecimalVisualAcuity	FD	1
(0046,0139)	Optotype Detailed Definition	OptotypeDetailedDefinition	LO	1
(0046,0145)	Referenced Refractive Measurements Sequence	ReferencedRefractiveMeasurementsSequence	SQ	1
(0046,0146)	Sphere Power	SpherePower	FD	1
(0046,0147)	Cylinder Power	CylinderPower	FD	1

Tag	Name	Keyword	VR	VM
(0050,0004)	Calibration Image	CalibrationImage	CS	1
(0050,0010)	Device Sequence	DeviceSequence	SQ	1
(0050,0012)	Container Component Type Code Sequence	ContainerComponentTypeCodeSequence	SQ	1
(0050,0013)	Container Component Thickness	ContainerComponentThickness	FD	1
(0050,0014)	Device Length	DeviceLength	DS	1
(0050,0015)	Container Component Width	ContainerComponentWidth	FD	1
(0050,0016)	Device Diameter	DeviceDiameter	DS	1
(0050,0017)	Device Diameter Units	DeviceDiameterUnits	CS	1
(0050,0018)	Device Volume	DeviceVolume	DS	1
(0050,0019)	Inter-Marker Distance	InterMarkerDistance	DS	1
(0050,001A)	Container Component Material	ContainerComponentMaterial	CS	1
(0050,001B)	Container Component ID	ContainerComponentID	LO	1
(0050,001C)	Container Component Length	ContainerComponentLength	FD	1
(0050,001D)	Container Component Diameter	ContainerComponentDiameter	FD	1
(0050,001E)	Container Component Description	ContainerComponentDescription	LO	1
(0050,0020)	Device Description	DeviceDescription	LO	1

Tag	Name	Keyword	VR	VM

(0054,0010)	Energy Window Vector	EnergyWindowVector	US	1-n
(0054,0011)	Number of Energy Windows	NumberOfEnergyWindows	US	1
(0054,0012)	Energy Window Information Sequence	EnergyWindowInformationSequence	SQ	1
(0054,0013)	Energy Window Range Sequence	EnergyWindowRangeSequence	SQ	1
(0054,0014)	Energy Window Lower Limit	EnergyWindowLowerLimit	DS	1
(0054,0015)	Energy Window Upper Limit	EnergyWindowUpperLimit	DS	1
(0054,0016)	Radiopharmaceutical Information Sequence	RadiopharmaceuticalInformationSequence	SQ	1
(0054,0017)	Residual Syringe Counts	ResidualSyringeCounts	IS	1
(0054,0018)	Energy Window Name	EnergyWindowName	SH	1
(0054,0020)	Detector Vector	DetectorVector	US	1-n
(0054,0021)	Number of Detectors	NumberOfDetectors	US	1
(0054,0022)	Detector Information Sequence	DetectorInformationSequence	SQ	1
(0054,0030)	Phase Vector	PhaseVector	US	1-n
(0054,0031)	Number of Phases	NumberOfPhases	US	1
(0054,0032)	Phase Information Sequence	PhaseInformationSequence	SQ	1
(0054,0033)	Number of Frames in Phase	NumberOfFramesInPhase	US	1
(0054,0036)	Phase Delay	PhaseDelay	IS	1
(0054,0038)	Pause Between Frames	PauseBetweenFrames	IS	1
(0054,0039)	Phase Description	PhaseDescription	CS	1
(0054,0050)	Rotation Vector	RotationVector	US	1-n
(0054,0051)	Number of Rotations	NumberOfRotations	US	1
(0054,0052)	Rotation Information Sequence	RotationInformationSequence	SQ	1
(0054,0053)	Number of Frames in Rotation	NumberOfFramesInRotation	US	1
(0054,0060)	R-R Interval Vector	RRIntervalVector	US	1-n
(0054,0061)	Number of R-R Intervals	NumberOfRRIntervals	US	1
(0054,0062)	Gated Information Sequence	GatedInformationSequence	SQ	1
(0054,0063)	Data Information Sequence	DataInformationSequence	SQ	1
(0054,0070)	Time Slot Vector	TimeSlotVector	US	1-n
(0054,0071)	Number of Time Slots	NumberOfTimeSlots	US	1
(0054,0072)	Time Slot Information Sequence	TimeSlotInformationSequence	SQ	1
(0054,0073)	Time Slot Time	TimeSlotTime	DS	1
(0054,0080)	Slice Vector	SliceVector	US	1-n
(0054,0081)	Number of Slices	NumberOfSlices	US	1
(0054,0090)	Angular View Vector	AngularViewVector	US	1-n
(0054,0100)	Time Slice Vector	TimeSliceVector	US	1-n
(0054,0101)	Number of Time Slices	NumberOfTimeSlices	US	1
(0054,0200)	Start Angle	StartAngle	DS	1
(0054,0202)	Type of Detector Motion	TypeOfDetectorMotion	CS	1
(0054,0210)	Trigger Vector	TriggerVector	IS	1-n
(0054,0211)	Number of Triggers in Phase	NumberOfTriggersInPhase	US	1
(0054,0220)	View Code Sequence	ViewCodeSequence	SQ	1
(0054,0222)	View Modifier Code Sequence	ViewModifierCodeSequence	SQ	1
(0054,0300)	Radionuclide Code Sequence	RadionuclideCodeSequence	SQ	1
(0054,0302)	Administration Route Code Sequence	AdministrationRouteCodeSequence	SQ	1
(0054,0304)	Radiopharmaceutical Code Sequence	RadiopharmaceuticalCodeSequence	SQ	1
(0054,0306)	Calibration Data Sequence	CalibrationDataSequence	SQ	1
(0054,0308)	Energy Window Number	EnergyWindowNumber	US	1
(0054,0400)	Image ID	ImageID	SH	1
(0054,0410)	Patient Orientation Code Sequence	PatientOrientationCodeSequence	SQ	1
(0054,0412)	Patient Orientation Modifier Code Sequence	PatientOrientationModifierCodeSequence	SQ	1
(0054,0414)	Patient Gantry Relationship Code Sequence	PatientGantryRelationshipCodeSequence	SQ	1
(0054,0500)	Slice Progression Direction	SliceProgressionDirection	CS	1
(0054,1000)	Series Type	SeriesType	CS	2
(0054,1001)	Units	Units	CS	1
(0054,1002)	Counts Source	CountsSource	CS	1
(0054,1004)	Reprojection Method	ReprojectionMethod	CS	1
(0054,1100)	Randoms Correction Method	RandomsCorrectionMethod	CS	1
(0054,1101)	Attenuation Correction Method	AttenuationCorrectionMethod	LO	1
(0054,1102)	Decay Correction	DecayCorrection	CS	1
(0054,1103)	Reconstruction Method	ReconstructionMethod	LO	1
(0054,1104)	Detector Lines of Response Used	DetectorLinesOfResponseUsed	LO	1
(0054,1105)	Scatter Correction Method	ScatterCorrectionMethod	LO	1
(0054,1200)	Axial Acceptance	AxialAcceptance	DS	1
(0054,1201)	Axial Mash	AxialMash	IS	2
(0054,1202)	Transverse Mash	TransverseMash	IS	1
(0054,1203)	Detector Element Size	DetectorElementSize	DS	2
(0054,1210)	Coincidence Window Width	CoincidenceWindowWidth	DS	1
(0054,1220)	Secondary Counts Type	SecondaryCountsType	CS	1-n
(0054,1300)	Frame Reference Time	FrameReferenceTime	DS	1
(0054,1310)	Primary (Prompts) Counts Accumulated	PrimaryPromptsCountsAccumulated	IS	1
(0054,1311)	Secondary Counts Accumulated	SecondaryCountsAccumulated	IS	1-n
(0054,1320)	Slice Sensitivity Factor	SliceSensitivityFactor	DS	1
(0054,1321)	Decay Factor	DecayFactor	DS	1
(0054,1322)	Dose Calibration Factor	DoseCalibrationFactor	DS	1
(0054,1323)	Scatter Fraction Factor	ScatterFractionFactor	DS	1
(0054,1324)	Dead Time Factor	DeadTimeFactor	DS	1
(0054,1330)	Image Index	ImageIndex	US	1
(0054,1400)	Counts Included	CountsIncluded	CS	1-n	RET
(0054,1401)	Dead Time Correction Flag	DeadTimeCorrectionFlag	CS	1	RET

Tag	Name	Keyword	VR	VM
(0060,3000)	Histogram Sequence	HistogramSequence	SQ	1
(0060,3002)	Histogram Number of Bins	HistogramNumberOfBins	US	1
(0060,3004)	Histogram First Bin Value	HistogramFirstBinValue	US or SS	1
(0060,3006)	Histogram Last Bin Value	HistogramLastBinValue	US or SS	1
(0060,3008)	Histogram Bin Width	HistogramBinWidth	US	1
(0060,3010)	Histogram Explanation	HistogramExplanation	LO	1
(0060,3020)	Histogram Data	HistogramData	UL	1-n

Tag	Name	Keyword	VR	VM
(0062,0001)	Segmentation Type	SegmentationType	CS	1
(0062,0002)	Segment Sequence	SegmentSequence	SQ	1
(0062,0003)	Segmented Property Category Code Sequence	SegmentedPropertyCategoryCodeSequence	SQ	1
(0062,0004)	Segment Number	SegmentNumber	US	1
(0062,0005)	Segment Label	SegmentLabel	LO	1
(0062,0006)	Segment Description	SegmentDescription	ST	1
(0062,0008)	Segment Algorithm Type	SegmentAlgorithmType	CS	1
(0062,0009)	Segment Algorithm Name	SegmentAlgorithmName	LO	1
(0062,000A)	Segment Identification Sequence	SegmentIdentificationSequence	SQ	1
(0062,000B)	Referenced Segment Number	ReferencedSegmentNumber	US	1-n
(0062,000C)	Recommended Display Grayscale Value	RecommendedDisplayGrayscaleValue	US	1
(0062,000D)	Recommended Display CIELab Value	RecommendedDisplayCIELabValue	US	3
(0062,000E)	Maximum Fractional Value	MaximumFractionalValue	US	1
(0062,000F)	Segmented Property Type Code Sequence	SegmentedPropertyTypeCodeSequence	SQ	1
(0062,0010)	Segmentation Fractional Type	SegmentationFractionalType	CS	1

Tag	Name	Keyword	VR	VM
(0064,0002)	Deformable Registration Sequence	DeformableRegistrationSequence	SQ	1
(0064,0003)	Source Frame of Reference UID	SourceFrameOfReferenceUID	UI	1
(0064,0005)	Deformable Registration Grid Sequence	DeformableRegistrationGridSequence	SQ	1
(0064,0007)	Grid Dimensions	GridDimensions	UL	3
(0064,0008)	Grid Resolution	GridResolution	FD	3
(0064,0009)	Vector Grid Data	VectorGridData	OF	1
(0064,000F)	Pre Deformation Matrix Registration Sequence	PreDeformationMatrixRegistrationSequence	SQ	1
(0064,0010)	Post Deformation Matrix Registration Sequence	PostDeformationMatrixRegistrationSequence	SQ	1

Tag	Name	Keyword	VR	VM
(0066,0001)	Number of Surfaces	NumberOfSurfaces	UL	1
(0066,0002)	Surface Sequence	SurfaceSequence	SQ	1
(0066,0003)	Surface Number	SurfaceNumber	UL	1
(0066,0004)	Surface Comments	SurfaceComments	LT	1
(0066,0009)	Surface Processing	SurfaceProcessing	CS	1
(0066,000A)	Surface Processing Ratio	SurfaceProcessingRatio	FL	1
(0066,000B)	Surface Processing Description	SurfaceProcessingDescription	LO	1
(0066,000C)	Recommended Presentation Opacity	RecommendedPresentationOpacity	FL	1
(0066,000D)	Recommended Presentation Type	RecommendedPresentationType	CS	1
(0066,000E)	Finite Volume	FiniteVolume	CS	1
(0066,0010)	Manifold	Manifold	CS	1
(0066,0011)	Surface Points Sequence	SurfacePointsSequence	SQ	1
(0066,0012)	Surface Points Normals Sequence	SurfacePointsNormalsSequence	SQ	1
(0066,0013)	Surface Mesh Primitives Sequence	SurfaceMeshPrimitivesSequence	SQ	1
(0066,0015)	Number of Surface Points	NumberOfSurfacePoints	UL	1
(0066,0016)	Point Coordinates Data	PointCoordinatesData	OF	1
(0066,0017)	Point Position Accuracy	PointPositionAccuracy	FL	3
(0066,0018)	Mean Point Distance	MeanPointDistance	FL	1
(0066,0019)	Maximum Point Distance	MaximumPointDistance	FL	1
(0066,001A)	Points Bounding Box Coordinates	PointsBoundingBoxCoordinates	FL	6
(0066,001B)	Axis of Rotation	AxisOfRotation	FL	3
(0066,001C)	Center of Rotation	CenterOfRotation	FL	3
(0066,001E)	Number of Vectors	NumberOfVectors	UL	1
(0066,001F)	Vector Dimensionality	VectorDimensionality	US	1
(0066,0020)	Vector Accuracy	VectorAccuracy	FL	1-n
(0066,0021)	Vector Coordinate Data	VectorCoordinateData	OF	1
(0066,0023)	Triangle Point Index List	TrianglePointIndexList	OW	1
(0066,0024)	Edge Point Index List	EdgePointIndexList	OW	1
(0066,0025)	Vertex Point Index List	VertexPointIndexList	OW	1
(0066,0026)	Triangle Strip Sequence	TriangleStripSequence	SQ	1
(0066,0027)	Triangle Fan Sequence	TriangleFanSequence	SQ	1
(0066,0028)	Line Sequence	LineSequence	SQ	1
(0066,0029)	Primitive Point Index List	PrimitivePointIndexList	OW	1
(0066,002A)	Surface Count	SurfaceCount	UL	1
(0066,002B)	Referenced Surface Sequence	ReferencedSurfaceSequence	SQ	1
(0066,002C)	Referenced Surface Number	ReferencedSurfaceNumber	UL	1
(0066,002D)	Segment Surface Generation Algorithm Identification Sequence	SegmentSurfaceGenerationAlgorithmIdentificationSequence	SQ	1
(0066,002E)	Segment Surface Source Instance Sequence	SegmentSurfaceSourceInstanceSequence	SQ	1
(0066,002F)	Algorithm Family Code Sequence	AlgorithmFamilyCodeSequence	SQ	1
(0066,0030)	Algorithm Name Code Sequence	AlgorithmNameCodeSequence	SQ	1
(0066,0031)	Algorithm Version	AlgorithmVersion	LO	1
(0066,0032)	Algorithm Parameters	AlgorithmParameters	LT	1
(0066,0034)	Facet Sequence	FacetSequence	SQ	1
(0066,0035)	Surface Processing Algorithm Identification Sequence	SurfaceProcessingAlgorithmIdentificationSequence	SQ	1
(0066,0036)	Algorithm Name	AlgorithmName	LO	1
Tag	Name	Keyword	VR	VM
(0070,0001)	Graphic Annotation Sequence	GraphicAnnotationSequence	SQ	1
(0070,0002)	Graphic Layer	GraphicLayer	CS	1
(0070,0003)	Bounding Box Annotation Units	BoundingBoxAnnotationUnits	CS	1
(0070,0004)	Anchor Point Annotation Units	AnchorPointAnnotationUnits	CS	1
(0070,0005)	Graphic Annotation Units	GraphicAnnotationUnits	CS	1
(0070,0006)	Unformatted Text Value	UnformattedTextValue	ST	1
(0070,0008)	Text Object Sequence	TextObjectSequence	SQ	1
(0070,0009)	Graphic Object Sequence	GraphicObjectSequence	SQ	1
(0070,0010)	Bounding Box Top Left Hand Corner	BoundingBoxTopLeftHandCorner	FL	2
(0070,0011)	Bounding Box Bottom Right Hand Corner	BoundingBoxBottomRightHandCorner	FL	2
(0070,0012)	Bounding Box Text Horizontal Justification	BoundingBoxTextHorizontalJustification	CS	1
(0070,0014)	Anchor Point	AnchorPoint	FL	2
(0070,0015)	Anchor Point Visibility	AnchorPointVisibility	CS	1
(0070,0020)	Graphic Dimensions	GraphicDimensions	US	1
(0070,0021)	Number of Graphic Points	NumberOfGraphicPoints	US	1
(0070,0022)	Graphic Data	GraphicData	FL	2-n
(0070,0023)	Graphic Type	GraphicType	CS	1
(0070,0024)	Graphic Filled	GraphicFilled	CS	1
(0070,0040)	Image Rotation (Retired)	ImageRotationRetired	IS	1	RET
(0070,0041)	Image Horizontal Flip	ImageHorizontalFlip	CS	1
(0070,0042)	Image Rotation	ImageRotation	US	1
(0070,0050)	Displayed Area Top Left Hand Corner (Trial)	DisplayedAreaTopLeftHandCornerTrial	US	2	RET
(0070,0051)	Displayed Area Bottom Right Hand Corner (Trial)	DisplayedAreaBottomRightHandCornerTrial	US	2	RET
(0070,0052)	Displayed Area Top Left Hand Corner	DisplayedAreaTopLeftHandCorner	SL	2
(0070,0053)	Displayed Area Bottom Right Hand Corner	DisplayedAreaBottomRightHandCorner	SL	2
(0070,005A)	Displayed Area Selection Sequence	DisplayedAreaSelectionSequence	SQ	1
(0070,0060)	Graphic Layer Sequence	GraphicLayerSequence	SQ	1
(0070,0062)	Graphic Layer Order	GraphicLayerOrder	IS	1
(0070,0066)	Graphic Layer Recommended Display Grayscale Value	GraphicLayerRecommendedDisplayGrayscaleValue	US	1
(0070,0067)	Graphic Layer Recommended Display RGB Value	GraphicLayerRecommendedDisplayRGBValue	US	3	RET
(0070,0068)	Graphic Layer Description	GraphicLayerDescription	LO	1
(0070,0080)	Content Label	ContentLabel	CS	1
(0070,0081)	Content Description	ContentDescription	LO	1
(0070,0082)	Presentation Creation Date	PresentationCreationDate	DA	1
(0070,0083)	Presentation Creation Time	PresentationCreationTime	TM	1
(0070,0084)	Content Creator's Name	ContentCreatorName	PN	1
(0070,0086)	Content Creator's Identification Code Sequence	ContentCreatorIdentificationCodeSequence	SQ	1
(0070,0087)	Alternate Content Description Sequence	AlternateContentDescriptionSequence	SQ	1
(0070,0100)	Presentation Size Mode	PresentationSizeMode	CS	1
(0070,0101)	Presentation Pixel Spacing	PresentationPixelSpacing	DS	2
(0070,0102)	Presentation Pixel Aspect Ratio	PresentationPixelAspectRatio	IS	2
(0070,0103)	Presentation Pixel Magnification Ratio	PresentationPixelMagnificationRatio	FL	1
(0070,0306)	Shape Type	ShapeType	CS	1
(0070,0308)	Registration Sequence	RegistrationSequence	SQ	1
(0070,0309)	Matrix Registration Sequence	MatrixRegistrationSequence	SQ	1
(0070,030A)	Matrix Sequence	MatrixSequence	SQ	1
(0070,030C)	Frame of Reference Transformation Matrix Type	FrameOfReferenceTransformationMatrixType	CS	1
(0070,030D)	Registration Type Code Sequence	RegistrationTypeCodeSequence	SQ	1
(0070,030F)	Fiducial Description	FiducialDescription	ST	1
(0070,0310)	Fiducial Identifier	FiducialIdentifier	SH	1
(0070,0311)	Fiducial Identifier Code Sequence	FiducialIdentifierCodeSequence	SQ	1
(0070,0312)	Contour Uncertainty Radius	ContourUncertaintyRadius	FD	1
(0070,0314)	Used Fiducials Sequence	UsedFiducialsSequence	SQ	1
(0070,0318)	Graphic Coordinates Data Sequence	GraphicCoordinatesDataSequence	SQ	1
(0070,031A)	Fiducial UID	FiducialUID	UI	1
(0070,031C)	Fiducial Set Sequence	FiducialSetSequence	SQ	1
(0070,031E)	Fiducial Sequence	FiducialSequence	SQ	1
(0070,0401)	Graphic Layer Recommended Display CIELab Value	GraphicLayerRecommendedDisplayCIELabValue	US	3
(0070,0402)	Blending Sequence	BlendingSequence	SQ	1
(0070,0403)	Relative Opacity	RelativeOpacity	FL	1
(0070,0404)	Referenced Spatial Registration Sequence	ReferencedSpatialRegistrationSequence	SQ	1
(0070,0405)	Blending Position	BlendingPosition	CS	1

Tag	Name	Keyword	VR	VM
(0072,0002)	Hanging Protocol Name	HangingProtocolName	SH	1
(0072,0004)	Hanging Protocol Description	HangingProtocolDescription	LO	1
(0072,0006)	Hanging Protocol Level	HangingProtocolLevel	CS	1
(0072,0008)	Hanging Protocol Creator	HangingProtocolCreator	LO	1
(0072,000A)	Hanging Protocol Creation DateTime	HangingProtocolCreationDateTime	DT	1
(0072,000C)	Hanging Protocol Definition Sequence	HangingProtocolDefinitionSequence	SQ	1
(0072,000E)	Hanging Protocol User Identification Code Sequence	HangingProtocolUserIdentificationCodeSequence	SQ	1
(0072,0010)	Hanging Protocol User Group Name	HangingProtocolUserGroupName	LO	1
(0072,0012)	Source Hanging Protocol Sequence	SourceHangingProtocolSequence	SQ	1
(0072,0014)	Number of Priors Referenced	NumberOfPriorsReferenced	US	1
(0072,0020)	Image Sets Sequence	ImageSetsSequence	SQ	1
(0072,0022)	Image Set Selector Sequence	ImageSetSelectorSequence	SQ	1
(0072,0024)	Image Set Selector Usage Flag	ImageSetSelectorUsageFlag	CS	1
(0072,0026)	Selector Attribute	SelectorAttribute	AT	1
(0072,0028)	Selector Value Number	SelectorValueNumber	US	1
(0072,0030)	Time Based Image Sets Sequence	TimeBasedImageSetsSequence	SQ	1
(0072,0032)	Image Set Number	ImageSetNumber	US	1
(0072,0034)	Image Set Selector Category	ImageSetSelectorCategory	CS	1
(0072,0038)	Relative Time	RelativeTime	US	2
(0072,003A)	Relative Time Units	RelativeTimeUnits	CS	1
(0072,003C)	Abstract Prior Value	AbstractPriorValue	SS	2
(0072,003E)	Abstract Prior Code Sequence	AbstractPriorCodeSequence	SQ	1
(0072,0040)	Image Set Label	ImageSetLabel	LO	1
(0072,0050)	Selector Attribute VR	SelectorAttributeVR	CS	1
(0072,0052)	Selector Sequence Pointer	SelectorSequencePointer	AT	1
(0072,0054)	Selector Sequence Pointer Private Creator	SelectorSequencePointerPrivateCreator	LO	1
(0072,0056)	Selector Attribute Private Creator	SelectorAttributePrivateCreator	LO	1
(0072,0060)	Selector AT Value	SelectorATValue	AT	1-n
(0072,0062)	Selector CS Value	SelectorCSValue	CS	1-n
(0072,0064)	Selector IS Value	SelectorISValue	IS	1-n
(0072,0066)	Selector LO Value	SelectorLOValue	LO	1-n
(0072,0068)	Selector LT Value	SelectorLTValue	LT	1
(0072,006A)	Selector PN Value	SelectorPNValue	PN	1-n
(0072,006C)	Selector SH Value	SelectorSHValue	SH	1-n
(0072,006E)	Selector ST Value	SelectorSTValue	ST	1
(0072,0070)	Selector UT Value	SelectorUTValue	UT	1
(0072,0072)	Selector DS Value	SelectorDSValue	DS	1-n
(0072,0074)	Selector FD Value	SelectorFDValue	FD	1-n
(0072,0076)	Selector FL Value	SelectorFLValue	FL	1-n
(0072,0078)	Selector UL Value	SelectorULValue	UL	1-n
(0072,007A)	Selector US Value	SelectorUSValue	US	1-n
(0072,007C)	Selector SL Value	SelectorSLValue	SL	1-n
(0072,007E)	Selector SS Value	SelectorSSValue	SS	1-n
(0072,0080)	Selector Code Sequence Value	SelectorCodeSequenceValue	SQ	1
(0072,0100)	Number of Screens	NumberOfScreens	US	1
(0072,0102)	Nominal Screen Definition Sequence	NominalScreenDefinitionSequence	SQ	1
(0072,0104)	Number of Vertical Pixels	NumberOfVerticalPixels	US	1
(0072,0106)	Number of Horizontal Pixels	NumberOfHorizontalPixels	US	1
(0072,0108)	Display Environment Spatial Position	DisplayEnvironmentSpatialPosition	FD	4
(0072,010A)	Screen Minimum Grayscale Bit Depth	ScreenMinimumGrayscaleBitDepth	US	1
(0072,010C)	Screen Minimum Color Bit Depth	ScreenMinimumColorBitDepth	US	1
(0072,010E)	Application Maximum Repaint Time	ApplicationMaximumRepaintTime	US	1
(0072,0200)	Display Sets Sequence	DisplaySetsSequence	SQ	1
(0072,0202)	Display Set Number	DisplaySetNumber	US	1
(0072,0203)	Display Set Label	DisplaySetLabel	LO	1
(0072,0204)	Display Set Presentation Group	DisplaySetPresentationGroup	US	1
(0072,0206)	Display Set Presentation Group Description	DisplaySetPresentationGroupDescription	LO	1
(0072,0208)	Partial Data Display Handling	PartialDataDisplayHandling	CS	1
(0072,0210)	Synchronized Scrolling Sequence	SynchronizedScrollingSequence	SQ	1
(0072,0212)	Display Set Scrolling Group	DisplaySetScrollingGroup	US	2-n
(0072,0214)	Navigation Indicator Sequence	NavigationIndicatorSequence	SQ	1
(0072,0216)	Navigation Display Set	NavigationDisplaySet	US	1
(0072,0218)	Reference Display Sets	ReferenceDisplaySets	US	1-n
(0072,0300)	Image Boxes Sequence	ImageBoxesSequence	SQ	1
(0072,0302)	Image Box Number	ImageBoxNumber	US	1
(0072,0304)	Image Box Layout Type	ImageBoxLayoutType	CS	1
(0072,0306)	Image Box Tile Horizontal Dimension	ImageBoxTileHorizontalDimension	US	1
(0072,0308)	Image Box Tile Vertical Dimension	ImageBoxTileVerticalDimension	US	1
(0072,0310)	Image Box Scroll Direction	ImageBoxScrollDirection	CS	1
(0072,0312)	Image Box Small Scroll Type	ImageBoxSmallScrollType	CS	1
(0072,0314)	Image Box Small Scroll Amount	ImageBoxSmallScrollAmount	US	1
(0072,0316)	Image Box Large Scroll Type	ImageBoxLargeScrollType	CS	1
(0072,0318)	Image Box Large Scroll Amount	ImageBoxLargeScrollAmount	US	1
(0072,0320)	Image Box Overlap Priority	ImageBoxOverlapPriority	US	1
(0072,0330)	Cine Relative to Real-Time	CineRelativeToRealTime	FD	1
(0072,0400)	Filter Operations Sequence	FilterOperationsSequence	SQ	1
(0072,0402)	Filter-by Category	FilterByCategory	CS	1
(0072,0404)	Filter-by Attribute Presence	FilterByAttributePresence	CS	1
(0072,0406)	Filter-by Operator	FilterByOperator	CS	1
(0072,0420)	Structured Display Background CIELab Value	StructuredDisplayBackgroundCIELabValue	US	3
(0072,0421)	Empty Image Box CIELab Value	EmptyImageBoxCIELabValue	US	3
(0072,0422)	Structured Display Image Box Sequence	StructuredDisplayImageBoxSequence	SQ	1
(0072,0424)	Structured Display Text Box Sequence	StructuredDisplayTextBoxSequence	SQ	1
(0072,0427)	Referenced First Frame Sequence	ReferencedFirstFrameSequence	SQ	1
(0072,0430)	Image Box Synchronization Sequence	ImageBoxSynchronizationSequence	SQ	1
(0072,0432)	Synchronized Image Box List	SynchronizedImageBoxList	US	2-n
(0072,0434)	Type of Synchronization	TypeOfSynchronization	CS	1
(0072,0500)	Blending Operation Type	BlendingOperationType	CS	1
(0072,0510)	Reformatting Operation Type	ReformattingOperationType	CS	1
(0072,0512)	Reformatting Thickness	ReformattingThickness	FD	1
(0072,0514)	Reformatting Interval	ReformattingInterval	FD	1
(0072,0516)	Reformatting Operation Initial View Direction	ReformattingOperationInitialViewDirection	CS	1
(0072,0520)	3D Rendering Type	ThreeDRenderingType	CS	1-n
(0072,0600)	Sorting Operations Sequence	SortingOperationsSequence	SQ	1
(0072,0602)	Sort-by Category	SortByCategory	CS	1
(0072,0604)	Sorting Direction	SortingDirection	CS	1
(0072,0700)	Display Set Patient Orientation	DisplaySetPatientOrientation	CS	2
(0072,0702)	VOI Type	VOIType	CS	1
(0072,0704)	Pseudo-Color Type	PseudoColorType	CS	1
(0072,0706)	Show Grayscale Inverted	ShowGrayscaleInverted	CS	1
(0072,0710)	Show Image True Size Flag	ShowImageTrueSizeFlag	CS	1
(0072,0712)	Show Graphic Annotation Flag	ShowGraphicAnnotationFlag	CS	1
(0072,0714)	Show Patient Demographics Flag	ShowPatientDemographicsFlag	CS	1
(0072,0716)	Show Acquisition Techniques Flag	ShowAcquisitionTechniquesFlag	CS	1
(0072,0717)	Display Set Horizontal Justification	DisplaySetHorizontalJustification	CS	1
(0072,0718)	Display Set Vertical Justification	DisplaySetVerticalJustification	CS	1
Tag	Name	Keyword	VR	VM
(0074,1000)	Unified Procedure Step State	UnifiedProcedureStepState	CS	1
(0074,1002)	Unified Procedure Step Progress Information Sequence	UnifiedProcedureStepProgressInformationSequence	SQ	1
(0074,1004)	Unified Procedure Step Progress	UnifiedProcedureStepProgress	DS	1
(0074,1006)	Unified Procedure Step Progress Description	UnifiedProcedureStepProgressDescription	ST	1
(0074,1008)	Unified Procedure Step Communications URI Sequence	UnifiedProcedureStepCommunicationsURISequence	SQ	1
(0074,100a)	Contact URI	ContactURI	ST	1
(0074,100c)	Contact Display Name	ContactDisplayName	LO	1
(0074,100e)	Unified Procedure Step Discontinuation Reason Code Sequence	UnifiedProcedureStepDiscontinuationReasonCodeSequence	SQ	1
(0074,1020)	Beam Task Sequence	BeamTaskSequence	SQ	1
(0074,1022)	Beam Task Type	BeamTaskType	CS	1
(0074,1024)	Beam Order Index	BeamOrderIndex	IS	1
(0074,1030)	Delivery Verification Image Sequence	DeliveryVerificationImageSequence	SQ	1
(0074,1032)	Verification Image Timing	VerificationImageTiming	CS	1
(0074,1034)	Double Exposure Flag	DoubleExposureFlag	CS	1
(0074,1036)	Double Exposure Ordering	DoubleExposureOrdering	CS	1
(0074,1038)	Double Exposure Meterset	DoubleExposureMeterset	DS	1
(0074,103A)	Double Exposure Field Delta	DoubleExposureFieldDelta	DS	4
(0074,1040)	Related Reference RT Image Sequence	RelatedReferenceRTImageSequence	SQ	1
(0074,1042)	General Machine Verification Sequence	GeneralMachineVerificationSequence	SQ	1
(0074,1044)	Conventional Machine Verification Sequence	ConventionalMachineVerificationSequence	SQ	1
(0074,1046)	Ion Machine Verification Sequence	IonMachineVerificationSequence	SQ	1
(0074,1048)	Failed Attributes Sequence	FailedAttributesSequence	SQ	1
(0074,104A)	Overridden Attributes Sequence	OverriddenAttributesSequence	SQ	1
(0074,104C)	Conventional Control Point Verification Sequence	ConventionalControlPointVerificationSequence	SQ	1
(0074,104E)	Ion Control Point Verification Sequence	IonControlPointVerificationSequence	SQ	1
(0074,1050)	Attribute Occurrence Sequence	AttributeOccurrenceSequence	SQ	1
(0074,1052)	Attribute Occurrence Pointer	AttributeOccurrencePointer	AT	1
(0074,1054)	Attribute Item Selector	AttributeItemSelector	UL	1
(0074,1056)	Attribute Occurrence Private Creator	AttributeOccurrencePrivateCreator	LO	1
(0074,1200)	Scheduled Procedure Step Priority	ScheduledProcedureStepPriority	CS	1
(0074,1202)	Worklist Label	WorklistLabel	LO	1
(0074,1204)	Procedure Step Label	ProcedureStepLabel	LO	1
(0074,1210)	Scheduled Processing Parameters Sequence	ScheduledProcessingParametersSequence	SQ	1
(0074,1212)	Performed Processing Parameters Sequence	PerformedProcessingParametersSequence	SQ	1
(0074,1216)	Unified Procedure Step Performed Procedure Sequence	UnifiedProcedureStepPerformedProcedureSequence	SQ	1
(0074,1220)	Related Procedure Step Sequence	RelatedProcedureStepSequence	SQ	1
(0074,1222)	Procedure Step Relationship Type	ProcedureStepRelationshipType	LO	1
(0074,1230)	Deletion Lock	DeletionLock	LO	1
(0074,1234)	Receiving AE	ReceivingAE	AE	1
(0074,1236)	Requesting AE	RequestingAE	AE	1
(0074,1238)	Reason for Cancellation	ReasonForCancellation	LT	1
(0074,1242)	SCP Status	SCPStatus	CS	1
(0074,1244)	Subscription List Status	SubscriptionListStatus	CS	1
(0074,1246)	Unified Procedure Step List Status	UnifiedProcedureStepListStatus	CS	1
Tag	Name	Keyword	VR	VM
(0088,0130)	Storage Media File-set ID	StorageMediaFileSetID	SH	1
(0088,0140)	Storage Media File-set UID	StorageMediaFileSetUID	UI	1
(0088,0200)	Icon Image Sequence	IconImageSequence	SQ	1
(0088,0904)	Topic Title	TopicTitle	LO	1	RET
(0088,0906)	Topic Subject	TopicSubject	ST	1	RET
(0088,0910)	Topic Author	TopicAuthor	LO	1	RET
(0088,0912)	Topic Keywords	TopicKeywords	LO	1-32	RET

Tag	Name	Keyword	VR	VM
(0100,0410)	SOP Instance Status	SOPInstanceStatus	CS	1
(0100,0420)	SOP Authorization DateTime	SOPAuthorizationDateTime	DT	1
(0100,0424)	SOP Authorization Comment	SOPAuthorizationComment	LT	1
(0100,0426)	Authorization Equipment Certification Number	AuthorizationEquipmentCertificationNumber	LO	1

Tag	Name	Keyword	VR	VM
(0400,0005)	MAC ID Number	MACIDNumber	US	1
(0400,0010)	MAC Calculation Transfer Syntax UID	MACCalculationTransferSyntaxUID	UI	1
(0400,0015)	MAC Algorithm	MACAlgorithm	CS	1
(0400,0020)	Data Elements Signed	DataElementsSigned	AT	1-n
(0400,0100)	Digital Signature UID	DigitalSignatureUID	UI	1
(0400,0105)	Digital Signature DateTime	DigitalSignatureDateTime	DT	1
(0400,0110)	Certificate Type	CertificateType	CS	1
(0400,0115)	Certificate of Signer	CertificateOfSigner	OB	1
(0400,0120)	Signature	Signature	OB	1
(0400,0305)	Certified Timestamp Type	CertifiedTimestampType	CS	1
(0400,0310)	Certified Timestamp	CertifiedTimestamp	OB	1
(0400,0401)	Digital Signature Purpose Code Sequence	DigitalSignaturePurposeCodeSequence	SQ	1
(0400,0402)	Referenced Digital Signature Sequence	ReferencedDigitalSignatureSequence	SQ	1
(0400,0403)	Referenced SOP Instance MAC Sequence	ReferencedSOPInstanceMACSequence	SQ	1
(0400,0404)	MAC	MAC	OB	1
(0400,0500)	Encrypted Attributes Sequence	EncryptedAttributesSequence	SQ	1
(0400,0510)	Encrypted Content Transfer Syntax UID	EncryptedContentTransferSyntaxUID	UI	1
(0400,0520)	Encrypted Content	EncryptedContent	OB	1
(0400,0550)	Modified Attributes Sequence	ModifiedAttributesSequence	SQ	1
(0400,0561)	Original Attributes Sequence	OriginalAttributesSequence	SQ	1
(0400,0562)	Attribute Modification DateTime	AttributeModificationDateTime	DT	1
(0400,0563)	Modifying System	ModifyingSystem	LO	1
(0400,0564)	Source of Previous Values	SourceOfPreviousValues	LO	1
(0400,0565)	Reason for the Attribute Modification	ReasonForTheAttributeModification	CS	1

Tag	Name	Keyword	VR	VM
(1000,xxx0)	Escape Triplet	EscapeTriplet	US	3	RET
(1000,xxx1)	Run Length Triplet	RunLengthTriplet	US	3	RET
(1000,xxx2)	Huffman Table Size	HuffmanTableSize	US	1	RET
(1000,xxx3)	Huffman Table Triplet	HuffmanTableTriplet	US	3	RET
(1000,xxx4)	Shift Table Size	ShiftTableSize	US	1	RET
(1000,xxx5)	Shift Table Triplet	ShiftTableTriplet	US	3	RET

Tag	Name	Keyword	VR	VM
(1010,xxxx)	Zonal Map	ZonalMap	US	1-n	RET

Tag	Name	Keyword	VR	VM
(2000,0010)	Number of Copies	NumberOfCopies	IS	1
(2000,001E)	Printer Configuration Sequence	PrinterConfigurationSequence	SQ	1
(2000,0020)	Print Priority	PrintPriority	CS	1
(2000,0030)	Medium Type	MediumType	CS	1
(2000,0040)	Film Destination	FilmDestination	CS	1
(2000,0050)	Film Session Label	FilmSessionLabel	LO	1
(2000,0060)	Memory Allocation	MemoryAllocation	IS	1
(2000,0061)	Maximum Memory Allocation	MaximumMemoryAllocation	IS	1
(2000,0062)	Color Image Printing Flag	ColorImagePrintingFlag	CS	1	RET
(2000,0063)	Collation Flag	CollationFlag	CS	1	RET
(2000,0065)	Annotation Flag	AnnotationFlag	CS	1	RET
(2000,0067)	Image Overlay Flag	ImageOverlayFlag	CS	1	RET
(2000,0069)	Presentation LUT Flag	PresentationLUTFlag	CS	1	RET
(2000,006A)	Image Box Presentation LUT Flag	ImageBoxPresentationLUTFlag	CS	1	RET
(2000,00A0)	Memory Bit Depth	MemoryBitDepth	US	1
(2000,00A1)	Printing Bit Depth	PrintingBitDepth	US	1
(2000,00A2)	Media Installed Sequence	MediaInstalledSequence	SQ	1
(2000,00A4)	Other Media Available Sequence	OtherMediaAvailableSequence	SQ	1
(2000,00A8)	Supported Image Display Formats Sequence	SupportedImageDisplayFormatsSequence	SQ	1
(2000,0500)	Referenced Film Box Sequence	ReferencedFilmBoxSequence	SQ	1
(2000,0510)	Referenced Stored Print Sequence	ReferencedStoredPrintSequence	SQ	1	RET

Tag	Name	Keyword	VR	VM

(2010,0010)	Image Display Format	ImageDisplayFormat	ST	1
(2010,0030)	Annotation Display Format ID	AnnotationDisplayFormatID	CS	1
(2010,0040)	Film Orientation	FilmOrientation	CS	1
(2010,0050)	Film Size ID	FilmSizeID	CS	1
(2010,0052)	Printer Resolution ID	PrinterResolutionID	CS	1
(2010,0054)	Default Printer Resolution ID	DefaultPrinterResolutionID	CS	1
(2010,0060)	Magnification Type	MagnificationType	CS	1
(2010,0080)	Smoothing Type	SmoothingType	CS	1
(2010,00A6)	Default Magnification Type	DefaultMagnificationType	CS	1
(2010,00A7)	Other Magnification Types Available	OtherMagnificationTypesAvailable	CS	1-n
(2010,00A8)	Default Smoothing Type	DefaultSmoothingType	CS	1
(2010,00A9)	Other Smoothing Types Available	OtherSmoothingTypesAvailable	CS	1-n
(2010,0100)	Border Density	BorderDensity	CS	1
(2010,0110)	Empty Image Density	EmptyImageDensity	CS	1
(2010,0120)	Min Density	MinDensity	US	1
(2010,0130)	Max Density	MaxDensity	US	1
(2010,0140)	Trim	Trim	CS	1
(2010,0150)	Configuration Information	ConfigurationInformation	ST	1
(2010,0152)	Configuration Information Description	ConfigurationInformationDescription	LT	1
(2010,0154)	Maximum Collated Films	MaximumCollatedFilms	IS	1
(2010,015E)	Illumination	Illumination	US	1
(2010,0160)	Reflected Ambient Light	ReflectedAmbientLight	US	1
(2010,0376)	Printer Pixel Spacing	PrinterPixelSpacing	DS	2
(2010,0500)	Referenced Film Session Sequence	ReferencedFilmSessionSequence	SQ	1
(2010,0510)	Referenced Image Box Sequence	ReferencedImageBoxSequence	SQ	1
(2010,0520)	Referenced Basic Annotation Box Sequence	ReferencedBasicAnnotationBoxSequence	SQ	1

Tag	Name	Keyword	VR	VM

(2020,0010)	Image Box Position	ImageBoxPosition	US	1
(2020,0020)	Polarity	Polarity	CS	1
(2020,0030)	Requested Image Size	RequestedImageSize	DS	1
(2020,0040)	Requested Decimate/Crop Behavior	RequestedDecimateCropBehavior	CS	1
(2020,0050)	Requested Resolution ID	RequestedResolutionID	CS	1
(2020,00A0)	Requested Image Size Flag	RequestedImageSizeFlag	CS	1
(2020,00A2)	Decimate/Crop Result	DecimateCropResult	CS	1
(2020,0110)	Basic Grayscale Image Sequence	BasicGrayscaleImageSequence	SQ	1
(2020,0111)	Basic Color Image Sequence	BasicColorImageSequence	SQ	1
(2020,0130)	Referenced Image Overlay Box Sequence	ReferencedImageOverlayBoxSequence	SQ	1	RET
(2020,0140)	Referenced VOI LUT Box Sequence	ReferencedVOILUTBoxSequence	SQ	1	RET

Tag	Name	Keyword	VR	VM

(2030,0010)	Annotation Position	AnnotationPosition	US	1
(2030,0020)	Text String	TextString	LO	1

Tag	Name	Keyword	VR	VM
(2040,0010)	Referenced Overlay Plane Sequence	ReferencedOverlayPlaneSequence	SQ	1	RET
(2040,0011)	Referenced Overlay Plane Groups	ReferencedOverlayPlaneGroups	US	1-99	RET
(2040,0020)	Overlay Pixel Data Sequence	OverlayPixelDataSequence	SQ	1	RET
(2040,0060)	Overlay Magnification Type	OverlayMagnificationType	CS	1	RET
(2040,0070)	Overlay Smoothing Type	OverlaySmoothingType	CS	1	RET
(2040,0072)	Overlay or Image Magnification	OverlayOrImageMagnification	CS	1	RET
(2040,0074)	Magnify to Number of Columns	MagnifyToNumberOfColumns	US	1	RET
(2040,0080)	Overlay Foreground Density	OverlayForegroundDensity	CS	1	RET
(2040,0082)	Overlay Background Density	OverlayBackgroundDensity	CS	1	RET
(2040,0090)	Overlay Mode	OverlayMode	CS	1	RET
(2040,0100)	Threshold Density	ThresholdDensity	CS	1	RET
(2040,0500)	Referenced Image Box Sequence (Retired)	ReferencedImageBoxSequenceRetired	SQ	1	RET

Tag	Name	Keyword	VR	VM
(2050,0010)	Presentation LUT Sequence	PresentationLUTSequence	SQ	1
(2050,0020)	Presentation LUT Shape	PresentationLUTShape	CS	1
(2050,0500)	Referenced Presentation LUT Sequence	ReferencedPresentationLUTSequence	SQ	1

Tag	Name	Keyword	VR	VM

(2100,0010)	Print Job ID	PrintJobID	SH	1	RET
(2100,0020)	Execution Status	ExecutionStatus	CS	1
(2100,0030)	Execution Status Info	ExecutionStatusInfo	CS	1
(2100,0040)	Creation Date	CreationDate	DA	1
(2100,0050)	Creation Time	CreationTime	TM	1
(2100,0070)	Originator	Originator	AE	1
(2100,0140)	Destination AE	DestinationAE	AE	1	RET
(2100,0160)	Owner ID	OwnerID	SH	1
(2100,0170)	Number of Films	NumberOfFilms	IS	1
(2100,0500)	Referenced Print Job Sequence (Pull Stored Print)	ReferencedPrintJobSequencePullStoredPrint	SQ	1	RET

Tag	Name	Keyword	VR	VM

(2110,0010)	Printer Status	PrinterStatus	CS	1
(2110,0020)	Printer Status Info	PrinterStatusInfo	CS	1
(2110,0030)	Printer Name	PrinterName	LO	1
(2110,0099)	Print Queue ID	PrintQueueID	SH	1	RET

Tag	Name	Keyword	VR	VM
(2120,0010)	Queue Status	QueueStatus	CS	1	RET
(2120,0050)	Print Job Description Sequence	PrintJobDescriptionSequence	SQ	1	RET
(2120,0070)	Referenced Print Job Sequence	ReferencedPrintJobSequence	SQ	1	RET

Tag	Name	Keyword	VR	VM
(2130,0010)	Print Management Capabilities Sequence	PrintManagementCapabilitiesSequence	SQ	1	RET
(2130,0015)	Printer Characteristics Sequence	PrinterCharacteristicsSequence	SQ	1	RET
(2130,0030)	Film Box Content Sequence	FilmBoxContentSequence	SQ	1	RET
(2130,0040)	Image Box Content Sequence	ImageBoxContentSequence	SQ	1	RET
(2130,0050)	Annotation Content Sequence	AnnotationContentSequence	SQ	1	RET
(2130,0060)	Image Overlay Box Content Sequence	ImageOverlayBoxContentSequence	SQ	1	RET
(2130,0080)	Presentation LUT Content Sequence	PresentationLUTContentSequence	SQ	1	RET
(2130,00A0)	Proposed Study Sequence	ProposedStudySequence	SQ	1	RET
(2130,00C0)	Original Image Sequence	OriginalImageSequence	SQ	1	RET

Tag	Name	Keyword	VR	VM
(2200,0001)	Label Using Information Extracted From Instances	LabelUsingInformationExtractedFromInstances	CS	1
(2200,0002)	Label Text	LabelText	UT	1
(2200,0003)	Label Style Selection	LabelStyleSelection	CS	1
(2200,0004)	Media Disposition	MediaDisposition	LT	1
(2200,0005)	Barcode Value	BarcodeValue	LT	1
(2200,0006)	Barcode Symbology	BarcodeSymbology	CS	1
(2200,0007)	Allow Media Splitting	AllowMediaSplitting	CS	1
(2200,0008)	Include Non-DICOM Objects	IncludeNonDICOMObjects	CS	1
(2200,0009)	Include Display Application	IncludeDisplayApplication	CS	1
(2200,000A)	Preserve Composite Instances After Media Creation	PreserveCompositeInstancesAfterMediaCreation	CS	1
(2200,000B)	Total Number of Pieces of Media Created	TotalNumberOfPiecesOfMediaCreated	US	1
(2200,000C)	Requested Media Application Profile	RequestedMediaApplicationProfile	LO	1
(2200,000D)	Referenced Storage Media Sequence	ReferencedStorageMediaSequence	SQ	1
(2200,000E)	Failure Attributes	FailureAttributes	AT	1-n
(2200,000F)	Allow Lossy Compression	AllowLossyCompression	CS	1
(2200,0020)	Request Priority	RequestPriority	CS	1

Tag	Name	Keyword	VR	VM
(3002,0002)	RT Image Label	RTImageLabel	SH	1
(3002,0003)	RT Image Name	RTImageName	LO	1
(3002,0004)	RT Image Description	RTImageDescription	ST	1
(3002,000A)	Reported Values Origin	ReportedValuesOrigin	CS	1
(3002,000C)	RT Image Plane	RTImagePlane	CS	1
(3002,000D)	X-Ray Image Receptor Translation	XRayImageReceptorTranslation	DS	3
(3002,000E)	X-Ray Image Receptor Angle	XRayImageReceptorAngle	DS	1
(3002,0010)	RT Image Orientation	RTImageOrientation	DS	6
(3002,0011)	Image Plane Pixel Spacing	ImagePlanePixelSpacing	DS	2
(3002,0012)	RT Image Position	RTImagePosition	DS	2
(3002,0020)	Radiation Machine Name	RadiationMachineName	SH	1
(3002,0022)	Radiation Machine SAD	RadiationMachineSAD	DS	1
(3002,0024)	Radiation Machine SSD	RadiationMachineSSD	DS	1
(3002,0026)	RT Image SID	RTImageSID	DS	1
(3002,0028)	Source to Reference Object Distance	SourceToReferenceObjectDistance	DS	1
(3002,0029)	Fraction Number	FractionNumber	IS	1
(3002,0030)	Exposure Sequence	ExposureSequence	SQ	1
(3002,0032)	Meterset Exposure	MetersetExposure	DS	1
(3002,0034)	Diaphragm Position	DiaphragmPosition	DS	4
(3002,0040)	Fluence Map Sequence	FluenceMapSequence	SQ	1
(3002,0041)	Fluence Data Source	FluenceDataSource	CS	1
(3002,0042)	Fluence Data Scale	FluenceDataScale	DS	1
(3002,0050)	Primary Fluence Mode Sequence	PrimaryFluenceModeSequence	SQ	1
(3002,0051)	Fluence Mode	FluenceMode	CS	1
(3002,0052)	Fluence Mode ID	FluenceModeID	SH	1

Tag	Name	Keyword	VR	VM
(3004,0001)	DVH Type	DVHType	CS	1
(3004,0002)	Dose Units	DoseUnits	CS	1
(3004,0004)	Dose Type	DoseType	CS	1
(3004,0006)	Dose Comment	DoseComment	LO	1
(3004,0008)	Normalization Point	NormalizationPoint	DS	3
(3004,000A)	Dose Summation Type	DoseSummationType	CS	1
(3004,000C)	Grid Frame Offset Vector	GridFrameOffsetVector	DS	2-n
(3004,000E)	Dose Grid Scaling	DoseGridScaling	DS	1
(3004,0010)	RT Dose ROI Sequence	RTDoseROISequence	SQ	1
(3004,0012)	Dose Value	DoseValue	DS	1
(3004,0014)	Tissue Heterogeneity Correction	TissueHeterogeneityCorrection	CS	1-3
(3004,0040)	DVH Normalization Point	DVHNormalizationPoint	DS	3
(3004,0042)	DVH Normalization Dose Value	DVHNormalizationDoseValue	DS	1
(3004,0050)	DVH Sequence	DVHSequence	SQ	1
(3004,0052)	DVH Dose Scaling	DVHDoseScaling	DS	1
(3004,0054)	DVH Volume Units	DVHVolumeUnits	CS	1
(3004,0056)	DVH Number of Bins	DVHNumberOfBins	IS	1
(3004,0058)	DVH Data	DVHData	DS	2-2n
(3004,0060)	DVH Referenced ROI Sequence	DVHReferencedROISequence	SQ	1
(3004,0062)	DVH ROI Contribution Type	DVHROIContributionType	CS	1
(3004,0070)	DVH Minimum Dose	DVHMinimumDose	DS	1
(3004,0072)	DVH Maximum Dose	DVHMaximumDose	DS	1
(3004,0074)	DVH Mean Dose	DVHMeanDose	DS	1

Tag	Name	Keyword	VR	VM
(3006,0002)	Structure Set Label	StructureSetLabel	SH	1
(3006,0004)	Structure Set Name	StructureSetName	LO	1
(3006,0006)	Structure Set Description	StructureSetDescription	ST	1
(3006,0008)	Structure Set Date	StructureSetDate	DA	1
(3006,0009)	Structure Set Time	StructureSetTime	TM	1
(3006,0010)	Referenced Frame of Reference Sequence	ReferencedFrameOfReferenceSequence	SQ	1
(3006,0012)	RT Referenced Study Sequence	RTReferencedStudySequence	SQ	1
(3006,0014)	RT Referenced Series Sequence	RTReferencedSeriesSequence	SQ	1
(3006,0016)	Contour Image Sequence	ContourImageSequence	SQ	1
(3006,0020)	Structure Set ROI Sequence	StructureSetROISequence	SQ	1
(3006,0022)	ROI Number	ROINumber	IS	1
(3006,0024)	Referenced Frame of Reference UID	ReferencedFrameOfReferenceUID	UI	1
(3006,0026)	ROI Name	ROIName	LO	1
(3006,0028)	ROI Description	ROIDescription	ST	1
(3006,002A)	ROI Display Color	ROIDisplayColor	IS	3
(3006,002C)	ROI Volume	ROIVolume	DS	1
(3006,0030)	RT Related ROI Sequence	RTRelatedROISequence	SQ	1
(3006,0033)	RT ROI Relationship	RTROIRelationship	CS	1
(3006,0036)	ROI Generation Algorithm	ROIGenerationAlgorithm	CS	1
(3006,0038)	ROI Generation Description	ROIGenerationDescription	LO	1
(3006,0039)	ROI Contour Sequence	ROIContourSequence	SQ	1
(3006,0040)	Contour Sequence	ContourSequence	SQ	1
(3006,0042)	Contour Geometric Type	ContourGeometricType	CS	1
(3006,0044)	Contour Slab Thickness	ContourSlabThickness	DS	1
(3006,0045)	Contour Offset Vector	ContourOffsetVector	DS	3
(3006,0046)	Number of Contour Points	NumberOfContourPoints	IS	1
(3006,0048)	Contour Number	ContourNumber	IS	1
(3006,0049)	Attached Contours	AttachedContours	IS	1-n
(3006,0050)	Contour Data	ContourData	DS	3-3n
(3006,0080)	RT ROI Observations Sequence	RTROIObservationsSequence	SQ	1
(3006,0082)	Observation Number	ObservationNumber	IS	1
(3006,0084)	Referenced ROI Number	ReferencedROINumber	IS	1
(3006,0085)	ROI Observation Label	ROIObservationLabel	SH	1
(3006,0086)	RT ROI Identification Code Sequence	RTROIIdentificationCodeSequence	SQ	1
(3006,0088)	ROI Observation Description	ROIObservationDescription	ST	1
(3006,00A0)	Related RT ROI Observations Sequence	RelatedRTROIObservationsSequence	SQ	1
(3006,00A4)	RT ROI Interpreted Type	RTROIInterpretedType	CS	1
(3006,00A6)	ROI Interpreter	ROIInterpreter	PN	1
(3006,00B0)	ROI Physical Properties Sequence	ROIPhysicalPropertiesSequence	SQ	1
(3006,00B2)	ROI Physical Property	ROIPhysicalProperty	CS	1
(3006,00B4)	ROI Physical Property Value	ROIPhysicalPropertyValue	DS	1
(3006,00B6)	ROI Elemental Composition Sequence	ROIElementalCompositionSequence	SQ	1
(3006,00B7)	ROI Elemental Composition Atomic Number	ROIElementalCompositionAtomicNumber	US	1
(3006,00B8)	ROI Elemental Composition Atomic Mass Fraction	ROIElementalCompositionAtomicMassFraction	FL	1
(3006,00C0)	Frame of Reference Relationship Sequence	FrameOfReferenceRelationshipSequence	SQ	1
(3006,00C2)	Related Frame of Reference UID	RelatedFrameOfReferenceUID	UI	1
(3006,00C4)	Frame of Reference Transformation Type	FrameOfReferenceTransformationType	CS	1
(3006,00C6)	Frame of Reference Transformation Matrix	FrameOfReferenceTransformationMatrix	DS	16
(3006,00C8)	Frame of Reference Transformation Comment	FrameOfReferenceTransformationComment	LO	1

Tag	Name	Keyword	VR	VM
(3008,0010)	Measured Dose Reference Sequence	MeasuredDoseReferenceSequence	SQ	1
(3008,0012)	Measured Dose Description	MeasuredDoseDescription	ST	1
(3008,0014)	Measured Dose Type	MeasuredDoseType	CS	1
(3008,0016)	Measured Dose Value	MeasuredDoseValue	DS	1
(3008,0020)	Treatment Session Beam Sequence	TreatmentSessionBeamSequence	SQ	1
(3008,0021)	Treatment Session Ion Beam Sequence	TreatmentSessionIonBeamSequence	SQ	1
(3008,0022)	Current Fraction Number	CurrentFractionNumber	IS	1
(3008,0024)	Treatment Control Point Date	TreatmentControlPointDate	DA	1
(3008,0025)	Treatment Control Point Time	TreatmentControlPointTime	TM	1
(3008,002A)	Treatment Termination Status	TreatmentTerminationStatus	CS	1
(3008,002B)	Treatment Termination Code	TreatmentTerminationCode	SH	1
(3008,002C)	Treatment Verification Status	TreatmentVerificationStatus	CS	1
(3008,0030)	Referenced Treatment Record Sequence	ReferencedTreatmentRecordSequence	SQ	1
(3008,0032)	Specified Primary Meterset	SpecifiedPrimaryMeterset	DS	1
(3008,0033)	Specified Secondary Meterset	SpecifiedSecondaryMeterset	DS	1
(3008,0036)	Delivered Primary Meterset	DeliveredPrimaryMeterset	DS	1
(3008,0037)	Delivered Secondary Meterset	DeliveredSecondaryMeterset	DS	1
(3008,003A)	Specified Treatment Time	SpecifiedTreatmentTime	DS	1
(3008,003B)	Delivered Treatment Time	DeliveredTreatmentTime	DS	1
(3008,0040)	Control Point Delivery Sequence	ControlPointDeliverySequence	SQ	1
(3008,0041)	Ion Control Point Delivery Sequence	IonControlPointDeliverySequence	SQ	1
(3008,0042)	Specified Meterset	SpecifiedMeterset	DS	1
(3008,0044)	Delivered Meterset	DeliveredMeterset	DS	1
(3008,0045)	Meterset Rate Set	MetersetRateSet	FL	1
(3008,0046)	Meterset Rate Delivered	MetersetRateDelivered	FL	1
(3008,0047)	Scan Spot Metersets Delivered	ScanSpotMetersetsDelivered	FL	1-n
(3008,0048)	Dose Rate Delivered	DoseRateDelivered	DS	1
(3008,0050)	Treatment Summary Calculated Dose Reference Sequence	TreatmentSummaryCalculatedDoseReferenceSequence	SQ	1
(3008,0052)	Cumulative Dose to Dose Reference	CumulativeDoseToDoseReference	DS	1
(3008,0054)	First Treatment Date	FirstTreatmentDate	DA	1
(3008,0056)	Most Recent Treatment Date	MostRecentTreatmentDate	DA	1
(3008,005A)	Number of Fractions Delivered	NumberOfFractionsDelivered	IS	1
(3008,0060)	Override Sequence	OverrideSequence	SQ	1
(3008,0061)	Parameter Sequence Pointer	ParameterSequencePointer	AT	1
(3008,0062)	Override Parameter Pointer	OverrideParameterPointer	AT	1
(3008,0063)	Parameter Item Index	ParameterItemIndex	IS	1
(3008,0064)	Measured Dose Reference Number	MeasuredDoseReferenceNumber	IS	1
(3008,0065)	Parameter Pointer	ParameterPointer	AT	1
(3008,0066)	Override Reason	OverrideReason	ST	1
(3008,0068)	Corrected Parameter Sequence	CorrectedParameterSequence	SQ	1
(3008,006A)	Correction Value	CorrectionValue	FL	1
(3008,0070)	Calculated Dose Reference Sequence	CalculatedDoseReferenceSequence	SQ	1
(3008,0072)	Calculated Dose Reference Number	CalculatedDoseReferenceNumber	IS	1
(3008,0074)	Calculated Dose Reference Description	CalculatedDoseReferenceDescription	ST	1
(3008,0076)	Calculated Dose Reference Dose Value	CalculatedDoseReferenceDoseValue	DS	1
(3008,0078)	Start Meterset	StartMeterset	DS	1
(3008,007A)	End Meterset	EndMeterset	DS	1
(3008,0080)	Referenced Measured Dose Reference Sequence	ReferencedMeasuredDoseReferenceSequence	SQ	1
(3008,0082)	Referenced Measured Dose Reference Number	ReferencedMeasuredDoseReferenceNumber	IS	1
(3008,0090)	Referenced Calculated Dose Reference Sequence	ReferencedCalculatedDoseReferenceSequence	SQ	1
(3008,0092)	Referenced Calculated Dose Reference Number	ReferencedCalculatedDoseReferenceNumber	IS	1
(3008,00A0)	Beam Limiting Device Leaf Pairs Sequence	BeamLimitingDeviceLeafPairsSequence	SQ	1
(3008,00B0)	Recorded Wedge Sequence	RecordedWedgeSequence	SQ	1
(3008,00C0)	Recorded Compensator Sequence	RecordedCompensatorSequence	SQ	1
(3008,00D0)	Recorded Block Sequence	RecordedBlockSequence	SQ	1
(3008,00E0)	Treatment Summary Measured Dose Reference Sequence	TreatmentSummaryMeasuredDoseReferenceSequence	SQ	1
(3008,00F0)	Recorded Snout Sequence	RecordedSnoutSequence	SQ	1
(3008,00F2)	Recorded Range Shifter Sequence	RecordedRangeShifterSequence	SQ	1
(3008,00F4)	Recorded Lateral Spreading Device Sequence	RecordedLateralSpreadingDeviceSequence	SQ	1
(3008,00F6)	Recorded Range Modulator Sequence	RecordedRangeModulatorSequence	SQ	1
(3008,0100)	Recorded Source Sequence	RecordedSourceSequence	SQ	1
(3008,0105)	Source Serial Number	SourceSerialNumber	LO	1
(3008,0110)	Treatment Session Application Setup Sequence	TreatmentSessionApplicationSetupSequence	SQ	1
(3008,0116)	Application Setup Check	ApplicationSetupCheck	CS	1
(3008,0120)	Recorded Brachy Accessory Device Sequence	RecordedBrachyAccessoryDeviceSequence	SQ	1
(3008,0122)	Referenced Brachy Accessory Device Number	ReferencedBrachyAccessoryDeviceNumber	IS	1
(3008,0130)	Recorded Channel Sequence	RecordedChannelSequence	SQ	1
(3008,0132)	Specified Channel Total Time	SpecifiedChannelTotalTime	DS	1
(3008,0134)	Delivered Channel Total Time	DeliveredChannelTotalTime	DS	1
(3008,0136)	Specified Number of Pulses	SpecifiedNumberOfPulses	IS	1
(3008,0138)	Delivered Number of Pulses	DeliveredNumberOfPulses	IS	1
(3008,013A)	Specified Pulse Repetition Interval	SpecifiedPulseRepetitionInterval	DS	1
(3008,013C)	Delivered Pulse Repetition Interval	DeliveredPulseRepetitionInterval	DS	1
(3008,0140)	Recorded Source Applicator Sequence	RecordedSourceApplicatorSequence	SQ	1
(3008,0142)	Referenced Source Applicator Number	ReferencedSourceApplicatorNumber	IS	1
(3008,0150)	Recorded Channel Shield Sequence	RecordedChannelShieldSequence	SQ	1
(3008,0152)	Referenced Channel Shield Number	ReferencedChannelShieldNumber	IS	1
(3008,0160)	Brachy Control Point Delivered Sequence	BrachyControlPointDeliveredSequence	SQ	1
(3008,0162)	Safe Position Exit Date	SafePositionExitDate	DA	1
(3008,0164)	Safe Position Exit Time	SafePositionExitTime	TM	1
(3008,0166)	Safe Position Return Date	SafePositionReturnDate	DA	1
(3008,0168)	Safe Position Return Time	SafePositionReturnTime	TM	1
(3008,0200)	Current Treatment Status	CurrentTreatmentStatus	CS	1
(3008,0202)	Treatment Status Comment	TreatmentStatusComment	ST	1
(3008,0220)	Fraction Group Summary Sequence	FractionGroupSummarySequence	SQ	1
(3008,0223)	Referenced Fraction Number	ReferencedFractionNumber	IS	1
(3008,0224)	Fraction Group Type	FractionGroupType	CS	1
(3008,0230)	Beam Stopper Position	BeamStopperPosition	CS	1
(3008,0240)	Fraction Status Summary Sequence	FractionStatusSummarySequence	SQ	1
(3008,0250)	Treatment Date	TreatmentDate	DA	1
(3008,0251)	Treatment Time	TreatmentTime	TM	1

Tag	Name	Keyword	VR	VM
(300A,0002)	RT Plan Label	RTPlanLabel	SH	1
(300A,0003)	RT Plan Name	RTPlanName	LO	1
(300A,0004)	RT Plan Description	RTPlanDescription	ST	1
(300A,0006)	RT Plan Date	RTPlanDate	DA	1
(300A,0007)	RT Plan Time	RTPlanTime	TM	1
(300A,0009)	Treatment Protocols	TreatmentProtocols	LO	1-n
(300A,000A)	Plan Intent	PlanIntent	CS	1
(300A,000B)	Treatment Sites	TreatmentSites	LO	1-n
(300A,000C)	RT Plan Geometry	RTPlanGeometry	CS	1
(300A,000E)	Prescription Description	PrescriptionDescription	ST	1
(300A,0010)	Dose Reference Sequence	DoseReferenceSequence	SQ	1
(300A,0012)	Dose Reference Number	DoseReferenceNumber	IS	1
(300A,0013)	Dose Reference UID	DoseReferenceUID	UI	1
(300A,0014)	Dose Reference Structure Type	DoseReferenceStructureType	CS	1
(300A,0015)	Nominal Beam Energy Unit	NominalBeamEnergyUnit	CS	1
(300A,0016)	Dose Reference Description	DoseReferenceDescription	LO	1
(300A,0018)	Dose Reference Point Coordinates	DoseReferencePointCoordinates	DS	3
(300A,001A)	Nominal Prior Dose	NominalPriorDose	DS	1
(300A,0020)	Dose Reference Type	DoseReferenceType	CS	1
(300A,0021)	Constraint Weight	ConstraintWeight	DS	1
(300A,0022)	Delivery Warning Dose	DeliveryWarningDose	DS	1
(300A,0023)	Delivery Maximum Dose	DeliveryMaximumDose	DS	1
(300A,0025)	Target Minimum Dose	TargetMinimumDose	DS	1
(300A,0026)	Target Prescription Dose	TargetPrescriptionDose	DS	1
(300A,0027)	Target Maximum Dose	TargetMaximumDose	DS	1
(300A,0028)	Target Underdose Volume Fraction	TargetUnderdoseVolumeFraction	DS	1
(300A,002A)	Organ at Risk Full-volume Dose	OrganAtRiskFullVolumeDose	DS	1
(300A,002B)	Organ at Risk Limit Dose	OrganAtRiskLimitDose	DS	1
(300A,002C)	Organ at Risk Maximum Dose	OrganAtRiskMaximumDose	DS	1
(300A,002D)	Organ at Risk Overdose Volume Fraction	OrganAtRiskOverdoseVolumeFraction	DS	1
(300A,0040)	Tolerance Table Sequence	ToleranceTableSequence	SQ	1
(300A,0042)	Tolerance Table Number	ToleranceTableNumber	IS	1
(300A,0043)	Tolerance Table Label	ToleranceTableLabel	SH	1
(300A,0044)	Gantry Angle Tolerance	GantryAngleTolerance	DS	1
(300A,0046)	Beam Limiting Device Angle Tolerance	BeamLimitingDeviceAngleTolerance	DS	1
(300A,0048)	Beam Limiting Device Tolerance Sequence	BeamLimitingDeviceToleranceSequence	SQ	1
(300A,004A)	Beam Limiting Device Position Tolerance	BeamLimitingDevicePositionTolerance	DS	1
(300A,004B)	Snout Position Tolerance	SnoutPositionTolerance	FL	1
(300A,004C)	Patient Support Angle Tolerance	PatientSupportAngleTolerance	DS	1
(300A,004E)	Table Top Eccentric Angle Tolerance	TableTopEccentricAngleTolerance	DS	1
(300A,004F)	Table Top Pitch Angle Tolerance	TableTopPitchAngleTolerance	FL	1
(300A,0050)	Table Top Roll Angle Tolerance	TableTopRollAngleTolerance	FL	1
(300A,0051)	Table Top Vertical Position Tolerance	TableTopVerticalPositionTolerance	DS	1
(300A,0052)	Table Top Longitudinal Position Tolerance	TableTopLongitudinalPositionTolerance	DS	1
(300A,0053)	Table Top Lateral Position Tolerance	TableTopLateralPositionTolerance	DS	1
(300A,0055)	RT Plan Relationship	RTPlanRelationship	CS	1
(300A,0070)	Fraction Group Sequence	FractionGroupSequence	SQ	1
(300A,0071)	Fraction Group Number	FractionGroupNumber	IS	1
(300A,0072)	Fraction Group Description	FractionGroupDescription	LO	1
(300A,0078)	Number of Fractions Planned	NumberOfFractionsPlanned	IS	1
(300A,0079)	Number of Fraction Pattern Digits Per Day	NumberOfFractionPatternDigitsPerDay	IS	1
(300A,007A)	Repeat Fraction Cycle Length	RepeatFractionCycleLength	IS	1
(300A,007B)	Fraction Pattern	FractionPattern	LT	1
(300A,0080)	Number of Beams	NumberOfBeams	IS	1
(300A,0082)	Beam Dose Specification Point	BeamDoseSpecificationPoint	DS	3
(300A,0084)	Beam Dose	BeamDose	DS	1
(300A,0086)	Beam Meterset	BeamMeterset	DS	1
(300A,0088)	Beam Dose Point Depth	BeamDosePointDepth	FL	1
(300A,0089)	Beam Dose Point Equivalent Depth	BeamDosePointEquivalentDepth	FL	1
(300A,008A)	Beam Dose Point SSD	BeamDosePointSSD	FL	1
(300A,00A0)	Number of Brachy Application Setups	NumberOfBrachyApplicationSetups	IS	1
(300A,00A2)	Brachy Application Setup Dose Specification Point	BrachyApplicationSetupDoseSpecificationPoint	DS	3
(300A,00A4)	Brachy Application Setup Dose	BrachyApplicationSetupDose	DS	1
(300A,00B0)	Beam Sequence	BeamSequence	SQ	1
(300A,00B2)	Treatment Machine Name	TreatmentMachineName	SH	1
(300A,00B3)	Primary Dosimeter Unit	PrimaryDosimeterUnit	CS	1
(300A,00B4)	Source-Axis Distance	SourceAxisDistance	DS	1
(300A,00B6)	Beam Limiting Device Sequence	BeamLimitingDeviceSequence	SQ	1
(300A,00B8)	RT Beam Limiting Device Type	RTBeamLimitingDeviceType	CS	1
(300A,00BA)	Source to Beam Limiting Device Distance	SourceToBeamLimitingDeviceDistance	DS	1
(300A,00BB)	Isocenter to Beam Limiting Device Distance	IsocenterToBeamLimitingDeviceDistance	FL	1
(300A,00BC)	Number of Leaf/Jaw Pairs	NumberOfLeafJawPairs	IS	1
(300A,00BE)	Leaf Position Boundaries	LeafPositionBoundaries	DS	3-n
(300A,00C0)	Beam Number	BeamNumber	IS	1
(300A,00C2)	Beam Name	BeamName	LO	1
(300A,00C3)	Beam Description	BeamDescription	ST	1
(300A,00C4)	Beam Type	BeamType	CS	1
(300A,00C6)	Radiation Type	RadiationType	CS	1
(300A,00C7)	High-Dose Technique Type	HighDoseTechniqueType	CS	1
(300A,00C8)	Reference Image Number	ReferenceImageNumber	IS	1
(300A,00CA)	Planned Verification Image Sequence	PlannedVerificationImageSequence	SQ	1
(300A,00CC)	Imaging Device-Specific Acquisition Parameters	ImagingDeviceSpecificAcquisitionParameters	LO	1-n
(300A,00CE)	Treatment Delivery Type	TreatmentDeliveryType	CS	1
(300A,00D0)	Number of Wedges	NumberOfWedges	IS	1
(300A,00D1)	Wedge Sequence	WedgeSequence	SQ	1
(300A,00D2)	Wedge Number	WedgeNumber	IS	1
(300A,00D3)	Wedge Type	WedgeType	CS	1
(300A,00D4)	Wedge ID	WedgeID	SH	1
(300A,00D5)	Wedge Angle	WedgeAngle	IS	1
(300A,00D6)	Wedge Factor	WedgeFactor	DS	1
(300A,00D7)	Total Wedge Tray Water-Equivalent Thickness	TotalWedgeTrayWaterEquivalentThickness	FL	1
(300A,00D8)	Wedge Orientation	WedgeOrientation	DS	1
(300A,00D9)	Isocenter to Wedge Tray Distance	IsocenterToWedgeTrayDistance	FL	1
(300A,00DA)	Source to Wedge Tray Distance	SourceToWedgeTrayDistance	DS	1
(300A,00DB)	Wedge Thin Edge Position	WedgeThinEdgePosition	FL	1
(300A,00DC)	Bolus ID	BolusID	SH	1
(300A,00DD)	Bolus Description	BolusDescription	ST	1
(300A,00E0)	Number of Compensators	NumberOfCompensators	IS	1
(300A,00E1)	Material ID	MaterialID	SH	1
(300A,00E2)	Total Compensator Tray Factor	TotalCompensatorTrayFactor	DS	1
(300A,00E3)	Compensator Sequence	CompensatorSequence	SQ	1
(300A,00E4)	Compensator Number	CompensatorNumber	IS	1
(300A,00E5)	Compensator ID	CompensatorID	SH	1
(300A,00E6)	Source to Compensator Tray Distance	SourceToCompensatorTrayDistance	DS	1
(300A,00E7)	Compensator Rows	CompensatorRows	IS	1
(300A,00E8)	Compensator Columns	CompensatorColumns	IS	1
(300A,00E9)	Compensator Pixel Spacing	CompensatorPixelSpacing	DS	2
(300A,00EA)	Compensator Position	CompensatorPosition	DS	2
(300A,00EB)	Compensator Transmission Data	CompensatorTransmissionData	DS	1-n
(300A,00EC)	Compensator Thickness Data	CompensatorThicknessData	DS	1-n
(300A,00ED)	Number of Boli	NumberOfBoli	IS	1
(300A,00EE)	Compensator Type	CompensatorType	CS	1
(300A,00F0)	Number of Blocks	NumberOfBlocks	IS	1
(300A,00F2)	Total Block Tray Factor	TotalBlockTrayFactor	DS	1
(300A,00F3)	Total Block Tray Water-Equivalent Thickness	TotalBlockTrayWaterEquivalentThickness	FL	1
(300A,00F4)	Block Sequence	BlockSequence	SQ	1
(300A,00F5)	Block Tray ID	BlockTrayID	SH	1
(300A,00F6)	Source to Block Tray Distance	SourceToBlockTrayDistance	DS	1
(300A,00F7)	Isocenter to Block Tray Distance	IsocenterToBlockTrayDistance	FL	1
(300A,00F8)	Block Type	BlockType	CS	1
(300A,00F9)	Accessory Code	AccessoryCode	LO	1
(300A,00FA)	Block Divergence	BlockDivergence	CS	1
(300A,00FB)	Block Mounting Position	BlockMountingPosition	CS	1
(300A,00FC)	Block Number	BlockNumber	IS	1
(300A,00FE)	Block Name	BlockName	LO	1
(300A,0100)	Block Thickness	BlockThickness	DS	1
(300A,0102)	Block Transmission	BlockTransmission	DS	1
(300A,0104)	Block Number of Points	BlockNumberOfPoints	IS	1
(300A,0106)	Block Data	BlockData	DS	2-2n
(300A,0107)	Applicator Sequence	ApplicatorSequence	SQ	1
(300A,0108)	Applicator ID	ApplicatorID	SH	1
(300A,0109)	Applicator Type	ApplicatorType	CS	1
(300A,010A)	Applicator Description	ApplicatorDescription	LO	1
(300A,010C)	Cumulative Dose Reference Coefficient	CumulativeDoseReferenceCoefficient	DS	1
(300A,010E)	Final Cumulative Meterset Weight	FinalCumulativeMetersetWeight	DS	1
(300A,0110)	Number of Control Points	NumberOfControlPoints	IS	1
(300A,0111)	Control Point Sequence	ControlPointSequence	SQ	1
(300A,0112)	Control Point Index	ControlPointIndex	IS	1
(300A,0114)	Nominal Beam Energy	NominalBeamEnergy	DS	1
(300A,0115)	Dose Rate Set	DoseRateSet	DS	1
(300A,0116)	Wedge Position Sequence	WedgePositionSequence	SQ	1
(300A,0118)	Wedge Position	WedgePosition	CS	1
(300A,011A)	Beam Limiting Device Position Sequence	BeamLimitingDevicePositionSequence	SQ	1
(300A,011C)	Leaf/Jaw Positions	LeafJawPositions	DS	2-2n
(300A,011E)	Gantry Angle	GantryAngle	DS	1
(300A,011F)	Gantry Rotation Direction	GantryRotationDirection	CS	1
(300A,0120)	Beam Limiting Device Angle	BeamLimitingDeviceAngle	DS	1
(300A,0121)	Beam Limiting Device Rotation Direction	BeamLimitingDeviceRotationDirection	CS	1
(300A,0122)	Patient Support Angle	PatientSupportAngle	DS	1
(300A,0123)	Patient Support Rotation Direction	PatientSupportRotationDirection	CS	1
(300A,0124)	Table Top Eccentric Axis Distance	TableTopEccentricAxisDistance	DS	1
(300A,0125)	Table Top Eccentric Angle	TableTopEccentricAngle	DS	1
(300A,0126)	Table Top Eccentric Rotation Direction	TableTopEccentricRotationDirection	CS	1
(300A,0128)	Table Top Vertical Position	TableTopVerticalPosition	DS	1
(300A,0129)	Table Top Longitudinal Position	TableTopLongitudinalPosition	DS	1
(300A,012A)	Table Top Lateral Position	TableTopLateralPosition	DS	1
(300A,012C)	Isocenter Position	IsocenterPosition	DS	3
(300A,012E)	Surface Entry Point	SurfaceEntryPoint	DS	3
(300A,0130)	Source to Surface Distance	SourceToSurfaceDistance	DS	1
(300A,0134)	Cumulative Meterset Weight	CumulativeMetersetWeight	DS	1
(300A,0140)	Table Top Pitch Angle	TableTopPitchAngle	FL	1
(300A,0142)	Table Top Pitch Rotation Direction	TableTopPitchRotationDirection	CS	1
(300A,0144)	Table Top Roll Angle	TableTopRollAngle	FL	1
(300A,0146)	Table Top Roll Rotation Direction	TableTopRollRotationDirection	CS	1
(300A,0148)	Head Fixation Angle	HeadFixationAngle	FL	1
(300A,014A)	Gantry Pitch Angle	GantryPitchAngle	FL	1
(300A,014C)	Gantry Pitch Rotation Direction	GantryPitchRotationDirection	CS	1
(300A,014E)	Gantry Pitch Angle Tolerance	GantryPitchAngleTolerance	FL	1
(300A,0180)	Patient Setup Sequence	PatientSetupSequence	SQ	1
(300A,0182)	Patient Setup Number	PatientSetupNumber	IS	1
(300A,0183)	Patient Setup Label	PatientSetupLabel	LO	1
(300A,0184)	Patient Additional Position	PatientAdditionalPosition	LO	1
(300A,0190)	Fixation Device Sequence	FixationDeviceSequence	SQ	1
(300A,0192)	Fixation Device Type	FixationDeviceType	CS	1
(300A,0194)	Fixation Device Label	FixationDeviceLabel	SH	1
(300A,0196)	Fixation Device Description	FixationDeviceDescription	ST	1
(300A,0198)	Fixation Device Position	FixationDevicePosition	SH	1
(300A,0199)	Fixation Device Pitch Angle	FixationDevicePitchAngle	FL	1
(300A,019A)	Fixation Device Roll Angle	FixationDeviceRollAngle	FL	1
(300A,01A0)	Shielding Device Sequence	ShieldingDeviceSequence	SQ	1
(300A,01A2)	Shielding Device Type	ShieldingDeviceType	CS	1
(300A,01A4)	Shielding Device Label	ShieldingDeviceLabel	SH	1
(300A,01A6)	Shielding Device Description	ShieldingDeviceDescription	ST	1
(300A,01A8)	Shielding Device Position	ShieldingDevicePosition	SH	1
(300A,01B0)	Setup Technique	SetupTechnique	CS	1
(300A,01B2)	Setup Technique Description	SetupTechniqueDescription	ST	1
(300A,01B4)	Setup Device Sequence	SetupDeviceSequence	SQ	1
(300A,01B6)	Setup Device Type	SetupDeviceType	CS	1
(300A,01B8)	Setup Device Label	SetupDeviceLabel	SH	1
(300A,01BA)	Setup Device Description	SetupDeviceDescription	ST	1
(300A,01BC)	Setup Device Parameter	SetupDeviceParameter	DS	1
(300A,01D0)	Setup Reference Description	SetupReferenceDescription	ST	1
(300A,01D2)	Table Top Vertical Setup Displacement	TableTopVerticalSetupDisplacement	DS	1
(300A,01D4)	Table Top Longitudinal Setup Displacement	TableTopLongitudinalSetupDisplacement	DS	1
(300A,01D6)	Table Top Lateral Setup Displacement	TableTopLateralSetupDisplacement	DS	1
(300A,0200)	Brachy Treatment Technique	BrachyTreatmentTechnique	CS	1
(300A,0202)	Brachy Treatment Type	BrachyTreatmentType	CS	1
(300A,0206)	Treatment Machine Sequence	TreatmentMachineSequence	SQ	1
(300A,0210)	Source Sequence	SourceSequence	SQ	1
(300A,0212)	Source Number	SourceNumber	IS	1
(300A,0214)	Source Type	SourceType	CS	1
(300A,0216)	Source Manufacturer	SourceManufacturer	LO	1
(300A,0218)	Active Source Diameter	ActiveSourceDiameter	DS	1
(300A,021A)	Active Source Length	ActiveSourceLength	DS	1
(300A,0222)	Source Encapsulation Nominal Thickness	SourceEncapsulationNominalThickness	DS	1
(300A,0224)	Source Encapsulation Nominal Transmission	SourceEncapsulationNominalTransmission	DS	1
(300A,0226)	Source Isotope Name	SourceIsotopeName	LO	1
(300A,0228)	Source Isotope Half Life	SourceIsotopeHalfLife	DS	1
(300A,0229)	Source Strength Units	SourceStrengthUnits	CS	1
(300A,022A)	Reference Air Kerma Rate	ReferenceAirKermaRate	DS	1
(300A,022B)	Source Strength	SourceStrength	DS	1
(300A,022C)	Source Strength Reference Date	SourceStrengthReferenceDate	DA	1
(300A,022E)	Source Strength Reference Time	SourceStrengthReferenceTime	TM	1
(300A,0230)	Application Setup Sequence	ApplicationSetupSequence	SQ	1
(300A,0232)	Application Setup Type	ApplicationSetupType	CS	1
(300A,0234)	Application Setup Number	ApplicationSetupNumber	IS	1
(300A,0236)	Application Setup Name	ApplicationSetupName	LO	1
(300A,0238)	Application Setup Manufacturer	ApplicationSetupManufacturer	LO	1
(300A,0240)	Template Number	TemplateNumber	IS	1
(300A,0242)	Template Type	TemplateType	SH	1
(300A,0244)	Template Name	TemplateName	LO	1
(300A,0250)	Total Reference Air Kerma	TotalReferenceAirKerma	DS	1
(300A,0260)	Brachy Accessory Device Sequence	BrachyAccessoryDeviceSequence	SQ	1
(300A,0262)	Brachy Accessory Device Number	BrachyAccessoryDeviceNumber	IS	1
(300A,0263)	Brachy Accessory Device ID	BrachyAccessoryDeviceID	SH	1
(300A,0264)	Brachy Accessory Device Type	BrachyAccessoryDeviceType	CS	1
(300A,0266)	Brachy Accessory Device Name	BrachyAccessoryDeviceName	LO	1
(300A,026A)	Brachy Accessory Device Nominal Thickness	BrachyAccessoryDeviceNominalThickness	DS	1
(300A,026C)	Brachy Accessory Device Nominal Transmission	BrachyAccessoryDeviceNominalTransmission	DS	1
(300A,0280)	Channel Sequence	ChannelSequence	SQ	1
(300A,0282)	Channel Number	ChannelNumber	IS	1
(300A,0284)	Channel Length	ChannelLength	DS	1
(300A,0286)	Channel Total Time	ChannelTotalTime	DS	1
(300A,0288)	Source Movement Type	SourceMovementType	CS	1
(300A,028A)	Number of Pulses	NumberOfPulses	IS	1
(300A,028C)	Pulse Repetition Interval	PulseRepetitionInterval	DS	1
(300A,0290)	Source Applicator Number	SourceApplicatorNumber	IS	1
(300A,0291)	Source Applicator ID	SourceApplicatorID	SH	1
(300A,0292)	Source Applicator Type	SourceApplicatorType	CS	1
(300A,0294)	Source Applicator Name	SourceApplicatorName	LO	1
(300A,0296)	Source Applicator Length	SourceApplicatorLength	DS	1
(300A,0298)	Source Applicator Manufacturer	SourceApplicatorManufacturer	LO	1
(300A,029C)	Source Applicator Wall Nominal Thickness	SourceApplicatorWallNominalThickness	DS	1
(300A,029E)	Source Applicator Wall Nominal Transmission	SourceApplicatorWallNominalTransmission	DS	1
(300A,02A0)	Source Applicator Step Size	SourceApplicatorStepSize	DS	1
(300A,02A2)	Transfer Tube Number	TransferTubeNumber	IS	1
(300A,02A4)	Transfer Tube Length	TransferTubeLength	DS	1
(300A,02B0)	Channel Shield Sequence	ChannelShieldSequence	SQ	1
(300A,02B2)	Channel Shield Number	ChannelShieldNumber	IS	1
(300A,02B3)	Channel Shield ID	ChannelShieldID	SH	1
(300A,02B4)	Channel Shield Name	ChannelShieldName	LO	1
(300A,02B8)	Channel Shield Nominal Thickness	ChannelShieldNominalThickness	DS	1
(300A,02BA)	Channel Shield Nominal Transmission	ChannelShieldNominalTransmission	DS	1
(300A,02C8)	Final Cumulative Time Weight	FinalCumulativeTimeWeight	DS	1
(300A,02D0)	Brachy Control Point Sequence	BrachyControlPointSequence	SQ	1
(300A,02D2)	Control Point Relative Position	ControlPointRelativePosition	DS	1
(300A,02D4)	Control Point 3D Position	ControlPoint3DPosition	DS	3
(300A,02D6)	Cumulative Time Weight	CumulativeTimeWeight	DS	1
(300A,02E0)	Compensator Divergence	CompensatorDivergence	CS	1
(300A,02E1)	Compensator Mounting Position	CompensatorMountingPosition	CS	1
(300A,02E2)	Source to Compensator Distance	SourceToCompensatorDistance	DS	1-n
(300A,02E3)	Total Compensator Tray Water-Equivalent Thickness	TotalCompensatorTrayWaterEquivalentThickness	FL	1
(300A,02E4)	Isocenter to Compensator Tray Distance	IsocenterToCompensatorTrayDistance	FL	1
(300A,02E5)	Compensator Column Offset	CompensatorColumnOffset	FL	1
(300A,02E6)	Isocenter to Compensator Distances	IsocenterToCompensatorDistances	FL	1-n
(300A,02E7)	Compensator Relative Stopping Power Ratio	CompensatorRelativeStoppingPowerRatio	FL	1
(300A,02E8)	Compensator Milling Tool Diameter	CompensatorMillingToolDiameter	FL	1
(300A,02EA)	Ion Range Compensator Sequence	IonRangeCompensatorSequence	SQ	1
(300A,02EB)	Compensator Description	CompensatorDescription	LT	1
(300A,0302)	Radiation Mass Number	RadiationMassNumber	IS	1
(300A,0304)	Radiation Atomic Number	RadiationAtomicNumber	IS	1
(300A,0306)	Radiation Charge State	RadiationChargeState	SS	1
(300A,0308)	Scan Mode	ScanMode	CS	1
(300A,030A)	Virtual Source-Axis Distances	VirtualSourceAxisDistances	FL	2
(300A,030C)	Snout Sequence	SnoutSequence	SQ	1
(300A,030D)	Snout Position	SnoutPosition	FL	1
(300A,030F)	Snout ID	SnoutID	SH	1
(300A,0312)	Number of Range Shifters	NumberOfRangeShifters	IS	1
(300A,0314)	Range Shifter Sequence	RangeShifterSequence	SQ	1
(300A,0316)	Range Shifter Number	RangeShifterNumber	IS	1
(300A,0318)	Range Shifter ID	RangeShifterID	SH	1
(300A,0320)	Range Shifter Type	RangeShifterType	CS	1
(300A,0322)	Range Shifter Description	RangeShifterDescription	LO	1
(300A,0330)	Number of Lateral Spreading Devices	NumberOfLateralSpreadingDevices	IS	1
(300A,0332)	Lateral Spreading Device Sequence	LateralSpreadingDeviceSequence	SQ	1
(300A,0334)	Lateral Spreading Device Number	LateralSpreadingDeviceNumber	IS	1
(300A,0336)	Lateral Spreading Device ID	LateralSpreadingDeviceID	SH	1
(300A,0338)	Lateral Spreading Device Type	LateralSpreadingDeviceType	CS	1
(300A,033A)	Lateral Spreading Device Description	LateralSpreadingDeviceDescription	LO	1
(300A,033C)	Lateral Spreading Device Water Equivalent Thickness	LateralSpreadingDeviceWaterEquivalentThickness	FL	1
(300A,0340)	Number of Range Modulators	NumberOfRangeModulators	IS	1
(300A,0342)	Range Modulator Sequence	RangeModulatorSequence	SQ	1
(300A,0344)	Range Modulator Number	RangeModulatorNumber	IS	1
(300A,0346)	Range Modulator ID	RangeModulatorID	SH	1
(300A,0348)	Range Modulator Type	RangeModulatorType	CS	1
(300A,034A)	Range Modulator Description	RangeModulatorDescription	LO	1
(300A,034C)	Beam Current Modulation ID	BeamCurrentModulationID	SH	1
(300A,0350)	Patient Support Type	PatientSupportType	CS	1
(300A,0352)	Patient Support ID	PatientSupportID	SH	1
(300A,0354)	Patient Support Accessory Code	PatientSupportAccessoryCode	LO	1
(300A,0356)	Fixation Light Azimuthal Angle	FixationLightAzimuthalAngle	FL	1
(300A,0358)	Fixation Light Polar Angle	FixationLightPolarAngle	FL	1
(300A,035A)	Meterset Rate	MetersetRate	FL	1
(300A,0360)	Range Shifter Settings Sequence	RangeShifterSettingsSequence	SQ	1
(300A,0362)	Range Shifter Setting	RangeShifterSetting	LO	1
(300A,0364)	Isocenter to Range Shifter Distance	IsocenterToRangeShifterDistance	FL	1
(300A,0366)	Range Shifter Water Equivalent Thickness	RangeShifterWaterEquivalentThickness	FL	1
(300A,0370)	Lateral Spreading Device Settings Sequence	LateralSpreadingDeviceSettingsSequence	SQ	1
(300A,0372)	Lateral Spreading Device Setting	LateralSpreadingDeviceSetting	LO	1
(300A,0374)	Isocenter to Lateral Spreading Device Distance	IsocenterToLateralSpreadingDeviceDistance	FL	1
(300A,0380)	Range Modulator Settings Sequence	RangeModulatorSettingsSequence	SQ	1
(300A,0382)	Range Modulator Gating Start Value	RangeModulatorGatingStartValue	FL	1
(300A,0384)	Range Modulator Gating Stop Value	RangeModulatorGatingStopValue	FL	1
(300A,0386)	Range Modulator Gating Start Water Equivalent Thickness	RangeModulatorGatingStartWaterEquivalentThickness	FL	1
(300A,0388)	Range Modulator Gating Stop Water Equivalent Thickness	RangeModulatorGatingStopWaterEquivalentThickness	FL	1
(300A,038A)	Isocenter to Range Modulator Distance	IsocenterToRangeModulatorDistance	FL	1
(300A,0390)	Scan Spot Tune ID	ScanSpotTuneID	SH	1
(300A,0392)	Number of Scan Spot Positions	NumberOfScanSpotPositions	IS	1
(300A,0394)	Scan Spot Position Map	ScanSpotPositionMap	FL	1-n
(300A,0396)	Scan Spot Meterset Weights	ScanSpotMetersetWeights	FL	1-n
(300A,0398)	Scanning Spot Size	ScanningSpotSize	FL	2
(300A,039A)	Number of Paintings	NumberOfPaintings	IS	1
(300A,03A0)	Ion Tolerance Table Sequence	IonToleranceTableSequence	SQ	1
(300A,03A2)	Ion Beam Sequence	IonBeamSequence	SQ	1
(300A,03A4)	Ion Beam Limiting Device Sequence	IonBeamLimitingDeviceSequence	SQ	1
(300A,03A6)	Ion Block Sequence	IonBlockSequence	SQ	1
(300A,03A8)	Ion Control Point Sequence	IonControlPointSequence	SQ	1
(300A,03AA)	Ion Wedge Sequence	IonWedgeSequence	SQ	1
(300A,03AC)	Ion Wedge Position Sequence	IonWedgePositionSequence	SQ	1
(300A,0401)	Referenced Setup Image Sequence	ReferencedSetupImageSequence	SQ	1
(300A,0402)	Setup Image Comment	SetupImageComment	ST	1
(300A,0410)	Motion Synchronization Sequence	MotionSynchronizationSequence	SQ	1
(300A,0412)	Control Point Orientation	ControlPointOrientation	FL	3
(300A,0420)	General Accessory Sequence	GeneralAccessorySequence	SQ	1
(300A,0421)	General Accessory ID	GeneralAccessoryID	SH	1
(300A,0422)	General Accessory Description	GeneralAccessoryDescription	ST	1
(300A,0423)	General Accessory Type	GeneralAccessoryType	CS	1
(300A,0424)	General Accessory Number	GeneralAccessoryNumber	IS	1

Tag	Name	Keyword	VR	VM
(300C,0002)	Referenced RT Plan Sequence	ReferencedRTPlanSequence	SQ	1
(300C,0004)	Referenced Beam Sequence	ReferencedBeamSequence	SQ	1
(300C,0006)	Referenced Beam Number	ReferencedBeamNumber	IS	1
(300C,0007)	Referenced Reference Image Number	ReferencedReferenceImageNumber	IS	1
(300C,0008)	Start Cumulative Meterset Weight	StartCumulativeMetersetWeight	DS	1
(300C,0009)	End Cumulative Meterset Weight	EndCumulativeMetersetWeight	DS	1
(300C,000A)	Referenced Brachy Application Setup Sequence	ReferencedBrachyApplicationSetupSequence	SQ	1
(300C,000C)	Referenced Brachy Application Setup Number	ReferencedBrachyApplicationSetupNumber	IS	1
(300C,000E)	Referenced Source Number	ReferencedSourceNumber	IS	1
(300C,0020)	Referenced Fraction Group Sequence	ReferencedFractionGroupSequence	SQ	1
(300C,0022)	Referenced Fraction Group Number	ReferencedFractionGroupNumber	IS	1
(300C,0040)	Referenced Verification Image Sequence	ReferencedVerificationImageSequence	SQ	1
(300C,0042)	Referenced Reference Image Sequence	ReferencedReferenceImageSequence	SQ	1
(300C,0050)	Referenced Dose Reference Sequence	ReferencedDoseReferenceSequence	SQ	1
(300C,0051)	Referenced Dose Reference Number	ReferencedDoseReferenceNumber	IS	1
(300C,0055)	Brachy Referenced Dose Reference Sequence	BrachyReferencedDoseReferenceSequence	SQ	1
(300C,0060)	Referenced Structure Set Sequence	ReferencedStructureSetSequence	SQ	1
(300C,006A)	Referenced Patient Setup Number	ReferencedPatientSetupNumber	IS	1
(300C,0080)	Referenced Dose Sequence	ReferencedDoseSequence	SQ	1
(300C,00A0)	Referenced Tolerance Table Number	ReferencedToleranceTableNumber	IS	1
(300C,00B0)	Referenced Bolus Sequence	ReferencedBolusSequence	SQ	1
(300C,00C0)	Referenced Wedge Number	ReferencedWedgeNumber	IS	1
(300C,00D0)	Referenced Compensator Number	ReferencedCompensatorNumber	IS	1
(300C,00E0)	Referenced Block Number	ReferencedBlockNumber	IS	1
(300C,00F0)	Referenced Control Point Index	ReferencedControlPointIndex	IS	1
(300C,00F2)	Referenced Control Point Sequence	ReferencedControlPointSequence	SQ	1
(300C,00F4)	Referenced Start Control Point Index	ReferencedStartControlPointIndex	IS	1
(300C,00F6)	Referenced Stop Control Point Index	ReferencedStopControlPointIndex	IS	1
(300C,0100)	Referenced Range Shifter Number	ReferencedRangeShifterNumber	IS	1
(300C,0102)	Referenced Lateral Spreading Device Number	ReferencedLateralSpreadingDeviceNumber	IS	1
(300C,0104)	Referenced Range Modulator Number	ReferencedRangeModulatorNumber	IS	1

Tag	Name	Keyword	VR	VM
(300E,0002)	Approval Status	ApprovalStatus	CS	1
(300E,0004)	Review Date	ReviewDate	DA	1
(300E,0005)	Review Time	ReviewTime	TM	1
(300E,0008)	Reviewer Name	ReviewerName	PN	1

Tag	Name	Keyword	VR	VM

(4000,0010)	Arbitrary	Arbitrary	LT	1	RET
(4000,4000)	Text Comments	TextComments	LT	1	RET

Tag	Name	Keyword	VR	VM
(4008,0040)	Results ID	ResultsID	SH	1	RET
(4008,0042)	Results ID Issuer	ResultsIDIssuer	LO	1	RET
(4008,0050)	Referenced Interpretation Sequence	ReferencedInterpretationSequence	SQ	1	RET
(4008,0100)	Interpretation Recorded Date	InterpretationRecordedDate	DA	1	RET
(4008,0101)	Interpretation Recorded Time	InterpretationRecordedTime	TM	1	RET
(4008,0102)	Interpretation Recorder	InterpretationRecorder	PN	1	RET
(4008,0103)	Reference to Recorded Sound	ReferenceToRecordedSound	LO	1	RET
(4008,0108)	Interpretation Transcription Date	InterpretationTranscriptionDate	DA	1	RET
(4008,0109)	Interpretation Transcription Time	InterpretationTranscriptionTime	TM	1	RET
(4008,010A)	Interpretation Transcriber	InterpretationTranscriber	PN	1	RET
(4008,010B)	Interpretation Text	InterpretationText	ST	1	RET
(4008,010C)	Interpretation Author	InterpretationAuthor	PN	1	RET
(4008,0111)	Interpretation Approver Sequence	InterpretationApproverSequence	SQ	1	RET
(4008,0112)	Interpretation Approval Date	InterpretationApprovalDate	DA	1	RET
(4008,0113)	Interpretation Approval Time	InterpretationApprovalTime	TM	1	RET
(4008,0114)	Physician Approving Interpretation	PhysicianApprovingInterpretation	PN	1	RET
(4008,0115)	Interpretation Diagnosis Description	InterpretationDiagnosisDescription	LT	1	RET
(4008,0117)	Interpretation Diagnosis Code Sequence	InterpretationDiagnosisCodeSequence	SQ	1	RET
(4008,0118)	Results Distribution List Sequence	ResultsDistributionListSequence	SQ	1	RET
(4008,0119)	Distribution Name	DistributionName	PN	1	RET
(4008,011A)	Distribution Address	DistributionAddress	LO	1	RET
(4008,0200)	Interpretation ID	InterpretationID	SH	1	RET
(4008,0202)	Interpretation ID Issuer	InterpretationIDIssuer	LO	1	RET
(4008,0210)	Interpretation Type ID	InterpretationTypeID	CS	1	RET
(4008,0212)	Interpretation Status ID	InterpretationStatusID	CS	1	RET
(4008,0300)	Impressions	Impressions	ST	1	RET
(4008,4000)	Results Comments	ResultsComments	ST	1	RET

Tag	Name	Keyword	VR	VM
(4FFE,0001)	MAC Parameters Sequence	MACParametersSequence	SQ	1

Tag	Name	Keyword	VR	VM
(50xx,0005)	Curve Dimensions	CurveDimensions	US	1	RET
(50xx,0010)	Number of Points	NumberOfPoints	US	1	RET
(50xx,0020)	Type of Data	TypeOfData	CS	1	RET
(50xx,0022)	Curve Description	CurveDescription	LO	1	RET
(50xx,0030)	Axis Units	AxisUnits	SH	1-n	RET
(50xx,0040)	Axis Labels	AxisLabels	SH	1-n	RET
(50xx,0103)	Data Value Representation	DataValueRepresentation	US	1	RET
(50xx,0104)	Minimum Coordinate Value	MinimumCoordinateValue	US	1-n	RET
(50xx,0105)	Maximum Coordinate Value	MaximumCoordinateValue	US	1-n	RET
(50xx,0106)	Curve Range	CurveRange	SH	1-n	RET
(50xx,0110)	Curve Data Descriptor	CurveDataDescriptor	US	1-n	RET
(50xx,0112)	Coordinate Start Value	CoordinateStartValue	US	1-n	RET
(50xx,0114)	Coordinate Step Value	CoordinateStepValue	US	1-n	RET
(50xx,1001)	Curve Activation Layer	CurveActivationLayer	CS	1	RET
(50xx,2000)	Audio Type	AudioType	US	1	RET
(50xx,2002)	Audio Sample Format	AudioSampleFormat	US	1	RET
(50xx,2004)	Number of Channels	NumberOfChannels	US	1	RET
(50xx,2006)	Number of Samples	NumberOfSamples	UL	1	RET
(50xx,2008)	Sample Rate	SampleRate	UL	1	RET
(50xx,200A)	Total Time	TotalTime	UL	1	RET
(50xx,200C)	Audio Sample Data	AudioSampleData	OW or OB	1	RET
(50xx,200E)	Audio Comments	AudioComments	LT	1	RET
(50xx,2500)	Curve Label	CurveLabel	LO	1	RET
(50xx,2600)	Curve Referenced Overlay Sequence	CurveReferencedOverlaySequence	SQ	1	RET
(50xx,2610)	Curve Referenced Overlay Group	CurveReferencedOverlayGroup	US	1	RET
(50xx,3000)	Curve Data	CurveData	OW or OB	1	RET

Tag	Name	Keyword	VR	VM
(5200,9229)	Shared Functional Groups Sequence	SharedFunctionalGroupsSequence	SQ	1
(5200,9230)	Per-frame Functional Groups Sequence	PerFrameFunctionalGroupsSequence	SQ	1

Tag	Name	Keyword	VR	VM
(5400,0100)	Waveform Sequence	WaveformSequence	SQ	1
(5400,0110)	Channel Minimum Value	ChannelMinimumValue	OB or OW	1
(5400,0112)	Channel Maximum Value	ChannelMaximumValue	OB or OW	1
(5400,1004)	Waveform Bits Allocated	WaveformBitsAllocated	US	1
(5400,1006)	Waveform Sample Interpretation	WaveformSampleInterpretation	CS	1
(5400,100A)	Waveform Padding Value	WaveformPaddingValue	OB or OW	1
(5400,1010)	Waveform Data	WaveformData	OB or OW	1

Tag	Name	Keyword	VR	VM
(5600,0010)	First Order Phase Correction Angle	FirstOrderPhaseCorrectionAngle	OF	1
(5600,0020)	Spectroscopy Data	SpectroscopyData	OF	1

Tag	Name	Keyword	VR	VM
(60xx,0010)	Overlay Rows	OverlayRows	US	1
(60xx,0011)	Overlay Columns	OverlayColumns	US	1
(60xx,0012)	Overlay Planes	OverlayPlanes	US	1	RET
(60xx,0015)	Number of Frames in Overlay	NumberOfFramesInOverlay	IS	1
(60xx,0022)	Overlay Description	OverlayDescription	LO	1
(60xx,0040)	Overlay Type	OverlayType	CS	1
(60xx,0045)	Overlay Subtype	OverlaySubtype	LO	1
(60xx,0050)	Overlay Origin	OverlayOrigin	SS	2
(60xx,0051)	Image Frame Origin	ImageFrameOrigin	US	1
(60xx,0052)	Overlay Plane Origin	OverlayPlaneOrigin	US	1	RET
(60xx,0060)	Overlay Compression Code	OverlayCompressionCode	CS	1	RET
(60xx,0061)	Overlay Compression Originator	OverlayCompressionOriginator	SH	1	RET
(60xx,0062)	Overlay Compression Label	OverlayCompressionLabel	SH	1	RET
(60xx,0063)	Overlay Compression Description	OverlayCompressionDescription	CS	1	RET
(60xx,0066)	Overlay Compression Step Pointers	OverlayCompressionStepPointers	AT	1-n	RET
(60xx,0068)	Overlay Repeat Interval	OverlayRepeatInterval	US	1	RET
(60xx,0069)	Overlay Bits Grouped	OverlayBitsGrouped	US	1	RET
(60xx,0100)	Overlay Bits Allocated	OverlayBitsAllocated	US	1
(60xx,0102)	Overlay Bit Position	OverlayBitPosition	US	1
(60xx,0110)	Overlay Format	OverlayFormat	CS	1	RET
(60xx,0200)	Overlay Location	OverlayLocation	US	1	RET
(60xx,0800)	Overlay Code Label	OverlayCodeLabel	CS	1-n	RET
(60xx,0802)	Overlay Number of Tables	OverlayNumberOfTables	US	1	RET
(60xx,0803)	Overlay Code Table Location	OverlayCodeTableLocation	AT	1-n	RET
(60xx,0804)	Overlay Bits For Code Word	OverlayBitsForCodeWord	US	1	RET
(60xx,1001)	Overlay Activation Layer	OverlayActivationLayer	CS	1
(60xx,1100)	Overlay Descriptor - Gray	OverlayDescriptorGray	US	1	RET
(60xx,1101)	Overlay Descriptor - Red	OverlayDescriptorRed	US	1	RET
(60xx,1102)	Overlay Descriptor - Green	OverlayDescriptorGreen	US	1	RET
(60xx,1103)	Overlay Descriptor - Blue	OverlayDescriptorBlue	US	1	RET
(60xx,1200)	Overlays - Gray	OverlaysGray	US	1-n	RET
(60xx,1201)	Overlays - Red	OverlaysRed	US	1-n	RET
(60xx,1202)	Overlays - Green	OverlaysGreen	US	1-n	RET
(60xx,1203)	Overlays - Blue	OverlaysBlue	US	1-n	RET
(60xx,1301)	ROI Area	ROIArea	IS	1
(60xx,1302)	ROI Mean	ROIMean	DS	1
(60xx,1303)	ROI Standard Deviation	ROIStandardDeviation	DS	1
(60xx,1500)	Overlay Label	OverlayLabel	LO	1
(60xx,3000)	Overlay Data	OverlayData	OB or OW	1
(60xx,4000)	Overlay Comments	OverlayComments	LT	1	RET

Tag	Name	Keyword	VR	VM
(7FE0,0010)	Pixel Data	PixelData	OW or OB	1
(7FE0,0020)	Coefficients SDVN	CoefficientsSDVN	OW	1	RET
(7FE0,0030)	Coefficients SDHN	CoefficientsSDHN	OW	1	RET
(7FE0,0040)	Coefficients SDDN	CoefficientsSDDN	OW	1	RET
(7Fxx,0010)	Variable Pixel Data	VariablePixelData	OW or OB	1	RET
(7Fxx,0011)	Variable Next Data Group	VariableNextDataGroup	US	1	RET
(7Fxx,0020)	Variable Coefficients SDVN	VariableCoefficientsSDVN	OW	1	RET
(7Fxx,0030)	Variable Coefficients SDHN	VariableCoefficientsSDHN	OW	1	RET
(7Fxx,0040)	Variable Coefficients SDDN	VariableCoefficientsSDDN	OW	1	RET

Tag	Name	Keyword	VR	VM
(FFFA,FFFA)	Digital Signatures Sequence	DigitalSignaturesSequence	SQ	1

Tag	Name	Keyword	VR	VM
(FFFC,FFFC)	Data Set Trailing Padding	DataSetTrailingPadding	OB	1

Tag	Name	Keyword	VR	VM
(FFFE,E000)	Item	Item	see note	1
(FFFE,E00D)	Item Delimitation Item	ItemDelimitationItem	see note	1
(FFFE,E0DD)	Sequence Delimitation Item	SequenceDelimitationItem	see note	1

Note:	The VR for Data Elements, Item (FFFE,E000), Item Delimitation Item (FFFE,E00D), and Sequence Delimitation Item (FFFE,E0DD) do not exist. See PS 3.5 for explanation.
7	Registry of DICOM File Meta Elements
This section specifies the File Meta Elements needed to support the formatting of the File Meta Information of the DICOM File Format (See PS 3.10).

Tag	Name	Keyword	VR	VM
(0002,0000)	File Meta Information Group Length	FileMetaInformationGroupLength	UL	1
(0002,0001)	File Meta Information Version	FileMetaInformationVersion	OB	1
(0002,0002)	Media Storage SOP Class UID	MediaStorageSOPClassUID	UI	1
(0002,0003)	Media Storage SOP Instance UID	MediaStorageSOPInstanceUID	UI	1
(0002,0010)	Transfer Syntax UID	TransferSyntaxUID	UI	1
(0002,0012)	Implementation Class UID	ImplementationClassUID	UI	1
(0002,0013)	Implementation Version Name	ImplementationVersionName	SH	1
(0002,0016)	Source Application Entity Title	SourceApplicationEntityTitle	AE	1
(0002,0100)	Private Information Creator UID	PrivateInformationCreatorUID	UI	1
(0002,0102)	Private Information	PrivateInformation	OB	1

8	Registry of DICOM directory structuring elements
Tag	Name	Keyword	VR	VM

(0004,1130)	File-set ID	FileSetID	CS	1
(0004,1141)	File-set Descriptor File ID	FileSetDescriptorFileID	CS	1-8
(0004,1142)	Specific Character Set of File-set Descriptor File	SpecificCharacterSetOfFileSetDescriptorFile	CS	1
(0004,1200)	Offset of the First Directory Record of the Root Directory Entity	OffsetOfTheFirstDirectoryRecordOfTheRootDirectoryEntity	UL	1
(0004,1202)	Offset of the Last Directory Record of the Root Directory Entity	OffsetOfTheLastDirectoryRecordOfTheRootDirectoryEntity	UL	1
(0004,1212)	File-set Consistency Flag	FileSetConsistencyFlag	US	1
(0004,1220)	Directory Record Sequence	DirectoryRecordSequence	SQ	1
(0004,1400)	Offset of the Next Directory Record	OffsetOfTheNextDirectoryRecord	UL	1
(0004,1410)	Record In-use Flag	RecordInUseFlag	US	1
(0004,1420)	Offset of Referenced Lower-Level Directory Entity	OffsetOfReferencedLowerLevelDirectoryEntity	UL	1
(0004,1430)	Directory Record Type	DirectoryRecordType	CS	1
(0004,1432)	Private Record UID	PrivateRecordUID	UI	1
(0004,1500)	Referenced File ID	ReferencedFileID	CS	1-8
(0004,1504)	MRDR Directory Record Offset	MRDRDirectoryRecordOffset	UL	1	RET
(0004,1510)	Referenced SOP Class UID in File	ReferencedSOPClassUIDInFile	UI	1
(0004,1511)	Referenced SOP Instance UID in File	ReferencedSOPInstanceUIDInFile	UI	1
(0004,1512)	Referenced Transfer Syntax UID in File	ReferencedTransferSyntaxUIDInFile	UI	1
(0004,151A)	Referenced Related General SOP Class UID in File	ReferencedRelatedGeneralSOPClassUIDInFile	UI	1-n
(0004,1600)	Number of References	NumberOfReferences	UL	1	RET

Annex A	Registry of DICOM unique identifiers (UID)
(Normative)
Table A-1 lists the UID values that are registered and used throughout the Parts of the DICOM Standard. This central registry ensures that when additional UIDs are assigned, non-duplicate values are assigned.
Table A-1
UID VALUES
UID Value	UID NAME	UID TYPE	Part
1.2.840.10008.1.1	Verification SOP Class	SOP Class	PS 3.4
1.2.840.10008.1.2	Implicit VR Little Endian: Default Transfer Syntax for DICOM	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.1	Explicit VR Little Endian	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.1.99	Deflated Explicit VR Little Endian	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.2	Explicit VR Big Endian	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.50	JPEG Baseline (Process 1): Default Transfer Syntax for Lossy JPEG 8 Bit Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.51	JPEG Extended (Process 2 & 4): Default Transfer Syntax for Lossy JPEG 12 Bit Image Compression (Process 4 only)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.52	JPEG Extended (Process 3 & 5) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.53	JPEG Spectral Selection, Non-Hierarchical (Process 6 & 8) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.54	JPEG Spectral Selection, Non-Hierarchical (Process 7 & 9) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.55	JPEG Full Progression, Non-Hierarchical (Process 10 & 12) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.56	JPEG Full Progression, Non-Hierarchical (Process 11 & 13) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.57	JPEG Lossless, Non-Hierarchical (Process 14)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.58	JPEG Lossless, Non-Hierarchical (Process 15) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.59	JPEG Extended, Hierarchical (Process 16 & 18) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.60	JPEG Extended, Hierarchical (Process 17 & 19) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.61	JPEG Spectral Selection, Hierarchical (Process 20 & 22) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.62	JPEG Spectral Selection, Hierarchical (Process 21 & 23) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.63	JPEG Full Progression, Hierarchical (Process 24 & 26) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.64	JPEG Full Progression, Hierarchical (Process 25 & 27) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.65	JPEG Lossless, Hierarchical (Process 28) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.66	JPEG Lossless, Hierarchical (Process 29) (Retired)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.70	JPEG Lossless, Non-Hierarchical, First-Order Prediction (Process 14 [Selection Value 1]): Default Transfer Syntax for Lossless JPEG Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.80	JPEG-LS Lossless Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.81	JPEG-LS Lossy (Near-Lossless) Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.90	JPEG 2000 Image Compression (Lossless Only)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.91	JPEG 2000 Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.92	JPEG 2000 Part 2 Multi-component Image Compression (Lossless Only)	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.93	JPEG 2000 Part 2 Multi-component Image Compression	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.94	JPIP Referenced	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.95	JPIP Referenced Deflate	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.100	MPEG2 Main Profile @ Main Level	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.4.101	MPEG2 Main Profile @ High Level	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.5	RLE Lossless	Transfer Syntax	PS 3.5
1.2.840.10008.1.2.6.1	RFC 2557 MIME encapsulation	Transfer Syntax	PS 3.10
1.2.840.10008.1.2.6.2	XML Encoding	Transfer Syntax	PS 3.10
1.2.840.10008.1.3.10	Media Storage Directory Storage	SOP Class	PS 3.4
1.2.840.10008.1.4.1.1	Talairach Brain Atlas Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.2	SPM2 T1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.3	SPM2 T2 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.4	SPM2 PD Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.5	SPM2 EPI Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.6	SPM2 FIL T1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.7	SPM2 PET Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.8	SPM2 TRANSM Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.9	SPM2 SPECT Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.10	SPM2 GRAY Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.11	SPM2 WHITE Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.12	SPM2 CSF Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.13	SPM2 BRAINMASK Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.14	SPM2 AVG305T1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.15	SPM2 AVG152T1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.16	SPM2 AVG152T2 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.17	SPM2 AVG152PD Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.1.18	SPM2 SINGLESUBJT1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.2.1	ICBM 452 T1 Frame of Reference	Well-known frame of reference
1.2.840.10008.1.4.2.2	ICBM Single Subject MRI Frame of Reference	Well-known frame of reference
1.2.840.10008.1.5.1	Hot Iron Color Palette SOP Instance	Well-known SOP Instance	PS 3.6
1.2.840.10008.1.5.2	PET Color Palette SOP Instance	Well-known SOP Instance	PS 3.6
1.2.840.10008.1.5.3	Hot Metal Blue Color Palette SOP Instance	Well-known SOP Instance	PS 3.6
1.2.840.10008.1.5.4	PET 20 Step Color Palette SOP Instance	Well-known SOP Instance	PS 3.6
1.2.840.10008.1.9	Basic Study Content Notification SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.1.20.1	Storage Commitment Push Model SOP Class	SOP Class	PS 3.4
1.2.840.10008.1.20.1.1	Storage Commitment Push Model SOP Instance	Well-known SOP Instance	PS 3.4
1.2.840.10008.1.20.2	Storage Commitment Pull Model SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.1.20.2.1	Storage Commitment Pull Model SOP Instance (Retired)	Well-known SOP Instance	PS 3.4
1.2.840.10008.1.40	Procedural Event Logging SOP Class	SOP Class	PS 3.4
1.2.840.10008.1.40.1	Procedural Event Logging SOP Instance	Well-known SOP Instance	PS 3.4
1.2.840.10008.1.42	Substance Administration Logging SOP Class	SOP Class	PS 3.4
1.2.840.10008.1.42.1	Substance Administration Logging SOP Instance	Well-known SOP Instance	PS 3.4
1.2.840.10008.2.6.1	DICOM UID Registry	DICOM UIDs as a Coding Scheme	PS 3.6
1.2.840.10008.2.16.4	DICOM Controlled Terminology	Coding Scheme	PS 3.16
1.2.840.10008.3.1.1.1	DICOM Application Context Name	Application Context Name	PS 3.7
1.2.840.10008.3.1.2.1.1	Detached Patient Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.3.1.2.1.4	Detached Patient Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.3.1.2.2.1	Detached Visit Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.3.1.2.3.1	Detached Study Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.3.1.2.3.2	Study Component Management SOP Class (Retired)	SOP Class	PS 3.4
1.­2.840.10008.3.1.2.3.3	Modality Performed Procedure Step SOP Class	SOP Class	PS 3.4
1.­2.840.10008.3.1.2.3.4	Modality Performed Procedure Step Retrieve SOP Class	SOP Class	PS 3.4
1.­2.840.10008.3.1.2.3.5	Modality Performed Procedure Step Notification SOP Class	SOP Class	PS 3.4
1.2.840.10008.3.1.2.5.1	Detached Results Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.3.1.2.5.4	Detached Results Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.3.1.2.5.5	Detached Study Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.3.1.2.6.1	Detached Interpretation Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.4.2	Storage Service Class	Service Class	PS 3.4
1.2.840.10008.5.1.1.1	Basic Film Session SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.2	Basic Film Box SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.4	Basic Grayscale Image Box SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.4.1	Basic Color Image Box SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.4.2	Referenced Image Box SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.9	Basic Grayscale Print Management Meta SOP Class	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.1.9.1	Referenced Grayscale Print Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.1.14	Print Job SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.15	Basic Annotation Box SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.16	Printer SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.16.376	Printer Configuration Retrieval SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.17	Printer SOP Instance	Well-known Printer SOP Instance	PS 3.4
1.2.840.10008.5.1.1.17.376	Printer Configuration Retrieval SOP Instance	Well-known Printer SOP Instance	PS 3.4
1.2.840.10008.5.1.1.18	Basic Color Print Management Meta SOP Class	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.1.18.1	Referenced Color Print Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.1.22	VOI LUT Box SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.23	Presentation LUT SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.1.24	Image Overlay Box SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.24.1	Basic Print Image Overlay Box SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.25	Print Queue SOP Instance (Retired)	Well-known Print Queue SOP Instance	PS 3.4
1.2.840.10008.5.1.1.26	Print Queue Management SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.27	Stored Print Storage SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.29	Hardcopy Grayscale Image Storage SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.30	Hardcopy Color Image Storage SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.31	Pull Print Request SOP Class (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.1.32	Pull Stored Print Management Meta SOP Class (Retired)	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.1.33	Media Creation Management SOP Class UID	SOP Class	PS3.4
1.2.840.10008.5.1.4.1.1.1	Computed Radiography Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.1	Digital X-Ray Image Storage - For Presentation	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.1.1	Digital X-Ray Image Storage - For Processing	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.2	Digital Mammography X-Ray Image Storage - For Presentation	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.2.1	Digital Mammography X-Ray Image Storage - For Processing	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.3	Digital Intra-oral X-Ray Image Storage - For Presentation	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.1.3.1	Digital Intra-oral X-Ray Image Storage - For Processing	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.2	CT Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.2.1	Enhanced CT Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.3	Ultrasound Multi-frame Image Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.3.1	Ultrasound Multi-frame Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.4	MR Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.4.1	Enhanced MR Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.4.2	MR Spectroscopy Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.4.3	Enhanced MR Color Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.5	Nuclear Medicine Image Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.6	Ultrasound Image Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.6.1	Ultrasound Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.6.2	Enhanced US Volume Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.7	Secondary Capture Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.7.1	Multi-frame Single Bit Secondary Capture Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.7.2	Multi-frame Grayscale Byte Secondary Capture Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.7.3	Multi-frame Grayscale Word Secondary Capture Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.7.4	Multi-frame True Color Secondary Capture Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.8	Standalone Overlay Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9	Standalone Curve Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.1	Waveform Storage - Trial (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.1.1	12-lead ECG Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.1.2	General ECG Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.1.3	Ambulatory ECG Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.2.1	Hemodynamic Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.3.1	Cardiac Electrophysiology Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.4.1	Basic Voice Audio Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.4.2	General Audio Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.5.1	Arterial Pulse Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.9.6.1	Respiratory Waveform Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.10	Standalone Modality LUT Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11	Standalone VOI LUT Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11.1	Grayscale Softcopy Presentation State Storage SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11.2	Color Softcopy Presentation State Storage SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11.3	Pseudo-Color Softcopy Presentation State Storage SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11.4	Blending Softcopy Presentation State Storage SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.11.5	XA/XRF Grayscale Softcopy Presentation State Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.12.1	X-Ray Angiographic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.12.1.1	Enhanced XA Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.12.2	X-Ray Radiofluoroscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.12.2.1	Enhanced XRF Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.13.1.1	X-Ray 3D Angiographic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.13.1.2	X-Ray 3D Craniofacial Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.13.1.3	Breast Tomosynthesis Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.12.3	X-Ray Angiographic Bi-Plane Image Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.20	Nuclear Medicine Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66	Raw Data Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66.1	Spatial Registration Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66.2	Spatial Fiducials Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66.3	Deformable Spatial Registration Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66.4	Segmentation Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.66.5	Surface Segmentation Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.67	Real World Value Mapping Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1	VL Image Storage - Trial (Retired)
1.2.840.10008.5.1.4.1.1.77.2	VL Multi-frame Image Storage - Trial (Retired)
1.2.840.10008.5.1.4.1.1.77.1.1	VL Endoscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.1.1	Video Endoscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.2	VL Microscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.2.1	Video Microscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.3	VL Slide-Coordinates Microscopic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.4	VL Photographic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.4.1	Video Photographic Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.5.1	Ophthalmic Photography 8 Bit Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.5.2	Ophthalmic Photography 16 Bit Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.5.3	Stereometric Relationship Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.77.1.5.4	Ophthalmic Tomography Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.1	Lensometry Measurements Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.2	Autorefraction Measurements Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.3	Keratometry Measurements Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.4	Subjective Refraction Measurements Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.5	Visual Acuity Measurements	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.78.6	Spectacle Prescription Reports Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.79.1	Macular Grid Thickness and Volume Report Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.1	Text SR Storage - Trial (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.2	Audio SR Storage - Trial (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.3	Detail SR Storage - Trial (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.4	Comprehensive SR Storage - Trial (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.11	Basic Text SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.22	Enhanced SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.33	Comprehensive SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.40	Procedure Log Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.50	Mammography CAD SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.59	Key Object Selection Document Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.65	Chest CAD SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.67	X-Ray Radiation Dose SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.88.69	Colon CAD SR Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.104.1	Encapsulated PDF Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.104.2	Encapsulated CDA Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.128	Positron Emission Tomography Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.129	Standalone PET Curve Storage (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.130	Enhanced PET Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.131	Basic Structured Display Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.1	RT Image Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.2	RT Dose Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.3	RT Structure Set Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.4	RT Beams Treatment Record Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.5	RT Plan Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.6	RT Brachy Treatment Record Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.7	RT Treatment Summary Record Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.8	RT Ion Plan Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.1.481.9	RT Ion Beams Treatment Record Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.1.1	Patient Root Query/Retrieve Information Model - FIND	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.1.2	Patient Root Query/Retrieve Information Model - MOVE	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.1.3	Patient Root Query/Retrieve Information Model - GET	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.2.1	Study Root Query/Retrieve Information Model - FIND	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.2.2	Study Root Query/Retrieve Information Model - MOVE	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.2.3	Study Root Query/Retrieve Information Model - GET	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.3.1	Patient/Study Only Query/Retrieve Information Model - FIND (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.3.2	Patient/Study Only Query/Retrieve Information Model - MOVE (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.3.3	Patient/Study Only Query/Retrieve Information Model - GET (Retired)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.4.2	Composite Instance Root Retrieve - MOVE	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.4.3	Composite Instance Root Retrieve - GET	SOP Class	PS 3.4
1.2.840.10008.5.1.4.1.2.5.3	Composite Instance Retrieve Without Bulk Data - GET	SOP Class	PS 3.4
1.2.840.10008.5.1.4.31	Modality Worklist Information Model - FIND	SOP Class	PS 3.4
1.2.840.10008.5.1.4.32.1	General Purpose Worklist Information Model - FIND	SOP Class	PS 3.4
1.2.840.10008.5.1.4.32.2	General Purpose Scheduled Procedure Step SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.32.3	General Purpose Performed Procedure Step SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.32	General Purpose Worklist Management Meta SOP Class	Meta SOP Class	PS 3.4
1.2.840.10008.5.1.4.33	Instance Availability Notification SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.1	RT Beams Delivery Instruction Storage (Supplement 74 Frozen Draft)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.2	RT Conventional Machine Verification (Supplement 74 Frozen Draft)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.3	RT Ion Machine Verification (Supplement 74 Frozen Draft)	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.4	Unified Worklist and Procedure Step Service Class	Service Class	PS 3.4
1.2.840.10008.5.1.4.34.4.1	Unified Procedure Step - Push SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.4.2	Unified Procedure Step - Watch SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.4.3	Unified Procedure Step - Pull SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.4.4	Unified Procedure Step - Event SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.34.5	Unified Worklist and Procedure Step SOP Instance	Well-known SOP Instance	PS 3.4
1.2.840.10008.5.1.4.37.1	General Relevant Patient Information Query	SOP Class	PS 3.4
1.2.840.10008.5.1.4.37.2	Breast Imaging Relevant Patient Information Query	SOP Class	PS 3.4
1.2.840.10008.5.1.4.37.3	Cardiac Relevant Patient Information Query	SOP Class	PS 3.4
1.2.840.10008.5.1.4.38.1	Hanging Protocol Storage	SOP Class	PS 3.4
1.2.840.10008.5.1.4.38.2	Hanging Protocol Information Model - FIND	SOP Class	PS 3.4
1.2.840.10008.5.1.4.38.3	Hanging Protocol Information Model - MOVE	SOP Class	PS 3.4
1.2.840.10008.5.1.4.38.4	Hanging Protocol Information Model - GET	SOP Class	PS 3.4
1.2.840.10008.5.1.4.39.1	Color Palette Storage	Transfer	PS 3.4
1.2.840.10008.5.1.4.39.2	Color Palette Information Model - FIND	Query/Retrieve	PS 3.4
1.2.840.10008.5.1.4.39.3	Color Palette Information Model - MOVE	Query/Retrieve	PS 3.4
1.2.840.10008.5.1.4.39.4	Color Palette Information Model - GET	Query/Retrieve	PS 3.4
1.2.840.10008.5.1.4.41	Product Characteristics Query SOP Class	SOP Class	PS 3.4
1.2.840.10008.5.1.4.42	Substance Approval Query SOP Class	SOP Class	PS 3.4
1.2.840.10008.15.0.3.1	dicomDeviceName	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.2	dicomDescription	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.3	dicomManufacturer	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.4	dicomManufacturerModelName	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.5	dicomSoftwareVersion	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.6	dicomVendorData	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.7	dicomAETitle	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.8	dicomNetworkConnectionReference	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.9	dicomApplicationCluster	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.10	dicomAssociationInitiator	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.11	dicomAssociationAcceptor	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.12	dicomHostname	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.13	dicomPort	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.14	dicomSOPClass	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.15	dicomTransferRole	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.16	dicomTransferSyntax	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.17	dicomPrimaryDeviceType	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.18	dicomRelatedDeviceReference	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.19	dicomPreferredCalledAETitle	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.20	dicomTLSCyphersuite	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.21	dicomAuthorizedNodeCertificateReference	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.22	dicomThisNodeCertificateReference	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.23	dicomInstalled	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.24	dicomStationName	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.25	dicomDeviceSerialNumber	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.26	dicomInstitutionName	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.27	dicomInstitutionAddress	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.28	dicomInstitutionDepartmentName	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.29	dicomIssuerOfPatientID	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.30	dicomPreferredCallingAETitle	LDAP OID	PS 3.15
1.2.840.10008.15.0.3.31	dicomSupportedCharacterSet	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.1	dicomConfigurationRoot	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.2	dicomDevicesRoot	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.3	dicomUniqueAETitlesRegistryRoot	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.4	dicomDevice	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.5	dicomNetworkAE	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.6	dicomNetworkConnection	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.7	dicomUniqueAETitle	LDAP OID	PS 3.15
1.2.840.10008.15.0.4.8	dicomTransferCapability	LDAP OID	PS 3.15

Table A-2
Well-known Frames of Reference
UID Value	UID NAME	Normative Reference
1.2.840.10008.1.4.1.1	Talairach Brain Atlas Frame of Reference	Talairach J. and Tournoux P. Co-Planar stereotactic atlas of the human brain. Stutgart: Georg Thieme Verlag, 1988.
1.2.840.10008.1.4.1.2	SPM2 T1 Frame of Reference	SPM2 /templates/T1.mnc
1.2.840.10008.1.4.1.3	SPM2 T2 Frame of Reference	SPM2 /templates/T2.mnc
1.2.840.10008.1.4.1.4	SPM2 PD Frame of Reference	SPM2 /templates/PD.mnc
1.2.840.10008.1.4.1.5	SPM2 EPI Frame of Reference	SPM2 /templates/EPI.mnc
1.2.840.10008.1.4.1.6	SPM2 FIL T1 Frame of Reference	SPM2 /templates/filT1.mnc
1.2.840.10008.1.4.1.7	SPM2 PET Frame of Reference	SPM2 /templates/PET.mnc
1.2.840.10008.1.4.1.8	SPM2 TRANSM Frame of Reference	SPM2 /templates/Transm.mnc
1.2.840.10008.1.4.1.9	SPM2 SPECT Frame of Reference	SPM2 /templates/SPECT.mnc
1.2.840.10008.1.4.1.10	SPM2 GRAY Frame of Reference	SPM2 /apriori/gray.mnc
1.2.840.10008.1.4.1.11	SPM2 WHITE Frame of Reference	SPM2 /apriori/white.mnc
1.2.840.10008.1.4.1.12	SPM2 CSF Frame of Reference	SPM2 /apriori/csf.mnc
1.2.840.10008.1.4.1.13	SPM2 BRAINMASK Frame of Reference	SPM2 /apriori/brainmask.mnc
1.2.840.10008.1.4.1.14	SPM2 AVG305T1 Frame of Reference	SPM2 /canonical/avg305T1.mnc
1.2.840.10008.1.4.1.15	SPM2 AVG152T1 Frame of Reference	SPM2 /canonical/avg152T1.mnc
1.2.840.10008.1.4.1.16	SPM2 AVG152T2 Frame of Reference	SPM2 /canonical/avg152T2.mnc
1.2.840.10008.1.4.1.17	SPM2 AVG152PD Frame of Reference	SPM2 /canonical/avg152PD.mnc
1.2.840.10008.1.4.1.18	SPM2 SINGLESUBJT1 Frame of Reference	SPM2 /canonical/single_subj_T1.mnc
1.2.840.10008.1.4.2.1	ICBM 452 T1 Frame of Reference	ICBM452 T1 Atlas
1.2.840.10008.1.4.2.2	ICBM Single Subject MRI Frame of Reference	ICBM Single Subject MRI Anatomical Template

SPM2 (Statistical Parametric Mapping) templates are available at http://www.fil.ion.ucl.ac.uk/~spm/, and they are described at http://www.fil.ion.ucl.ac.uk/~spm/templates/.
ICBM templates are available at http://www.loni.ucla.edu/ICBM/ICBM_ICBMAtlases.html.
Table A-3
CONTEXT GROUP UID VALUES
Context UID	Context Identifier	Context Group Name
1.2.840.10008.6.1.1	2	Anatomic Modifier
1.2.840.10008.6.1.2	4	Anatomic Region
1.2.840.10008.6.1.3	5	Transducer Approach
1.2.840.10008.6.1.4	6	Transducer Orientation
1.2.840.10008.6.1.5	7	Ultrasound Beam Path
1.2.840.10008.6.1.6	8	Angiographic Interventional Devices
1.2.840.10008.6.1.7	9	Image Guided Therapeutic Procedures
1.2.840.10008.6.1.8	10	Interventional Drug
1.2.840.10008.6.1.9	11	Route of Administration
1.2.840.10008.6.1.10	12	Radiographic Contrast Agent
1.2.840.10008.6.1.11	13	Radiographic Contrast Agent Ingredient
1.2.840.10008.6.1.12	18	Isotopes in Radiopharmaceuticals
1.2.840.10008.6.1.13	19	Patient Orientation
1.2.840.10008.6.1.14	20	Patient Orientation Modifier
1.2.840.10008.6.1.15	21	Patient Gantry Relationship
1.2.840.10008.6.1.16	23	Cranio-caudad Angulation
1.2.840.10008.6.1.17	25	Radiopharmaceuticals
1.2.840.10008.6.1.18	26	Nuclear Medicine Projections
1.2.840.10008.6.1.19	29	Acquisition Modality
1.2.840.10008.6.1.20	30	DICOM Devices
1.2.840.10008.6.1.21	31	Abstract Priors
1.2.840.10008.6.1.22	42	Numeric Value Qualifier
1.2.840.10008.6.1.23	82	Units of Measurement
1.2.840.10008.6.1.24	83	Units for Real World Value Mapping
1.2.840.10008.6.1.25	220	Level of Significance
1.2.840.10008.6.1.26	221	Measurement Range Concepts
1.2.840.10008.6.1.27	222	Normality Codes
1.2.840.10008.6.1.28	223	Normal Range Values
1.2.840.10008.6.1.29	224	Selection Method
1.2.840.10008.6.1.30	225	Measurement Uncertainty Concepts
1.2.840.10008.6.1.31	226	Population Statistical Descriptors
1.2.840.10008.6.1.32	227	Sample Statistical Descriptors
1.2.840.10008.6.1.33	228	Equation or Table
1.2.840.10008.6.1.34	230	Yes-No
1.2.840.10008.6.1.35	240	Present-Absent
1.2.840.10008.6.1.36	242	Normal-Abnormal
1.2.840.10008.6.1.37	244	Laterality
1.2.840.10008.6.1.38	250	Positive-Negative
1.2.840.10008.6.1.39	251	Severity of Complication
1.2.840.10008.6.1.40	270	Observer Type
1.2.840.10008.6.1.41	271	Observation Subject Class
1.2.840.10008.6.1.42	3000	Audio Channel Source
1.2.840.10008.6.1.43	3001	ECG Leads
1.2.840.10008.6.1.44	3003	Hemodynamic Waveform Sources
1.2.840.10008.6.1.45	3010	Cardiovascular Anatomic Locations
1.2.840.10008.6.1.46	3011	Electrophysiology Anatomic Locations
1.2.840.10008.6.1.47	3014	Coronary Artery Segments
1.2.840.10008.6.1.48	3015	Coronary Arteries
1.2.840.10008.6.1.49	3019	Cardiovascular Anatomic Location Modifiers
1.2.840.10008.6.1.50	3082	Cardiology Units of Measurement
1.2.840.10008.6.1.51	3090	Time Synchronization Channel Types
1.2.840.10008.6.1.52	3101	NM Procedural State Values
1.2.840.10008.6.1.53	3240	Electrophysiology Measurement Functions and Techniques
1.2.840.10008.6.1.54	3241	Hemodynamic Measurement Techniques
1.2.840.10008.6.1.55	3250	Catheterization Procedure Phase
1.2.840.10008.6.1.56	3254	Electrophysiology Procedure Phase
1.2.840.10008.6.1.57	3261	Stress Protocols
1.2.840.10008.6.1.58	3262	ECG Patient State Values
1.2.840.10008.6.1.59	3263	Electrode Placement Values
1.2.840.10008.6.1.60	3264	XYZ Electrode Placement Values
1.2.840.10008.6.1.61	3271	Hemodynamic Physiological Challenges
1.2.840.10008.6.1.62	3335	ECG Annotations
1.2.840.10008.6.1.63	3337	Hemodynamic Annotations
1.2.840.10008.6.1.64	3339	Electrophysiology Annotations
1.2.840.10008.6.1.65	3400	Procedure Log Titles
1.2.840.10008.6.1.66	3401	Types of Log Notes
1.2.840.10008.6.1.67	3402	Patient Status and Events
1.2.840.10008.6.1.68	3403	Percutaneous Entry
1.2.840.10008.6.1.69	3404	Staff Actions
1.2.840.10008.6.1.70	3405	Procedure Action Values
1.2.840.10008.6.1.71	3406	Non-Coronary Transcatheter Interventions
1.2.840.10008.6.1.72	3407	Purpose of Reference to Object
1.2.840.10008.6.1.73	3408	Actions with Consumables
1.2.840.10008.6.1.74	3409	Administration of Drugs/Contrast
1.2.840.10008.6.1.75	3410	Numeric Parameters of Drugs/Contrast
1.2.840.10008.6.1.76	3411	Intracoronary Devices
1.2.840.10008.6.1.77	3412	Intervention Actions and Status
1.2.840.10008.6.1.78	3413	Adverse Outcomes
1.2.840.10008.6.1.79	3414	Procedure Urgency
1.2.840.10008.6.1.80	3415	Cardiac Rhythms
1.2.840.10008.6.1.81	3416	Respiration Rhythms
1.2.840.10008.6.1.82	3418	Lesion Risk
1.2.840.10008.6.1.83	3419	Findings Titles
1.2.840.10008.6.1.84	3421	Procedure Action
1.2.840.10008.6.1.85	3422	Device Use Actions
1.2.840.10008.6.1.86	3423	Numeric Device Characteristics
1.2.840.10008.6.1.87	3425	Intervention Parameters
1.2.840.10008.6.1.88	3426	Consumables Parameters
1.2.840.10008.6.1.89	3427	Equipment Events
1.2.840.10008.6.1.90	3428	Imaging Procedures
1.2.840.10008.6.1.91	3429	Catheterization Devices
1.2.840.10008.6.1.92	3430	DateTime Qualifiers
1.2.840.10008.6.1.93	3440	Peripheral Pulse Locations
1.2.840.10008.6.1.94	3441	Patient assessments
1.2.840.10008.6.1.95	3442	Peripheral Pulse Methods
1.2.840.10008.6.1.96	3446	Skin Condition
1.2.840.10008.6.1.97	3448	Airway Assessment
1.2.840.10008.6.1.98	3451	Calibration Objects
1.2.840.10008.6.1.99	3452	Calibration Methods
1.2.840.10008.6.1.100	3453	Cardiac Volume Methods
1.2.840.10008.6.1.101	3455	Index Methods
1.2.840.10008.6.1.102	3456	Sub-segment Methods
1.2.840.10008.6.1.103	3458	Contour Realignment
1.2.840.10008.6.1.104	3460	Circumferential ExtenT
1.2.840.10008.6.1.105	3461	Regional Extent
1.2.840.10008.6.1.106	3462	Chamber Identification
1.2.840.10008.6.1.107	3465	QA Reference MethodS
1.2.840.10008.6.1.108	3466	Plane Identification
1.2.840.10008.6.1.109	3467	Ejection Fraction
1.2.840.10008.6.1.110	3468	ED Volume
1.2.840.10008.6.1.111	3469	ES Volume
1.2.840.10008.6.1.112	3470	Vessel Lumen Cross-Sectional Area Calculation Methods
1.2.840.10008.6.1.113	3471	Estimated Volumes
1.2.840.10008.6.1.114	3472	Cardiac Contraction Phase
1.2.840.10008.6.1.115	3480	IVUS Procedure Phases
1.2.840.10008.6.1.116	3481	IVUS Distance Measurements
1.2.840.10008.6.1.117	3482	IVUS Area Measurements
1.2.840.10008.6.1.118	3483	IVUS Longitudinal Measurements
1.2.840.10008.6.1.119	3484	IVUS Indices and Ratios
1.2.840.10008.6.1.120	3485	IVUS Volume Measurements
1.2.840.10008.6.1.121	3486	Vascular Measurement Sites
1.2.840.10008.6.1.122	3487	IVUS Volumetric Regions
1.2.840.10008.6.1.123	3488	Min/Max/Mean
1.2.840.10008.6.1.124	3489	Calcium Distribution
1.2.840.10008.6.1.125	3491	IVUS Lesion Morphologies
1.2.840.10008.6.1.126	3492	Vascular Dissection Classifications
1.2.840.10008.6.1.127	3493	IVUS Relative Stenosis Severities
1.2.840.10008.6.1.128	3494	IVUS Non Morphological Findings
1.2.840.10008.6.1.129	3495	IVUS Plaque Composition
1.2.840.10008.6.1.130	3496	IVUS Fiducial Points
1.2.840.10008.6.1.131	3497	IVUS Arterial Morphology
1.2.840.10008.6.1.132	3500	Pressure Units
1.2.840.10008.6.1.133	3502	Hemodynamic Resistance Units
1.2.840.10008.6.1.134	3503	Indexed Hemodynamic Resistance Units
1.2.840.10008.6.1.135	3510	Catheter Size Units
1.2.840.10008.6.1.136	3515	Specimen Collection
1.2.840.10008.6.1.137	3520	Blood Source Type
1.2.840.10008.6.1.138	3524	Blood Gas Pressures
1.2.840.10008.6.1.139	3525	Blood Gas Content
1.2.840.10008.6.1.140	3526	Blood Gas Saturation
1.2.840.10008.6.1.141	3527	Blood Base Excess
1.2.840.10008.6.1.142	3528	Blood pH
1.2.840.10008.6.1.143	3529	Arterial / Venous Content
1.2.840.10008.6.1.144	3530	Oxygen Administration Actions
1.2.840.10008.6.1.145	3531	Oxygen Administration
1.2.840.10008.6.1.146	3550	Circulatory Support Actions
1.2.840.10008.6.1.147	3551	Ventilation Actions
1.2.840.10008.6.1.148	3552	Pacing Actions
1.2.840.10008.6.1.149	3553	Circulatory Support
1.2.840.10008.6.1.150	3554	Ventilation
1.2.840.10008.6.1.151	3555	Pacing
1.2.840.10008.6.1.152	3560	Blood Pressure Methods
1.2.840.10008.6.1.153	3600	Relative times
1.2.840.10008.6.1.154	3602	Hemodynamic Patient State
1.2.840.10008.6.1.155	3604	Arterial lesion locations
1.2.840.10008.6.1.156	3606	Arterial source locations
1.2.840.10008.6.1.157	3607	Venous Source locations
1.2.840.10008.6.1.158	3608	Atrial source locations
1.2.840.10008.6.1.159	3609	Ventricular source locations
1.2.840.10008.6.1.160	3610	Gradient Source Locations
1.2.840.10008.6.1.161	3611	Pressure Measurements
1.2.840.10008.6.1.162	3612	Blood Velocity Measurements
1.2.840.10008.6.1.163	3613	Hemodynamic Time Measurements
1.2.840.10008.6.1.164	3614	Valve Areas, non-Mitral
1.2.840.10008.6.1.165	3615	Valve Areas
1.2.840.10008.6.1.166	3616	Hemodynamic Period Measurements
1.2.840.10008.6.1.167	3617	Valve Flows
1.2.840.10008.6.1.168	3618	Hemodynamic Flows
1.2.840.10008.6.1.169	3619	Hemodynamic Resistance Measurements
1.2.840.10008.6.1.170	3620	Hemodynamic Ratios
1.2.840.10008.6.1.171	3621	Fractional Flow Reserve
1.2.840.10008.6.1.172	3627	Measurement Type
1.2.840.10008.6.1.173	3628	Cardiac Output Methods
1.2.840.10008.6.1.174	3629	Procedure Intent
1.2.840.10008.6.1.175	3630	Cardiovascular Anatomic Locations
1.2.840.10008.6.1.176	3640	Hypertension
1.2.840.10008.6.1.177	3641	Hemodynamic Assessments
1.2.840.10008.6.1.178	3642	Degree Findings
1.2.840.10008.6.1.179	3651	Hemodynamic Measurement Phase
1.2.840.10008.6.1.180	3663	Body Surface Area Equations
1.2.840.10008.6.1.181	3664	Oxygen Consumption Equations and Tables
1.2.840.10008.6.1.182	3666	P50 Equations
1.2.840.10008.6.1.183	3667	Framingham Scores
1.2.840.10008.6.1.184	3668	Framingham Tables
1.2.840.10008.6.1.185	3670	ECG Procedure Types
1.2.840.10008.6.1.186	3671	Reason for ECG Exam
1.2.840.10008.6.1.187	3672	Pacemakers
1.2.840.10008.6.1.188	3673	Diagnosis
1.2.840.10008.6.1.189	3675	Other Filters
1.2.840.10008.6.1.190	3676	Lead Measurement Technique
1.2.840.10008.6.1.191	3677	Summary Codes ECG
1.2.840.10008.6.1.192	3678	QT Correction Algorithms
1.2.840.10008.6.1.193	3679	ECG Morphology Descriptions
1.2.840.10008.6.1.194	3680	ECG Lead Noise Descriptions
1.2.840.10008.6.1.195	3681	ECG Lead Noise Modifiers
1.2.840.10008.6.1.196	3682	Probability
1.2.840.10008.6.1.197	3683	Modifiers
1.2.840.10008.6.1.198	3684	Trend
1.2.840.10008.6.1.199	3685	Conjunctive Terms
1.2.840.10008.6.1.200	3686	ECG Interpretive Statements
1.2.840.10008.6.1.201	3687	Electrophysiology Waveform Durations
1.2.840.10008.6.1.202	3688	Electrophysiology Waveform Voltages
1.2.840.10008.6.1.203	3700	Cath Diagnosis
1.2.840.10008.6.1.204	3701	Cardiac Valves and Tracts
1.2.840.10008.6.1.205	3703	Wall Motion
1.2.840.10008.6.1.206	3704	Myocardium Wall Morphology Findings
1.2.840.10008.6.1.207	3705	Chamber Size
1.2.840.10008.6.1.208	3706	Overall Contractility
1.2.840.10008.6.1.209	3707	VSD Description
1.2.840.10008.6.1.210	3709	Aortic Root Description
1.2.840.10008.6.1.211	3710	Coronary Dominance
1.2.840.10008.6.1.212	3711	Valvular Abnormalities
1.2.840.10008.6.1.213	3712	Vessel Descriptors
1.2.840.10008.6.1.214	3713	TIMI Flow Characteristics
1.2.840.10008.6.1.215	3714	Thrombus
1.2.840.10008.6.1.216	3715	Lesion Margin
1.2.840.10008.6.1.217	3716	Severity
1.2.840.10008.6.1.218	3717	Myocardial Wall Segments
1.2.840.10008.6.1.219	3718	Myocardial Wall Segments in Projection
1.2.840.10008.6.1.220	3719	Canadian Clinical Classification
1.2.840.10008.6.1.221	3720	Cardiac History Dates (Retired)
1.2.840.10008.6.1.222	3721	Cardiovascular Surgeries
1.2.840.10008.6.1.223	3722	Diabetic Therapy
1.2.840.10008.6.1.224	3723	MI Types
1.2.840.10008.6.1.225	3724	Smoking History
1.2.840.10008.6.1.226	3726	Indications for Coronary Intervention
1.2.840.10008.6.1.227	3727	Indications for Catheterization
1.2.840.10008.6.1.228	3728	Cath Findings
1.2.840.10008.6.1.229	3729	Admission Status
1.2.840.10008.6.1.230	3730	Insurance Payor
1.2.840.10008.6.1.231	3733	Primary Cause of Death
1.2.840.10008.6.1.232	3735	Acute Coronary Syndrome Time Period
1.2.840.10008.6.1.233	3736	NYHA Classification
1.2.840.10008.6.1.234	3737	Non-Invasive Test - Ischemia
1.2.840.10008.6.1.235	3738	Pre-Cath Angina Type
1.2.840.10008.6.1.236	3739	Cath Procedure Type
1.2.840.10008.6.1.237	3740	Thrombolytic Administration
1.2.840.10008.6.1.238	3741	Medication Administration, Lab Visit
1.2.840.10008.6.1.239	3742	Medication Administration, PCI
1.2.840.10008.6.1.240	3743	Clopidogrel/Ticlopidine Administration
1.2.840.10008.6.1.241	3744	EF Testing Method
1.2.840.10008.6.1.242	3745	Calculation Method
1.2.840.10008.6.1.243	3746	Percutaneous Entry
1.2.840.10008.6.1.244	3747	Percutaneous Closure
1.2.840.10008.6.1.245	3748	Angiographic EF Testing Method
1.2.840.10008.6.1.246	3749	PCI Procedure Result
1.2.840.10008.6.1.247	3750	Previously Dilated Lesion
1.2.840.10008.6.1.248	3752	Guidewire Crossing
1.2.840.10008.6.1.249	3754	Vascular Complications
1.2.840.10008.6.1.250	3755	Cath Complications
1.2.840.10008.6.1.251	3756	Cardiac Patient Risk Factors
1.2.840.10008.6.1.252	3757	Cardiac Diagnostic Procedures
1.2.840.10008.6.1.253	3758	Cardiovascular Family History
1.2.840.10008.6.1.254	3760	Hypertension Therapy
1.2.840.10008.6.1.255	3761	Antilipemic agents
1.2.840.10008.6.1.256	3762	Antiarrhythmic agents
1.2.840.10008.6.1.257	3764	Myocardial Infarction Therapies
1.2.840.10008.6.1.258	3769	Concern Types
1.2.840.10008.6.1.259	3770	Problem Status
1.2.840.10008.6.1.260	3772	Health Status
1.2.840.10008.6.1.261	3773	Use Status
1.2.840.10008.6.1.262	3774	Social History
1.2.840.10008.6.1.263	3777	Implanted Devices
1.2.840.10008.6.1.264	3802	Plaque Structures
1.2.840.10008.6.1.265	3804	Stenosis Measurement Methods
1.2.840.10008.6.1.266	3805	Stenosis Types
1.2.840.10008.6.1.267	3806	Stenosis Shape
1.2.840.10008.6.1.268	3807	Volume Measurement Methods
1.2.840.10008.6.1.269	3808	Aneurysm Types
1.2.840.10008.6.1.270	3809	Associated Conditions
1.2.840.10008.6.1.271	3810	Vascular Morphology
1.2.840.10008.6.1.272	3813	Stent Findings
1.2.840.10008.6.1.273	3814	Stent Composition
1.2.840.10008.6.1.274	3815	Source of Vascular Finding
1.2.840.10008.6.1.275	3817	Vascular Sclerosis Types
1.2.840.10008.6.1.276	3820	Non-invasive Vascular Procedures
1.2.840.10008.6.1.277	3821	Papillary Muscle Included/Excluded
1.2.840.10008.6.1.278	3823	Respiratory Status
1.2.840.10008.6.1.279	3826	Heart Rhythm
1.2.840.10008.6.1.280	3827	Vessel Segments
1.2.840.10008.6.1.281	3829	Pulmonary Arteries
1.2.840.10008.6.1.282	3831	Stenosis Length
1.2.840.10008.6.1.283	3832	Stenosis Grade
1.2.840.10008.6.1.284	3833	Cardiac Ejection Fraction
1.2.840.10008.6.1.285	3835	Volume Measurements
1.2.840.10008.6.1.286	3836	Time-based Perfusion Measurements
1.2.840.10008.6.1.287	3837	Fiducial Feature
1.2.840.10008.6.1.288	3838	Diameter Derivation
1.2.840.10008.6.1.289	3839	Coronary Veins
1.2.840.10008.6.1.290	3840	Pulmonary Veins
1.2.840.10008.6.1.291	3843	Myocardial Subsegment
1.2.840.10008.6.1.292	4005	Partial View Section for Mammography
1.2.840.10008.6.1.293	4009	DX Anatomy Imaged
1.2.840.10008.6.1.294	4010	DX View
1.2.840.10008.6.1.295	4011	DX View Modifier
1.2.840.10008.6.1.296	4012	Projection Eponymous Name
1.2.840.10008.6.1.297	4013	Anatomic Region for Mammography
1.2.840.10008.6.1.298	4014	View for Mammography
1.2.840.10008.6.1.299	4015	View Modifier for Mammography
1.2.840.10008.6.1.300	4016	Anatomic Region for Intra-oral Radiography
1.2.840.10008.6.1.301	4017	Anatomic Region Modifier for Intra-oral Radiography
1.2.840.10008.6.1.302	4018	Primary Anatomic Structure for Intra-oral Radiography (Permanent Dentition - Designation of Teeth)
1.2.840.10008.6.1.303	4019	Primary Anatomic Structure for Intra-oral Radiography (Deciduous Dentition - Designation of Teeth)
1.2.840.10008.6.1.304	4020	PET Radionuclide
1.2.840.10008.6.1.305	4021	PET Radiopharmaceutical
1.2.840.10008.6.1.306	4028	Craniofacial Anatomic Regions
1.2.840.10008.6.1.307	4030	CT and MR Anatomy Imaged
1.2.840.10008.6.1.308	4031	Common Anatomic Regions
1.2.840.10008.6.1.309	4032	MR Spectroscopy Metabolites
1.2.840.10008.6.1.310	4033	MR Proton Spectroscopy Metabolites
1.2.840.10008.6.1.311	4040	Endoscopy Anatomic Regions
1.2.840.10008.6.1.312	4042	XA/XRF Anatomy Imaged
1.2.840.10008.6.1.313	4050	Drug or Contrast Agent Characteristics
1.2.840.10008.6.1.314	4051	General Devices
1.2.840.10008.6.1.315	4052	Phantom Devices
1.2.840.10008.6.1.316	4200	Ophthalmic Imaging Agent
1.2.840.10008.6.1.317	4201	Patient Eye Movement Command
1.2.840.10008.6.1.318	4202	Ophthalmic Photography Acquisition Device
1.2.840.10008.6.1.319	4203	Ophthalmic Photography Illumination
1.2.840.10008.6.1.320	4204	Ophthalmic Filter
1.2.840.10008.6.1.321	4205	Ophthalmic Lens
1.2.840.10008.6.1.322	4206	Ophthalmic Channel Description
1.2.840.10008.6.1.323	4207	Ophthalmic Image Position
1.2.840.10008.6.1.324	4208	Mydriatic Agent
1.2.840.10008.6.1.325	4209	Ophthalmic Anatomic Structure Imaged
1.2.840.10008.6.1.326	4210	Ophthalmic Tomography Acquisition Device
1.2.840.10008.6.1.327	4211	Ophthalmic OCT Anatomic Structure Imaged
1.2.840.10008.6.1.328	5000	Languages
1.2.840.10008.6.1.329	5001	Countries
1.2.840.10008.6.1.330	6000	Overall Breast Composition
1.2.840.10008.6.1.331	6001	Overall Breast Composition from BI-RADS®
1.2.840.10008.6.1.332	6002	Change Since Last Mammogram or Prior Surgery
1.2.840.10008.6.1.333	6003	Change Since Last Mammogram or Prior Surgery from BI-RADS®
1.2.840.10008.6.1.334	6004	Mammography Characteristics of Shape
1.2.840.10008.6.1.335	6005	Characteristics of Shape from BI-RADS®
1.2.840.10008.6.1.336	6006	Mammography Characteristics of Margin
1.2.840.10008.6.1.337	6007	Characteristics of Margin from BI-RADS®
1.2.840.10008.6.1.338	6008	Density Modifier
1.2.840.10008.6.1.339	6009	Density Modifier from BI-RADS®
1.2.840.10008.6.1.340	6010	Mammography Calcification Types
1.2.840.10008.6.1.341	6011	Calcification Types from BI-RADS®
1.2.840.10008.6.1.342	6012	Calcification Distribution Modifier
1.2.840.10008.6.1.343	6013	Calcification Distribution Modifier from BI-RADS®
1.2.840.10008.6.1.344	6014	Mammography Single Image Finding
1.2.840.10008.6.1.345	6015	Single Image Finding from BI-RADS®
1.2.840.10008.6.1.346	6016	Mammography Composite Feature
1.2.840.10008.6.1.347	6017	Composite Feature from BI-RADS®
1.2.840.10008.6.1.348	6018	Clockface Location or Region
1.2.840.10008.6.1.349	6019	Clockface Location or Region from BI-RADS®
1.2.840.10008.6.1.350	6020	Quadrant Location
1.2.840.10008.6.1.351	6021	Quadrant Location from BI-RADS®
1.2.840.10008.6.1.352	6022	Side
1.2.840.10008.6.1.353	6023	Side from BI-RADS®
1.2.840.10008.6.1.354	6024	Depth
1.2.840.10008.6.1.355	6025	Depth from BI-RADS®
1.2.840.10008.6.1.356	6026	Mammography Assessment
1.2.840.10008.6.1.357	6027	Assessment from BI-RADS®
1.2.840.10008.6.1.358	6028	Mammography Recommended Follow-up
1.2.840.10008.6.1.359	6029	Recommended Follow-up from BI-RADS®
1.2.840.10008.6.1.360	6030	Mammography Pathology Codes
1.2.840.10008.6.1.361	6031	Benign Pathology Codes from BI-RADS®
1.2.840.10008.6.1.362	6032	High Risk Lesions Pathology Codes from BI-RADS®
1.2.840.10008.6.1.363	6033	Malignant Pathology Codes from BI-RADS®
1.2.840.10008.6.1.364	6034	Intended Use of CAD Output
1.2.840.10008.6.1.365	6035	Composite Feature Relations
1.2.840.10008.6.1.366	6036	Scope of Feature
1.2.840.10008.6.1.367	6037	Mammography Quantitative Temporal Difference Type
1.2.840.10008.6.1.368	6038	Mammography Qualitative Temporal Difference Type
1.2.840.10008.6.1.369	6039	Nipple Characteristic
1.2.840.10008.6.1.370	6040	Non-Lesion Object Type
1.2.840.10008.6.1.371	6041	Mammography Image Quality Finding
1.2.840.10008.6.1.372	6042	Status of Results
1.2.840.10008.6.1.373	6043	Types of Mammography CAD Analysis
1.2.840.10008.6.1.374	6044	Types of Image Quality Assessment
1.2.840.10008.6.1.375	6045	Mammography Types of Quality Control Standard
1.2.840.10008.6.1.376	6046	Units of Follow-up Interval
1.2.840.10008.6.1.377	6047	CAD Processing and Findings Summary
1.2.840.10008.6.1.378	6048	CAD Operating Point Axis Label
1.2.840.10008.6.1.379	6050	Breast Procedure Reported
1.2.840.10008.6.1.380	6051	Breast Procedure Reason
1.2.840.10008.6.1.381	6052	Breast Imaging Report section title
1.2.840.10008.6.1.382	6053	Breast Imaging Report Elements
1.2.840.10008.6.1.383	6054	Breast Imaging Findings
1.2.840.10008.6.1.384	6055	Breast Clinical Finding or Indicated Problem
1.2.840.10008.6.1.385	6056	Associated Findings for Breast
1.2.840.10008.6.1.386	6057	Ductography Findings for Breast
1.2.840.10008.6.1.387	6058	Procedure Modifiers for Breast
1.2.840.10008.6.1.388	6059	Breast Implant Types
1.2.840.10008.6.1.389	6060	Breast Biopsy Techniques
1.2.840.10008.6.1.390	6061	Breast Imaging Procedure Modifiers
1.2.840.10008.6.1.391	6062	Interventional Procedure Complications
1.2.840.10008.6.1.392	6063	Interventional Procedure Results
1.2.840.10008.6.1.393	6064	Ultrasound Findings for Breast
1.2.840.10008.6.1.394	6065	Instrument Approach
1.2.840.10008.6.1.395	6066	Target Confirmation
1.2.840.10008.6.1.396	6067	Fluid Color
1.2.840.10008.6.1.397	6068	Tumor Stages from AJCC
1.2.840.10008.6.1.398	6069	Nottingham Combined Histologic Grade
1.2.840.10008.6.1.399	6070	Bloom-Richardson Histologic Grade
1.2.840.10008.6.1.400	6071	Histologic Grading Method
1.2.840.10008.6.1.401	6072	Breast Implant Findings
1.2.840.10008.6.1.402	6080	Gynecological Hormones
1.2.840.10008.6.1.403	6081	Breast Cancer Risk Factors
1.2.840.10008.6.1.404	6082	Gynecological Procedures
1.2.840.10008.6.1.405	6083	Procedures for Breast
1.2.840.10008.6.1.406	6084	Mammoplasty Procedures
1.2.840.10008.6.1.407	6085	Therapies for Breast
1.2.840.10008.6.1.408	6086	Menopausal Phase
1.2.840.10008.6.1.409	6087	General Risk Factors
1.2.840.10008.6.1.410	6088	OB-GYN Maternal Risk Factors
1.2.840.10008.6.1.411	6089	Substances
1.2.840.10008.6.1.412	6090	Relative Usage, Exposure Amount
1.2.840.10008.6.1.413	6091	Relative Frequency of Event Values
1.2.840.10008.6.1.414	6092	Quantitative Concepts for Usage, Exposure
1.2.840.10008.6.1.415	6093	Qualitative Concepts for Usage, Exposure Amount
1.2.840.10008.6.1.416	6094	QuaLItative Concepts for Usage, Exposure Frequency
1.2.840.10008.6.1.417	6095	Numeric Properties of Procedures
1.2.840.10008.6.1.418	6096	Pregnancy Status
1.2.840.10008.6.1.419	6097	Side of Family
1.2.840.10008.6.1.420	6100	Chest Component Categories
1.2.840.10008.6.1.421	6101	Chest Finding or Feature
1.2.840.10008.6.1.422	6102	Chest Finding or Feature Modifier
1.2.840.10008.6.1.423	6103	Abnormal Lines Finding or Feature
1.2.840.10008.6.1.424	6104	Abnormal Opacity Finding or Feature
1.2.840.10008.6.1.425	6105	Abnormal Lucency Finding or Feature
1.2.840.10008.6.1.426	6106	Abnormal Texture Finding or Feature
1.2.840.10008.6.1.427	6107	Width Descriptor
1.2.840.10008.6.1.428	6108	Chest Anatomic Structure Abnormal Distribution
1.2.840.10008.6.1.429	6109	Radiographic Anatomy Finding or Feature
1.2.840.10008.6.1.430	6110	Lung Anatomy Finding or Feature
1.2.840.10008.6.1.431	6111	Bronchovascular Anatomy Finding or Feature
1.2.840.10008.6.1.432	6112	Pleura Anatomy Finding or Feature
1.2.840.10008.6.1.433	6113	Mediastinum Anatomy Finding or Feature
1.2.840.10008.6.1.434	6114	Osseous Anatomy Finding or Feature
1.2.840.10008.6.1.435	6115	Osseous Anatomy Modifiers
1.2.840.10008.6.1.436	6116	Muscular Anatomy
1.2.840.10008.6.1.437	6117	Vascular Anatomy
1.2.840.10008.6.1.438	6118	Size Descriptor
1.2.840.10008.6.1.439	6119	Chest Border Shape
1.2.840.10008.6.1.440	6120	Chest Border Definition
1.2.840.10008.6.1.441	6121	Chest Orientation Descriptor
1.2.840.10008.6.1.442	6122	Chest Content Descriptor
1.2.840.10008.6.1.443	6123	Chest Opacity Descriptor
1.2.840.10008.6.1.444	6124	Location in Chest
1.2.840.10008.6.1.445	6125	General Chest Location
1.2.840.10008.6.1.446	6126	Location in Lung
1.2.840.10008.6.1.447	6127	Segment Location in Lung
1.2.840.10008.6.1.448	6128	Chest Distribution Descriptor
1.2.840.10008.6.1.449	6129	Chest Site Involvement
1.2.840.10008.6.1.450	6130	Severity Descriptor
1.2.840.10008.6.1.451	6131	Chest Texture Descriptor
1.2.840.10008.6.1.452	6132	Chest Calcification Descriptor
1.2.840.10008.6.1.453	6133	Chest Quantitative Temporal Difference Type
1.2.840.10008.6.1.454	6134	Qualitative Temporal Difference Type
1.2.840.10008.6.1.455	6135	Image Quality Finding
1.2.840.10008.6.1.456	6136	Chest Types of Quality Control Standard
1.2.840.10008.6.1.457	6137	Types of CAD Analysis
1.2.840.10008.6.1.458	6138	Chest Non-Lesion Object Type
1.2.840.10008.6.1.459	6139	Non-Lesion Modifiers
1.2.840.10008.6.1.460	6140	Calculation Methods
1.2.840.10008.6.1.461	6141	Attenuation Coefficient Measurements
1.2.840.10008.6.1.462	6142	Calculated Value
1.2.840.10008.6.1.463	6143	Response Criteria
1.2.840.10008.6.1.464	6144	RECIST Response Criteria
1.2.840.10008.6.1.465	6145	Baseline Category
1.2.840.10008.6.1.466	6151	Background echotexture
1.2.840.10008.6.1.467	6152	Orientation
1.2.840.10008.6.1.468	6153	Lesion boundary
1.2.840.10008.6.1.469	6154	Echo pattern
1.2.840.10008.6.1.470	6155	Posterior acoustic features
1.2.840.10008.6.1.471	6157	Vascularity
1.2.840.10008.6.1.472	6158	Correlation to Other Findings
1.2.840.10008.6.1.473	6159	Malignancy Type
1.2.840.10008.6.1.474	6160	Breast Primary Tumor Assessment from AJCC
1.2.840.10008.6.1.475	6161	Clinical Regional Lymph Node Assessment for Breast
1.2.840.10008.6.1.476	6162	Assessment of Metastasis for Breast
1.2.840.10008.6.1.477	6163	Menstrual Cycle Phase
1.2.840.10008.6.1.478	6164	Time Intervals
1.2.840.10008.6.1.479	6165	Breast Linear Measurements
1.2.840.10008.6.1.480	6166	CAD Geometry Secondary Graphical Representation
1.2.840.10008.6.1.481	7000	Diagnostic Imaging Report Document Titles
1.2.840.10008.6.1.482	7001	Diagnostic Imaging Report Headings
1.2.840.10008.6.1.483	7002	Diagnostic Imaging Report Elements
1.2.840.10008.6.1.484	7003	Diagnostic Imaging Report Purposes of Reference
1.2.840.10008.6.1.485	7004	Waveform Purposes of Reference
1.2.840.10008.6.1.486	7005	Contributing Equipment Purposes of Reference
1.2.840.10008.6.1.487	7006	SR Document Purposes of Reference
1.2.840.10008.6.1.488	7007	Signature Purpose
1.2.840.10008.6.1.489	7008	Media Import
1.2.840.10008.6.1.490	7010	Key Object Selection Document Title
1.2.840.10008.6.1.491	7011	Rejected for Quality Reasons
1.2.840.10008.6.1.492	7012	Best In Set
1.2.840.10008.6.1.493	7020	Document Titles
1.2.840.10008.6.1.494	7100	RCS Registration Method Type
1.2.840.10008.6.1.495	7101	Brain Atlas Fiducials
1.2.840.10008.6.1.496	7150	Segmentation Property Categories
1.2.840.10008.6.1.497	7151	Segmentation Property Types
1.2.840.10008.6.1.498	7152	Cardiac Structure Segmentation Types
1.2.840.10008.6.1.499	7153	Brain Tissue Segmentation Types
1.2.840.10008.6.1.500	7154	Abdominal Organ Segmentation Types
1.2.840.10008.6.1.501	7155	Thoracic Tissue Segmentation Types
1.2.840.10008.6.1.502	7156	Vascular Tissue Segmentation Types
1.2.840.10008.6.1.503	7157	Device Segmentation Types
1.2.840.10008.6.1.504	7158	Artifact Segmentation Types
1.2.840.10008.6.1.505	7159	Lesion Segmentation Types
1.2.840.10008.6.1.506	7160	Pelvic Organ Segmentation Types
1.2.840.10008.6.1.507	7161	Physiology Segmentation Types
1.2.840.10008.6.1.508	7201	Referenced Image Purposes of Reference
1.2.840.10008.6.1.509	7202	Source Image Purposes of Reference
1.2.840.10008.6.1.510	7203	Image Derivation
1.2.840.10008.6.1.511	7205	Purpose Of Reference to Alternate Representation
1.2.840.10008.6.1.512	7210	Related Series Purposes Of Reference
1.2.840.10008.6.1.513	7250	Multi-frame Subset Type
1.2.840.10008.6.1.514	7450	Person Roles
1.2.840.10008.6.1.515	7451	Family Member
1.2.840.10008.6.1.516	7452	Organizational Roles
1.2.840.10008.6.1.517	7453	Performing Roles
1.2.840.10008.6.1.518	7454	Species
1.2.840.10008.6.1.519	7455	Sex
1.2.840.10008.6.1.520	7456	Units of Measure for Age
1.2.840.10008.6.1.521	7460	Units of Linear Measurement
1.2.840.10008.6.1.522	7461	Units of Area Measurement
1.2.840.10008.6.1.523	7462	Units of Volume Measurement
1.2.840.10008.6.1.524	7470	Linear Measurements
1.2.840.10008.6.1.525	7471	Area Measurements
1.2.840.10008.6.1.526	7472	Volume Measurements
1.2.840.10008.6.1.527	7473	General Area Calculation Methods
1.2.840.10008.6.1.528	7474	General Volume Calculation Methods
1.2.840.10008.6.1.529	7480	Breed
1.2.840.10008.6.1.530	7481	Breed Registry
1.2.840.10008.6.1.531	9231	General Purpose Workitem Definition
1.2.840.10008.6.1.532	9232	Non-DICOM Output Types
1.2.840.10008.6.1.533	9300	Procedure Discontinuation Reasons
1.2.840.10008.6.1.534	10000	Scope of Accumulation
1.2.840.10008.6.1.535	10001	UID Types
1.2.840.10008.6.1.536	10002	Irradiation Event Types
1.2.840.10008.6.1.537	10003	Equipment Plane Identification
1.2.840.10008.6.1.538	10004	Fluoro Modes
1.2.840.10008.6.1.539	10006	X-Ray Filter Materials
1.2.840.10008.6.1.540	10007	X-Ray Filter Types
1.2.840.10008.6.1.541	10008	Dose Related Distance Measurements
1.2.840.10008.6.1.542	10009	Measured/Calculated
1.2.840.10008.6.1.543	10010	Dose Measurement Devices
1.2.840.10008.6.1.544	10011	Effective Dose Evaluation Method
1.2.840.10008.6.1.545	10013	CT Acquisition Type
1.2.840.10008.6.1.546	10014	Contrast Imaging Technique
1.2.840.10008.6.1.547	10015	CT Dose Reference Authorities
1.2.840.10008.6.1.548	10016	Anode Target Material
1.2.840.10008.6.1.549	10017	X-Ray Grid
1.2.840.10008.6.1.550	12001	Ultrasound Protocol Types
1.2.840.10008.6.1.551	12002	Ultrasound Protocol Stage Types
1.2.840.10008.6.1.552	12003	OB-GYN Dates
1.2.840.10008.6.1.553	12004	Fetal Biometry Ratios
1.2.840.10008.6.1.554	12005	Fetal Biometry Measurements
1.2.840.10008.6.1.555	12006	Fetal Long Bones Biometry Measurements
1.2.840.10008.6.1.556	12007	Fetal Cranium
1.2.840.10008.6.1.557	12008	OB-GYN Amniotic Sac
1.2.840.10008.6.1.558	12009	Early Gestation Biometry Measurements
1.2.840.10008.6.1.559	12011	Ultrasound Pelvis and Uterus
1.2.840.10008.6.1.560	12012	OB Equations and Tables
1.2.840.10008.6.1.561	12013	Gestational Age Equations and Tables
1.2.840.10008.6.1.562	12014	OB Fetal Body Weight Equations and Tables
1.2.840.10008.6.1.563	12015	Fetal Growth Equations and Tables
1.2.840.10008.6.1.564	12016	Estimated Fetal Weight Percentile Equations and Tables
1.2.840.10008.6.1.565	12017	Growth Distribution Rank
1.2.840.10008.6.1.566	12018	OB-GYN Summary
1.2.840.10008.6.1.567	12019	OB-GYN Fetus Summary
1.2.840.10008.6.1.568	12101	Vascular Summary
1.2.840.10008.6.1.569	12102	Temporal Periods Relating to Procedure or Therapy
1.2.840.10008.6.1.570	12103	Vascular Ultrasound Anatomic Location
1.2.840.10008.6.1.571	12104	Extracranial Arteries
1.2.840.10008.6.1.572	12105	Intracranial Cerebral Vessels
1.2.840.10008.6.1.573	12106	Intracranial Cerebral Vessels (unilateral)
1.2.840.10008.6.1.574	12107	Upper Extremity Arteries
1.2.840.10008.6.1.575	12108	Upper Extremity Veins
1.2.840.10008.6.1.576	12109	Lower Extremity Arteries
1.2.840.10008.6.1.577	12110	Lower Extremity Veins
1.2.840.10008.6.1.578	12111	Abdominal Arteries (lateral)
1.2.840.10008.6.1.579	12112	Abdominal Arteries (unilateral)
1.2.840.10008.6.1.580	12113	Abdominal Veins (lateral)
1.2.840.10008.6.1.581	12114	Abdominal Veins (unilateral)
1.2.840.10008.6.1.582	12115	Renal Vessels
1.2.840.10008.6.1.583	12116	Vessel Segment Modifiers
1.2.840.10008.6.1.584	12117	Vessel Branch Modifiers
1.2.840.10008.6.1.585	12119	Vascular Ultrasound Property
1.2.840.10008.6.1.586	12120	Blood Velocity Measurements
1.2.840.10008.6.1.587	12121	Vascular Indices and Ratios
1.2.840.10008.6.1.588	12122	Other Vascular Properties
1.2.840.10008.6.1.589	12123	Carotid Ratios
1.2.840.10008.6.1.590	12124	Renal Ratios
1.2.840.10008.6.1.591	12140	Pelvic Vasculature Anatomical Location
1.2.840.10008.6.1.592	12141	Fetal Vasculature Anatomical Location
1.2.840.10008.6.1.593	12200	Echocardiography Left Ventricle
1.2.840.10008.6.1.594	12201	Left Ventricle Linear
1.2.840.10008.6.1.595	12202	Left Ventricle Volume
1.2.840.10008.6.1.596	12203	Left Ventricle Other
1.2.840.10008.6.1.597	12204	Echocardiography Right Ventricle
1.2.840.10008.6.1.598	12205	Echocardiography Left Atrium
1.2.840.10008.6.1.599	12206	Echocardiography Right Atrium
1.2.840.10008.6.1.600	12207	Echocardiography Mitral Valve
1.2.840.10008.6.1.601	12208	Echocardiography Tricuspid Valve
1.2.840.10008.6.1.602	12209	Echocardiography Pulmonic Valve
1.2.840.10008.6.1.603	12210	Echocardiography Pulmonary Artery
1.2.840.10008.6.1.604	12211	Echocardiography Aortic Valve
1.2.840.10008.6.1.605	12212	Echocardiography Aorta
1.2.840.10008.6.1.606	12214	Echocardiography Pulmonary Veins
1.2.840.10008.6.1.607	12215	Echocardiography Vena Cavae
1.2.840.10008.6.1.608	12216	Echocardiography Hepatic Veins
1.2.840.10008.6.1.609	12217	Echocardiography Cardiac Shunt
1.2.840.10008.6.1.610	12218	Echocardiography Congenital
1.2.840.10008.6.1.611	12219	Pulmonary Vein Modifiers
1.2.840.10008.6.1.612	12220	Echocardiography Common Measurements
1.2.840.10008.6.1.613	12221	Flow Direction
1.2.840.10008.6.1.614	12222	Orifice Flow Properties
1.2.840.10008.6.1.615	12223	Echocardiography Stroke Volume Origin
1.2.840.10008.6.1.616	12224	Ultrasound Image Modes
1.2.840.10008.6.1.617	12226	Echocardiography Image View
1.2.840.10008.6.1.618	12227	Echocardiography Measurement Method
1.2.840.10008.6.1.619	12228	Echocardiography Volume Methods
1.2.840.10008.6.1.620	12229	Echocardiography Area Methods
1.2.840.10008.6.1.621	12230	Gradient Methods
1.2.840.10008.6.1.622	12231	Volume Flow Methods
1.2.840.10008.6.1.623	12232	Myocardium Mass Methods
1.2.840.10008.6.1.624	12233	Cardiac Phase
1.2.840.10008.6.1.625	12234	Respiration State
1.2.840.10008.6.1.626	12235	Mitral Valve Anatomic Sites
1.2.840.10008.6.1.627	12236	Echo Anatomic Sites
1.2.840.10008.6.1.628	12237	Echocardiography Anatomic Site Modifiers
1.2.840.10008.6.1.629	12238	Wall Motion Scoring Schemes
1.2.840.10008.6.1.630	12239	Cardiac Output Properties
1.2.840.10008.6.1.631	12240	Left Ventricle Area
1.2.840.10008.6.1.632	12241	Tricuspid Valve Finding Sites
1.2.840.10008.6.1.633	12242	Aortic Valve Finding Sites
1.2.840.10008.6.1.634	12243	Left Ventricle Finding Sites
1.2.840.10008.6.1.635	12244	Congenital Finding Sites
1.2.840.10008.6.1.636	7162	Surface Processing Algorithm Families
1.2.840.10008.6.1.637	3207	Stress Test Procedure Phases
1.2.840.10008.6.1.638	3778	Stages
1.2.840.10008.6.1.735	252	S-M-L Size Descriptor
1.2.840.10008.6.1.736	3016	Major Coronary Arteries
1.2.840.10008.6.1.737	3083	Units of Radioactivity
1.2.840.10008.6.1.738	3102	Rest-Stress
1.2.840.10008.6.1.739	3106	PET Cardiology Protocols
1.2.840.10008.6.1.740	3107	PET Cardiology Radiopharmaceuticals
1.2.840.10008.6.1.741	3108	NM/PET Procedures
1.2.840.10008.6.1.742	3110	Nuclear Cardiology Protocols
1.2.840.10008.6.1.743	3111	Nuclear Cardiology Radiopharmaceuticals
1.2.840.10008.6.1.744	3112	Attenuation Correction
1.2.840.10008.6.1.745	3113	Types of Perfusion Defects
1.2.840.10008.6.1.746	3114	Study Quality
1.2.840.10008.6.1.747	3115	Stress Imaging Quality Issues
1.2.840.10008.6.1.748	3116	NM Extracardiac Findings
1.2.840.10008.6.1.749	3117	Attenuation Correction Methods
1.2.840.10008.6.1.750	3118	Level of Risk
1.2.840.10008.6.1.751	3119	LV Function
1.2.840.10008.6.1.752	3120	Perfusion Findings
1.2.840.10008.6.1.753	3121	Perfusion Morphology
1.2.840.10008.6.1.754	3122	Ventricular Enlargement
1.2.840.10008.6.1.755	3200	Stress Test Procedure
1.2.840.10008.6.1.756	3201	Indications for Stress Test
1.2.840.10008.6.1.757	3202	Chest Pain
1.2.840.10008.6.1.758	3203	Exerciser Device
1.2.840.10008.6.1.759	3204	Stress Agents
1.2.840.10008.6.1.760	3205	Indications for Pharmacological Stress Test
1.2.840.10008.6.1.761	3206	Non-invasive Cardiac Imaging Procedures
1.2.840.10008.6.1.762	3207	Stress Test Procedure Phases
1.2.840.10008.6.1.763	3208	Summary Codes Exercise ECG
1.2.840.10008.6.1.764	3209	Summary Codes Stress Imaging
1.2.840.10008.6.1.765	3210	Speed of Response
1.2.840.10008.6.1.766	3211	BP Response
1.2.840.10008.6.1.767	3212	Treadmill Speed
1.2.840.10008.6.1.768	3213	Stress Hemodynamic Findings
1.2.840.10008.6.1.769	3215	Perfusion Finding Method
1.2.840.10008.6.1.770	3217	Comparison Finding
1.2.840.10008.6.1.771	3220	Stress Symptoms
1.2.840.10008.6.1.772	3221	Stress Test Termination Reasons
1.2.840.10008.6.1.773	3227	QTc Measurements
1.2.840.10008.6.1.774	3228	ECG Timing Measurements
1.2.840.10008.6.1.775	3229	ECG Axis Measurements
1.2.840.10008.6.1.776	3230	ECG Findings
1.2.840.10008.6.1.777	3231	ST Segment Findings
1.2.840.10008.6.1.778	3232	ST Segment Location
1.2.840.10008.6.1.779	3233	ST Segment Morphology
1.2.840.10008.6.1.780	3234	Ectopic Beat Morphology
1.2.840.10008.6.1.781	3235	Perfusion Comparison Findings
1.2.840.10008.6.1.782	3236	Tolerance Comparison Findings
1.2.840.10008.6.1.783	3237	Wall Motion Comparison Findings
1.2.840.10008.6.1.784	3238	Stress Scoring Scales
1.2.840.10008.6.1.785	3239	Perceived Exertion Scales
1.2.840.10008.6.1.786	3463	Ventricle Identification
1.2.840.10008.6.1.787	6200	Colon Overall Assessment
1.2.840.10008.6.1.788	6201	Colon Finding or Feature
1.2.840.10008.6.1.789	6202	Colon Finding or Feature Modifier
1.2.840.10008.6.1.790	6203	Colon Non-Lesion Object Type
1.2.840.10008.6.1.791	6204	Anatomic Non-Colon Findings
1.2.840.10008.6.1.792	6205	Clockface Location for Colon
1.2.840.10008.6.1.793	6206	Recumbent Patient Orientation for Colon
1.2.840.10008.6.1.794	6207	Colon Quantitative Temporal Difference Type
1.2.840.10008.6.1.795	6208	Colon Types of Quality Control Standard
1.2.840.10008.6.1.796	6209	Colon Morphology Descriptor
1.2.840.10008.6.1.797	6210	Location in Intestinal Tract
1.2.840.10008.6.1.798	6211	Attenuation Coefficient Descriptors
1.2.840.10008.6.1.799	6212	Calculated Value for Colon Findings
1.2.840.10008.6.1.800	4214	Ophthalmic Horizontal Directions
1.2.840.10008.6.1.801	4215	Ophthalmic Vertical Directions
1.2.840.10008.6.1.802	4216	Ophthalmic Visual Acuity Type
1.2.840.10008.6.1.803	3004	Arterial Pulse Waveform
1.2.840.10008.6.1.804	3005	Respiration Waveform
1.2.840.10008.6.1.805	12030	Ultrasound Contrast/Bolus Agents
1.2.840.10008.6.1.806	12031	Protocol Interval Events
1.2.840.10008.6.1.807	12032	Transducer Scan Pattern
1.2.840.10008.6.1.808	12033	Ultrasound Transducer Geometry
1.2.840.10008.6.1.809	12034	Ultrasound Transducer Beam Steering
1.2.840.10008.6.1.810	12035	Ultrasound Transducer Application
1.2.840.10008.6.1.811	50	Instance Availability Status
1.2.840.10008.6.1.812	9301	Modality PPS Discontinuation Reasons
1.2.840.10008.6.1.813	9302	Media Import PPS Discontinuation Reasons
1.2.840.10008.6.1.814	7482	DX Anatomy Imaged for Animals
1.2.840.10008.6.1.815	7483	Common Anatomic Regions for Animals
1.2.840.10008.6.1.816	7484	DX View for Animals
1.2.840.10008.6.1.817	7030	Institutional Departments, Units and Services
1.2.840.10008.6.1.818	7009	Purpose Of Reference to Predecessor Report
1.2.840.10008.6.1.819	4220	Visual Fixation Quality During Acquisition
1.2.840.10008.6.1.820	4221	Visual Fixation Quality Problem
1.2.840.10008.6.1.821	4222	Ophthalmic Macular Grid Problem
1.2.840.10008.6.1.822	5002	Organizations
1.2.840.10008.6.1.823	7486	Mixed Breeds

Annex B	Well-known Color Palettes (Normative)
B.1 Standard Color Palettes
Table B.1-1 lists the color palettes that are defined by the DICOM Standard.
Table B.1-1
Standard Color Palettes
Well-known SOP Instance UID	Content Label (0070,0080)	Content Description (0070,0081)	Section	URL of Reference Encoded Instance
1.2.840.10008.1.5.1	HOT_IRON	Hot Iron	B.1.1	ftp://medical.nema.org/Medical/Dicom/Palettes/hotiron.dcm
1.2.840.10008.1.5.2	PET	PET	B.1.2	ftp://medical.nema.org/Medical/Dicom/Palettes/pet.dcm
1.2.840.10008.1.5.3	HOT_METAL_BLUE	Hot Metal Blue	B.1.3	ftp://medical.nema.org/Medical/Dicom/Palettes/hotmetalblue.dcm
1.2.840.10008.1.5.4	PET_20_STEP	PET 20 Step	B.1.4	ftp://medical.nema.org/Medical/Dicom/Palettes/pet20step.dcm

B.1.1 Hot Iron Color Palette
B.1.1.1 Hot Iron Color Palette Description (Informative)
The Hot Iron color palette is often used in nuclear medicine applications to make differences in signal intensity (counts) more apparent to the human observer. A typical example is illustrated in Figure B.1.1.1-1.
Figure B.1.1.1-1
Nuclear Medicine image with and without Hot Iron Palette applied.
B.1.1.2 Hot Iron Color Palette Definition
The ICC Profile shall define the sRGB space.
The value of Content Label (0070,0080) shall be “HOT_IRON”.
This color palette is defined to contain the values for Red Palette Color Lookup Table Descriptor (0028,1101), Green Palette Color Lookup Table Descriptor (0028,1102) and Blue Palette Color Lookup Table Descriptor (0028,1103) defined in Table B.1.1.2-1.
Table B.1.1.2-1
Hot Iron Color Palette Descriptor
Value 1 (Number of entries)	Value 2 (First value mapped)	Value 3 (Number of bits)
256	0	8

This color palette is defined to contain the values in Table B.1.1.2-2, where the values in the columns Red,Green and Blue are the values of the Red Palette Color Lookup Table Data (0028,1201), Green Palette Color Lookup Table Data (0028,1202) and Blue Palette Color Lookup Table Data (0028,1203), respectively.
Table B.1.1.2-2
Hot Iron Color Palette Data
Red	Green	Blue
0	0	0
2	0	0
4	0	0
6	0	0
8	0	0
10	0	0
12	0	0
14	0	0
16	0	0
18	0	0
20	0	0
22	0	0
24	0	0
26	0	0
28	0	0
30	0	0
32	0	0
34	0	0
36	0	0
38	0	0
40	0	0
42	0	0
44	0	0
46	0	0
48	0	0
50	0	0
52	0	0
54	0	0
56	0	0
58	0	0
60	0	0
62	0	0
64	0	0
66	0	0
68	0	0
70	0	0
72	0	0
74	0	0
76	0	0
78	0	0
80	0	0
82	0	0
84	0	0
86	0	0
88	0	0
90	0	0
92	0	0
94	0	0
96	0	0
98	0	0
100	0	0
102	0	0
104	0	0
106	0	0
108	0	0
110	0	0
112	0	0
114	0	0
116	0	0
118	0	0
120	0	0
122	0	0
124	0	0
126	0	0
128	0	0
130	0	0
132	0	0
134	0	0
136	0	0
138	0	0
140	0	0
142	0	0
144	0	0
146	0	0
148	0	0
150	0	0
152	0	0
154	0	0
156	0	0
158	0	0
160	0	0
162	0	0
164	0	0
166	0	0
168	0	0
170	0	0
172	0	0
174	0	0
176	0	0
178	0	0
180	0	0
182	0	0
184	0	0
186	0	0
188	0	0
190	0	0
192	0	0
194	0	0
196	0	0
198	0	0
200	0	0
202	0	0
204	0	0
206	0	0
208	0	0
210	0	0
212	0	0
214	0	0
216	0	0
218	0	0
220	0	0
222	0	0
224	0	0
226	0	0
228	0	0
230	0	0
232	0	0
234	0	0
236	0	0
238	0	0
240	0	0
242	0	0
244	0	0
246	0	0
248	0	0
250	0	0
252	0	0
254	0	0
255	0	0
255	2	0
255	4	0
255	6	0
255	8	0
255	10	0
255	12	0
255	14	0
255	16	0
255	18	0
255	20	0
255	22	0
255	24	0
255	26	0
255	28	0
255	30	0
255	32	0
255	34	0
255	36	0
255	38	0
255	40	0
255	42	0
255	44	0
255	46	0
255	48	0
255	50	0
255	52	0
255	54	0
255	56	0
255	58	0
255	60	0
255	62	0
255	64	0
255	66	0
255	68	0
255	70	0
255	72	0
255	74	0
255	76	0
255	78	0
255	80	0
255	82	0
255	84	0
255	86	0
255	88	0
255	90	0
255	92	0
255	94	0
255	96	0
255	98	0
255	100	0
255	102	0
255	104	0
255	106	0
255	108	0
255	110	0
255	112	0
255	114	0
255	116	0
255	118	0
255	120	0
255	122	0
255	124	0
255	126	0
255	128	4
255	130	8
255	132	12
255	134	16
255	136	20
255	138	24
255	140	28
255	142	32
255	144	36
255	146	40
255	148	44
255	150	48
255	152	52
255	154	56
255	156	60
255	158	64
255	160	68
255	162	72
255	164	76
255	166	80
255	168	84
255	170	88
255	172	92
255	174	96
255	176	100
255	178	104
255	180	108
255	182	112
255	184	116
255	186	120
255	188	124
255	190	128
255	192	132
255	194	136
255	196	140
255	198	144
255	200	148
255	202	152
255	204	156
255	206	160
255	208	164
255	210	168
255	212	172
255	214	176
255	216	180
255	218	184
255	220	188
255	222	192
255	224	196
255	226	200
255	228	204
255	230	208
255	232	212
255	234	216
255	236	220
255	238	224
255	240	228
255	242	232
255	244	236
255	246	240
255	248	244
255	250	248
255	252	252
255	255	255

B.1.2 PET Color Palette
B.1.2.1 PET Color Palette Description (Informative)
The PET color palette is often used in PET applications to pseudo-color the superimposed PET images when displayed fused with underlying CT images. A typical example is illustrated in Figure B.1.2.1-1.
Figure B.1.2.1-1
PET image with PET Palette superimposed over grayscale CT image.
B.1.2.2 PET Color Palette Definition
The ICC Profile shall define the sRGB space.
The value of Content Label (0070,0080) shall be “PET”.
This color palette is defined to contain the values for Red Palette Color Lookup Table Descriptor (0028,1101), Green Palette Color Lookup Table Descriptor (0028,1102) and Blue Palette Color Lookup Table Descriptor (0028,1103) defined in Table B.1.2.2-1.
Table B.1.2.2-1
PET Color Palette Descriptor
Value 1 (Number of entries)	Value 2 (First value mapped)	Value 3 (Number of bits)
256	0	8

This color palette is defined to contain the values in Table B.1.2.2-2, where the values in the columns Red,Green and Blue are the values of the Red Palette Color Lookup Table Data (0028,1201), Green Palette Color Lookup Table Data (0028,1202) and Blue Palette Color Lookup Table Data (0028,1203), respectively.
Table B.1.2.2-2
PET Color Palette Data
Red	Green	Blue
0	0	0
0	2	1
0	4	3
0	6	5
0	8	7
0	10	9
0	12	11
0	14	13
0	16	15
0	18	17
0	20	19
0	22	21
0	24	23
0	26	25
0	28	27
0	30	29
0	32	31
0	34	33
0	36	35
0	38	37
0	40	39
0	42	41
0	44	43
0	46	45
0	48	47
0	50	49
0	52	51
0	54	53
0	56	55
0	58	57
0	60	59
0	62	61
0	65	63
0	67	65
0	69	67
0	71	69
0	73	71
0	75	73
0	77	75
0	79	77
0	81	79
0	83	81
0	85	83
0	87	85
0	89	87
0	91	89
0	93	91
0	95	93
0	97	95
0	99	97
0	101	99
0	103	101
0	105	103
0	107	105
0	109	107
0	111	109
0	113	111
0	115	113
0	117	115
0	119	117
0	121	119
0	123	121
0	125	123
0	128	125
1	126	127
3	124	129
5	122	131
7	120	133
9	118	135
11	116	137
13	114	139
15	112	141
17	110	143
19	108	145
21	106	147
23	104	149
25	102	151
27	100	153
29	98	155
31	96	157
33	94	159
35	92	161
37	90	163
39	88	165
41	86	167
43	84	169
45	82	171
47	80	173
49	78	175
51	76	177
53	74	179
55	72	181
57	70	183
59	68	185
61	66	187
63	64	189
65	63	191
67	61	193
69	59	195
71	57	197
73	55	199
75	53	201
77	51	203
79	49	205
81	47	207
83	45	209
85	43	211
86	41	213
88	39	215
90	37	217
92	35	219
94	33	221
96	31	223
98	29	225
100	27	227
102	25	229
104	23	231
106	21	233
108	19	235
110	17	237
112	15	239
114	13	241
116	11	243
118	9	245
120	7	247
122	5	249
124	3	251
126	1	253
128	0	255
130	2	252
132	4	248
134	6	244
136	8	240
138	10	236
140	12	232
142	14	228
144	16	224
146	18	220
148	20	216
150	22	212
152	24	208
154	26	204
156	28	200
158	30	196
160	32	192
162	34	188
164	36	184
166	38	180
168	40	176
170	42	172
171	44	168
173	46	164
175	48	160
177	50	156
179	52	152
181	54	148
183	56	144
185	58	140
187	60	136
189	62	132
191	64	128
193	66	124
195	68	120
197	70	116
199	72	112
201	74	108
203	76	104
205	78	100
207	80	96
209	82	92
211	84	88
213	86	84
215	88	80
217	90	76
219	92	72
221	94	68
223	96	64
225	98	60
227	100	56
229	102	52
231	104	48
233	106	44
235	108	40
237	110	36
239	112	32
241	114	28
243	116	24
245	118	20
247	120	16
249	122	12
251	124	8
253	126	4
255	128	0
255	130	4
255	132	8
255	134	12
255	136	16
255	138	20
255	140	24
255	142	28
255	144	32
255	146	36
255	148	40
255	150	44
255	152	48
255	154	52
255	156	56
255	158	60
255	160	64
255	162	68
255	164	72
255	166	76
255	168	80
255	170	85
255	172	89
255	174	93
255	176	97
255	178	101
255	180	105
255	182	109
255	184	113
255	186	117
255	188	121
255	190	125
255	192	129
255	194	133
255	196	137
255	198	141
255	200	145
255	202	149
255	204	153
255	206	157
255	208	161
255	210	165
255	212	170
255	214	174
255	216	178
255	218	182
255	220	186
255	222	190
255	224	194
255	226	198
255	228	202
255	230	206
255	232	210
255	234	214
255	236	218
255	238	222
255	240	226
255	242	230
255	244	234
255	246	238
255	248	242
255	250	246
255	252	250
255	255	255

B.1.3 Hot Metal Blue Color Palette
B.1.3.1 Hot Metal Blue Color Palette Description (Informative)
The Hot Metal Blue color palette is often used in nuclear medicine or PET applications to make differences in signal intensity (counts) more apparent to the human observer. A typical example is illustrated in Figure B.1.3.1-1.
Figure B.1.3.1-1
PET image with Hot Metal Blue Palette applied.
B.1.3.2 Hot Metal Blue Color Palette Definition
The ICC Profile shall define the sRGB space.
The value of Content Label (0070,0080) shall be “HOT_METAL_BLUE”.
This color palette is defined to contain the values for Red Palette Color Lookup Table Descriptor (0028,1101), Green Palette Color Lookup Table Descriptor (0028,1102) and Blue Palette Color Lookup Table Descriptor (0028,1103) defined in Table B.1.3.2-1.
Table B.1.3.2-1
Hot Metal Blue Color Palette Descriptor
Value 1 (Number of entries)	Value 2 (First value mapped)	Value 3 (Number of bits)
256	0	8

This color palette is defined to contain the values in Table B.1.3.2-2, where the values in the columns Red,Green and Blue are the values of the Red Palette Color Lookup Table Data (0028,1201), Green Palette Color Lookup Table Data (0028,1202) and Blue Palette Color Lookup Table Data (0028,1203), respectively.
Table B.1.3.2-2
Hot Metal Blue Color Palette Data
Red	Green	Blue
0	0	0
0	0	2
0	0	4
0	0	6
0	0	8
0	0	10
0	0	12
0	0	14
0	0	16
0	0	17
0	0	19
0	0	21
0	0	23
0	0	25
0	0	27
0	0	29
0	0	31
0	0	33
0	0	35
0	0	37
0	0	39
0	0	41
0	0	43
0	0	45
0	0	47
0	0	49
0	0	51
0	0	53
0	0	55
0	0	57
0	0	59
0	0	61
0	0	63
0	0	65
0	0	67
0	0	69
0	0	71
0	0	73
0	0	75
0	0	77
0	0	79
0	0	81
0	0	83
0	0	84
0	0	86
0	0	88
0	0	90
0	0	92
0	0	94
0	0	96
0	0	98
0	0	100
0	0	102
0	0	104
0	0	106
0	0	108
0	0	110
0	0	112
0	0	114
0	0	116
0	0	117
0	0	119
0	0	121
0	0	123
0	0	125
0	0	127
0	0	129
0	0	131
0	0	133
0	0	135
0	0	137
0	0	139
0	0	141
0	0	143
0	0	145
0	0	147
0	0	149
0	0	151
0	0	153
0	0	155
0	0	157
0	0	159
0	0	161
0	0	163
0	0	165
0	0	167
3	0	169
6	0	171
9	0	173
12	0	175
15	0	177
18	0	179
21	0	181
24	0	183
26	0	184
29	0	186
32	0	188
35	0	190
38	0	192
41	0	194
44	0	196
47	0	198
50	0	200
52	0	197
55	0	194
57	0	191
59	0	188
62	0	185
64	0	182
66	0	179
69	0	176
71	0	174
74	0	171
76	0	168
78	0	165
81	0	162
83	0	159
85	0	156
88	0	153
90	0	150
93	2	144
96	4	138
99	6	132
102	8	126
105	9	121
108	11	115
111	13	109
114	15	103
116	17	97
119	19	91
122	21	85
125	23	79
128	24	74
131	26	68
134	28	62
137	30	56
140	32	50
143	34	47
146	36	44
149	38	41
152	40	38
155	41	35
158	43	32
161	45	29
164	47	26
166	49	24
169	51	21
172	53	18
175	55	15
178	56	12
181	58	9
184	60	6
187	62	3
190	64	0
194	66	0
198	68	0
201	70	0
205	72	0
209	73	0
213	75	0
217	77	0
221	79	0
224	81	0
228	83	0
232	85	0
236	87	0
240	88	0
244	90	0
247	92	0
251	94	0
255	96	0
255	98	3
255	100	6
255	102	9
255	104	12
255	105	15
255	107	18
255	109	21
255	111	24
255	113	26
255	115	29
255	117	32
255	119	35
255	120	38
255	122	41
255	124	44
255	126	47
255	128	50
255	130	53
255	132	56
255	134	59
255	136	62
255	137	65
255	139	68
255	141	71
255	143	74
255	145	76
255	147	79
255	149	82
255	151	85
255	152	88
255	154	91
255	156	94
255	158	97
255	160	100
255	162	103
255	164	106
255	166	109
255	168	112
255	169	115
255	171	118
255	173	121
255	175	124
255	177	126
255	179	129
255	181	132
255	183	135
255	184	138
255	186	141
255	188	144
255	190	147
255	192	150
255	194	153
255	196	156
255	198	159
255	200	162
255	201	165
255	203	168
255	205	171
255	207	174
255	209	176
255	211	179
255	213	182
255	215	185
255	216	188
255	218	191
255	220	194
255	222	197
255	224	200
255	226	203
255	228	206
255	229	210
255	231	213
255	233	216
255	235	219
255	237	223
255	239	226
255	240	229
255	242	232
255	244	236
255	246	239
255	248	242
255	250	245
255	251	249
255	253	252
255	255	255

B.1.4 PET 20 Step Color Palette
B.1.4.1 PET 20 Step Color Palette Description (Informative)
The PET 20 Step color palette is often used in PET applications to make differences in signal intensity (counts) more apparent to the human observer. A typical example is illustrated in Figure B.1.4.1-1.
Figure B.1.4.1-1
PET image with PET 20 Step Palette applied.
B.1.4.2 PET 20 Step Color Palette Definition
The ICC Profile shall define the sRGB space.
The value of Content Label (0070,0080) shall be “PET_20_STEP”.
This color palette is defined to contain the values for Red Palette Color Lookup Table Descriptor (0028,1101), Green Palette Color Lookup Table Descriptor (0028,1102) and Blue Palette Color Lookup Table Descriptor (0028,1103) defined in Table B.1.4.2-1.
Table B.1.4.2-1
PET 20 Step Color Palette Descriptor
Value 1 (Number of entries)	Value 2 (First value mapped)	Value 3 (Number of bits)
256	0	8

This color palette is defined to contain the values in Table B.1.4.2-2, where the values in the columns Red,Green and Blue are the values of the Red Palette Color Lookup Table Data (0028,1201), Green Palette Color Lookup Table Data (0028,1202) and Blue Palette Color Lookup Table Data (0028,1203), respectively.
Table B.1.4.2-2
PET 20 Step Color Palette Data
Red	Green	Blue
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
0	0	0
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
96	0	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	80
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
48	48	112
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
80	80	128
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
96	96	176
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
112	112	192
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
128	128	224
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	96	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
48	144	48
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
80	192	80
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
64	224	64
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
224	224	80
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	208	96
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	176	64
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
208	144	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
192	96	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
176	48	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	0	0
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255
255	255	255

B.2 Localized Standard Color Palette Description Values
B.2.1	French
Table B.2.1-1
French Standard Color Palette Description Values
Content Label (0070,0080)	English Value of Content Description (0070,0081)	French Value of Content Description (0070,0081)
HOT_IRON	Hot Iron	Hot Iron
PET	PET	TEP
HOT_METAL_BLUE	Hot Metal Blue	Hot Metal Blue
PET_20_STEP	PET 20 Step	TEP Vingt étapes

Note:	In France, the English terms for “Hot Iron” and “Hot Metal Blue” are used.

B.2.2	German
Table B.2.2-1
German Standard Color Palette Description Values
Content Label (0070,0080)	English Value of Content Description (0070,0081)	German Value of Content Description (0070,0081)
HOT_IRON	Hot Iron	Heisses Eisen
PET	PET	PET
HOT_METAL_BLUE	Hot Metal Blue	Heisses Metallblau
PET_20_STEP	PET 20 Step	PET 20 Schritte